Incident Chronology at Susquehanna Steam Electric Station in Berwick: 1982- 2014

CHRONOLOGY of PROBLEMS at the

SUSQUEHANNA STEAM ELECTRIC STATION

This chronology does not include the cost to the rate payer

to build Susquehanna-1 and -2. PP&L asked the Public Utility

Commission (PUC) for $315 million to recover the cost of

building Unit-1. The PUC granted $203 million on August 22,

1983, or a 16% increase to the customer. The company asked for

$330 million for Unit-2 but was allowed $121 million in April,

1985; an 8% increase to rate payers. In addition, PP&L

consumers have “contributed”  approximately $4.6 million

annually (since 1985) to the decommissioning fund.

(Also,  refer  to  May  15  and  August  13,  1998,  for  information

on  “stranded  costs” passed on to  “hostage” PP&L  rate payers.)

Moreover, in the Winter 1999/2000, PPL unilaterally

devaluated the combined PURTA and Real Estate tax

assessments for the SSES. Prior to the Negotiated Settlement,

the nuclear power generating stations were assessed by PP&L at

approximately $1 billion. PPL is now claiming that the the SSES

is only worth $74 million or the same amount as the valuation of

the Columbia Hospital. If PPL prevails, the Berwick School

District and Luzerne County will experience revenue shock. PPL

is not paying or escrowing any moneys they owe to Luzerne

County and the Berwick School District.

(See  April  23,  2001  and  July  13,  2003,  for  related  development).

i The Susquehanna Steam Electric Station is owned by PP&L (90%)

and  the Allegheny Electric Cooperative (10%). The Allegheny Electric

Cooperative (AEC) is responsible for 10% of the cost of decommissioning.

PP&L’s consultant, TLG, estimated PP&L’s decommissioning share to be

$724 million. Therefore, the AEC is responsible for the remaining 10%, or

$79 million, of the $804 million projected funding  “target” for nuclear

decommissioning.

At the Susquehanna Steam Electric Station, projected costs for

decommissioning have increased by 553% since 1981-1993. In 1981, PP&L

engineer Alvin Weinstein predicted that PP&L’s share to decommission

SSES would fall between $135 and $191 million. By 1985, the cost estimate

had climbed to $285 million, and by 1991 the cost in 1988 dollars for the

“radioactive portion” of decommissioning was $350 million. The Company

then contracted out for a site-specific study which projected that the cost

of immediate decommissioning [DECON] would be $725 million in 1993

dollars. The 1994 cost estimate remained steady at $724 million, but the

market value of securities held and accrued in income in the trust funds

declined, and thus the estimate reflected another increase in

decommissioning costs.

PPL’s share to decommission the SSES is projected to be

$936 million in 2002 dollars (2002, Annual Report).

ii   - September 22, 1982 - An emergency was declared at the

plant. (UPI, September 22, 1982.)

August 6, 1982 - UPI reported PP&L announced it was

investigating nuclear plant allegations; however, the utility

initially denied the complaints on December 29, 1981. (UPI,

December 29, 1981.)

January 21, 1983 - UPI reported, “Another spill at the

Susquehanna nuclear plant.”

March 29, 1983 - UPI reported, “Nuclear plant workers

evacuated, Berwick, Pa.”

June 9, 1983 - Unit-1 went commercial. The plant was at

100% power in February, and has been operating at full-power

since May 23, 1983. (AP, June 9, 1983).

June 14, 1983 - Susquehanna was forced to shut down. The

incident was  termed  “minor.” (UPI, June 14, 1983.) However,

the Company later admitted “the reactor shut down when an

usually high degree of radiation was detected...” (AP, June 25,

1983).

June 25, 1983 - Susquehanna automatically to shut down

due to an electrical problem inside a transformer.

“Eight hours after the shut down, workers were still trying

to determine the nature of the malfunction, spokesman Ira

Kaplan said. He said the plant would not be restarted until the

transformer is repaired.”   (UPI, June 14, 1983.)

(Please  reference  the  following  dates  for  a  list  of  chronic  electrical

problems  at  the  SSES:  “1986”;  September,  1988;  February  6,  1990;

July  23,  1997;  June  8-16,  1999;  April  8,  2004;  and,  April  12,

2 0 0 5 . )

- The SSES provides 20% of the commercial power PP&L

supplies to its customers.  (See September 5, 1989, for new

figures.)- April 26, 1984 - “Nuclear plant water discharges studied”

(UPI, April 26, 1984.)

July  26, 1984 - An “unusual event” was declared. (UPI,

July 26, 1984.)

August 9, 1983 -  The New Jersey Public Utilities Board

refused to pass on excess costs to rate payers as a result Atlantic

City Electric’s purchase of 125 megawatts (almost 6% of the

SSES output) from PP&L. ACE has refused to to take any power

from the Susquehanna Steam Electric Station. The power

agreement was valued at $30 million.

1985 - 1994 - PP&L cut 1,600 jobs over this period.

(Please refer to November 14, 1995 and June 19, 2002, for more

terminations.)

1986 -  PP&L reported safety violations to the NRC “after

it discovered that a number of cable splices and electrical

terminals did not meet new standards passed in 1985. We did

have some of those terminal blocks and splices in service beyond

the date were were supposed to be in compliance” according to

PP&L spokesman, Herb Woodeshick. (UPI, September, 1988.

(See September, 1988, for information on a $50,000 fine.)

(Please  reference  the  following  dates  for  a  list  of  chronic  electrical

problems  at  the  SSES:  June  25,  1983;   September,  1988;  February  6,

1990;  July  23,  1997;  June  8-16,  1999;  April  8,  2004;  and  April  12,

2 0 0 5 ) .

September 23, 1987 - A “low-level emergency ” was

declared when an “800-pound steel plug fell out of steam line

during a test.” (AP.)

October 1, 1987 -  Prior to the contamination of four PPL

employees (See below), “a relief valve opened in Unit 1 pump

room, allowing about 1,300 gallons of contaminated water to

spill onto the floor.” Company spokesman Ira Kaplan quipped,

“We’re no precisely sure what happened. The valve opened and

when it did the water spilled out on the floor” (UPI, October 1,

1987.)      - October 1, 1987 - “Four workers contaminated, Berwick,

Pa.” (UPI, October 1, 1987.)  After the workers were

decontaminated, PPL spokesman Ira Kaplan observed, “It is not

unusual to have people contaminated,  especially during an

outage. (AP.)   (See August, 1989 and January 19, 1992,  for

related incidents.)

September, 1988 - The NRC leveled a $50,000 fine

against Pennsylvania Power & Light for not properly testing

electrical equipment. (See “1986” for background information).

(Please  reference  the  following  dates  for  a  list  of  chronic  electrical

problems  at  the  SSES:  June  25,  1983;  “1986”;  February  6,  1990;

July  23,  1997;  June  8-16,  1999;  April  8,  2004;  and  April  12,

2 0 0 5 ) .

August, 1989 - The NRC reported that a contracted

employee received “a significant exposure” to radiation. NRC

Inspector Jim Stair stated that the Commission is reviewing the

incident and levy a fine. (Patriot News, September 15, 1989.)

(See October 1, 1987 and January 19, 1992, related incidents).

September 5 , 1989 - The SSES provides about 30% of the

commercial power PP&L supplies to its customers. (See June 25,

1983, for initial figures.)

April 11, 1989 - An “unusual event” was declared at the

plant. (UPI, April 11, 1989.)

February 6, 1990 - “A short circuit Saturday that

temporarily cut off cooling water to the Unit 1 reactor at the

Susquehanna Nuclear plant...has been traced to a failed

insulator, according to the unclear Regulatory Commission.”

(“Patriot News”, February 6, 1990.)

(Please  reference  the  following  dates  for  a  list  of  chronic  electrical

problems  at  the  SSES:  June  25,  1983;  “1986”;  September,  1988;

July  23,  1997;  June  8-16,  1999;  April  8,  2004;  and  April  12,

2 0 0 5 ) .

November 28, 1990 - “The Nuclear Regulatory

Commission Wednesday fined Pennsylvania Power & Light

$25,000 for failing to promptly certify that components at its

Susquehanna nuclear power plant would continue to function

during an accident. The Allentown-based utility said it would not

contest the fine.” (UPI, November 28, 1990.)

March 5 and 9, 1992  - PP&L received $55 million in a

settlement with General Electric over the Mark II containment

structure. (“Electric Utility Week” and “Nucleonics Week.”) The

rate payers received a $55 million amortized rebate over five

years beginning on April 1, 1992 and ending March 31, 1997. The

arrangement was approved by the PUC as part of a Special Base

Rate Credit Adjustment. (Docket # P91052). Customers rates

decreased by .59%.

July 30, 1992 - Federal regulators say that a safety

mechanism used by three Pennsylvania nuclear power plants

[including Susquehanna] might fail to alert operators about a

drop in the water level -- a condition which could lead to a

nuclear accident.” (States News Service, July 30, 1992.)

January 19, 1992 - PP&L Shareowners’ Newsletter, February

3, 1992:  “One of our employees was injured in a small hydrogen

explosion and contaminated with radioactive material. He

suffered burns to his chest and face...A second employee was

examined and released after complaining of ringing in the ears

after the explosion.”

“The accident occurred in the basement of the plant’s

turbine building during work on an out-of-service recombiner --

equipment that combines hydrogen and oxygen to make water. A

review team has found that a leak in a valve on the system

allowed the hydrogen gas to build up in the pipe where the

employee was working with a grinding wheel.  New work

procedures have been put in place to more clearly label hazards,

and to institute safeguards aimed at preventing such incidents in

the future.” (See  October 1, 1987 & August, 1989, for related

incidents.)- December 31, 1992 - Two PP&L engineers charged that

Susquehanna’s highly radioactive spent fuel pools are unsafe and

that if emergency cooling systems fail, a meltdown of spent fuel

elements could occur. They told the NRC they reported their

concerns to PP&L in March, 1992, and the company dismissed

the matter and then tried to fire the engineers. The engineers,

Donald Prevatte and David Lochbaum, are consultants for

several companies. PP&L’s spent fuel pool design is utilized by

1/3 of the nation’s 109 nuclear power plants. (See October 1,

1993 for follow-up, February 9, 1996 and 1998 for similar

patters of harassment.)

March 7, 1993 - PP&L backed a reduction in nuclear power

plant drug testing. According to the Times-Leader, “Only four

employees at the Susquehanna nuclear power plant tested

positive for drugs and alcohol in 1992, fewer than the previous

year.”

May 26, 1993 - PP&L “determined that the ‘C’ EDG level

indicating instrument had drifted in a nonconservative

direction.” (LER, 93-003.)

July 1, 1993 - An INPO inspection “pointed out some areas

for improvement at the plant, and we’re taking appropriate

action.” (Shareowners’ Newsletter, July 1, 1993.)

July 12, 1993 - While Unit -1 was operating at 100%

power, a reactor scram occurred when the Main Turbine tripped.

(LER, 93-008.)

July 12 to August 1, 1993 - Mechanical problems forced

Unit-1 out of service for seven weeks. “The unit shut down

automatically July 12 when vibrations caused two large turbine

blades to break loose, damaging the turbine and other nonnuclear components of the unit.” (PPL, Shareowners’ Newsletter,

October 1, 1993.) (Refer to  July 1- 15, 1999, for related

problems). - September 10, 1993 - Power at Unit-2 was reduced to 40%

for “control rod sequence” and “reactor recirc motor generator

set brush change outs.”

September 24, 1993 - A power reduction was initiated at

Unit-1 due to the inoperability of RHR instrumentation; power

was held at 26%. (Refer to February 28 and August, 1999, for

related problems).

October 1, 1993 - During an NRC presentation, David

Lochbaum and Donald Prevatte postulated that failure in spent

fuel pool cooling could possibly lead to safety-related equipment

failure and a full core meltdown. (See July 30, 1992.)

October 28, 1993 - At Unit-1, “PP&L suspended [fuel]

loading after experiencing three fuel-loading problems in a 36

hour period” (”Patriot,” February 2, 1994.) Unit-1 was due to be

back on line by November but not return to service until

January 22, 1994; four days after a record demand for electric.

(See July 1 and August 1994 for follow-up.)

January 1, 1994 - “Unit-1 at our Susquehanna nuclear

plant, out of service since Sept. 25 for refueling and

maintenance, is expected to resume operation in early January.

Its return was delayed by a series of problems with our fuelloading operations...In an unrelated development, we further

extended the refueling outage to replace metal support beams

for pumps that circulate water inside the reactor. We took the

action after problems developed with the components at a

similar nuclear plant in Mississippi [Grand Gulf]” (PPL,

Shareowners’ Newsletter, January 1, 1994.)

January 22, 1994 - Unit-2 tripped and created further

problems for the PJM depleted grid. (Refer to June 28, 2000, for

reliability related problems at the SSES.)

(Also,  see May  9,  2000  &  January  through March,  2001,  for  PJM  problems

related  to  PPL.  Refer  to  June  14,  2002,  October  19,  2002,  and  June  19,  2003,

for incidents involving PPL’s   manipulation of the PJM grid).     - July 1, 1994 - “The extended refueling outage at Unit-1

last October resulted in two citations from the NRC, but the

agency decided  that a fine was not appropriate, noting the

prompt and effective actions we took to prevent  future fuelhandling problems...The citations dealt with violations of certain

NRC requirements during portions of the refueling outage” (PPL

Shareowners Newsletter, July 1, 1994.) (See October 28, 1993

and August 1994 for related incidents.)

August, 1994 - “Safety is our first  priority at

Susquehanna, and the NRC evaluation [SALP] reflects our

continuing emphasis on it. It also points out some areas where

we can improve, including refueling activities and corrective

action programs”  (PPL, Connect, August 1994.) (See October

28, 1993, and July 1, 1994 for related incidents.)

September 29, 1994 - “Thermal Science Inc. and its

president, Rubin Feldman, were indicted September 29 by a

federal grand jury on seven criminal charges, including willful

violations of the Atomic Energy Act, a decade-long conspiracy to

defraud the US government, false statements, and more. The

charges are the culmination of a nearly two-year grand jury

investigation of the company, which manufactures Thermo-Lag,

the ineffective fire barrier material used in more than 70 nuclear

reactors [including Susquehanna]” (The Nuclear Monitor,

October 17, 1994.)

(For  related  incidents,  see  April  14,  1995  and  October  1,  1996.)

December 1994 - PP&L joined a consortium of 33 nuclear

utilities actively pressuring the Mescalero Apaches to accept

high-level radioactive waste.

January 1 through December 31, 1995 - Unit-1 complied

18 Licensee Event Reports (LER) and one Severity Level III

violation. Susquehanna 2 listed 17 LERs and one Severity Level

III and IV violation. (Nuclear Regulatory Commission.)- March 16, 1995 - PP&L agreed to pay the PUC $300,000

to settle alleged violations of customer service requirements.

The Settlement is the result of an informal PUC Bureau of

Consumer Services investigation concluded in October, 1994.

(See June 28, 1999, for related behavior.)

April 14, 1995  - “Documents obtained by NIRS under the

Freedom of Information Act indicate that Pennsylvania Power &

Light (PPL) conducted its own tests of Thermo-Lag in 1981 prior

to its installation at Susquehanna. Under standard testing

criteria, the Thermo-Lag failed the tests. But PP&L used it

anyway. (For related developments see September 29, 1994 and

October 1, 1996.)

“The Problem was discovered by the NRC’s Office of

Inspector General in 1992, and the NRC staff investigated the

issue. The staff found other fire protection violations as well,

but issued no fines and did not even cite PP&L for the ThermoLag violation.” (The Nuclear Monitor,” April 10, 1995.) (See

September 29, 1994.)

April 15, 1995 - Unit-2 scrammed. The uninterruptible

power supply failed during recovery. (See June 6, 1995 for

related incident.)

June 6, 1995 - Unit-2 was at 100% power when a loss of

instrument AC at panels 2Y218 and 2Y219 occurred due to the

failure of uninterruptible power supply (UPS) 2D240.” NRC, MR

Number 1-95-0081. Dockets: 50-238, BWR/GE-4.) (See April 15,

1995 for related incident.)

August 22, 1995 “...while performing a fuel shuffle from

the Unit 2 fuel vault to the fuel preparation machine, a new fuel

bundle fell into the fuel preparation machine in the spent fuel

pool when the grapple separated from the hoist cable. The

bundle was being lowered into the machine at the time of the

event and the bundle fell approximately 15-20 feet through

water until it impacted the lower carriage support plate.”

Morning Report-Region I, August 23, 1995.)

(See  February  1,  1999  &  August  5,  2002,  for  related  events).  - November,  1995 - PPL rebuffs two efforts by PECO to

acquire PP&L in a hostile acquisition.

November 14, 1995 -  PPL cut 300 jobs or 4.5% of its

work force in an attempt to cut $671 million in operating costs.

(See “From, 1985 - 1994” and June 19, 2002, for more job cuts.)

December 11, 1995 - A nonconservative error was

reported in core thermal power calculations for both units. As a

result, “Both units were reduced in power by 2 MWe to account

for the discrepancy.” (“Licensee 24 Hour Report,” December 11,

1995.)

- 1996 - New Accounting Standards, SFAS 121 adopted on January 1,

1996. Previous standards relied on SFAS 71.  (Refer to 2002 for a related

development.)

January 1 through May 31, 1996 - Susquehanna 1 listed

nine Licensee Event Reports (LER) and two Severity Level IV

violations. Unit 2 compiled two LER’s and and three Level IV

violations. (Nuclear Regulatory Commission.)

February 9, 1996 - The NRC informed PP&L that the

Company would be fined $100,000 for disciplining a security

officer for raising safety concerns in 1992. In October, 1995, the

United States Department of Labor found that the security

officer was “subjected to adverse action” for raising concerns

about the the administration of security requalification exam.

(See October 1, 1993, February 9, 1996 and 1998 for similar

patters of harassment.)

June 12, 1996 - “A third alleged violation which was cited

but for which no fine has been proposed involved a non-licensed

operator’s failure to follow administrative procedures for

controlling the status of equipment associated with the Standby

Liquid Control System. The system’s purpose is to shutdown the

reactor during an emergency by injecting a neutron-absorbing

Continued on the following page...solution into it via the core spray system. On June 12, 1996, the

operator repositioned a breaker switch, resulting in the deenergization of heat tracing for an operable standby liquid

control pump for 34 hours.” (NRC Press Release, July 23, 1997.)

July 30, 1996 -  “...a containment isolation valve valve

was opened and deactivated for 24 hours, rendering the valve

inoperable. The valve had been deactivated for preventive

maintenance work but without the proper actions taken to

comply with the plant’s technical specification requirements.

“The problem was significant because PP&L’s incorrect

interpretation of requirements would have allowed the valve to

remain inoperable and open indefinitely. A fine of $50,00 has

been proposed for that alleged violation.” (NRC Press Release,

July 23, 1993. (See July 23, 1993 for more complete date from

the NRC.)

September 5, 1996 - The Company joined a consortium of

electric utilities exploring the use of MOX, or weapons grade

plutonium left over from the Cold War, as a fuel source.

October 1, 1996 - The Nuclear Regulatory Commission

fined Thermal Sciences, Inc., $900,000 for “deliberately

providing inaccurate or incomplete information to the NRC

concerning TSI’s fire endurance and ampacity testing programs.”

James Lieberman, NRC, Director of Enforcement.

The fine was the largest assessed against a nuclear

contractor, and the second highest in NRC history. In 1992, the

NRC declared TSI’s fire barrier, Thermo-Lag, “inoperable.” (For

background data please refer to September 29, 1994 & April 15,

1995.)

November 5, 1996 - The Class 1E 4160 VAC Switch gear

failed to pass seismic qualification testing at Unit-1 & Unit-2.

PP&L reported an “outside design basis” (#31279) event. (See

August, 1999, for more information.)- July, 1997 - The NRC “found that the load limit setting on

one of the [emergency diesel] generators had been positioned at

approximately 35 percent, when it should have remained at 100

percent. The misalignment, which was subsequently determined

to have occurred sometime between June 16 and July 11, could

have resulted in the governor not starting within the required

time and not being able to provide sufficient emergency backup

power during an accident. Furthermore, the operation of the

generator at a lower-than-normal speed could have damaged

emergency core cooling system motors.” (See January 12, 1998,

for information on the NRC’s enforcement actions.)

July 23, 1997 - “The Nuclear Regulatory Commission has

proposed a $210,000 fine against Pennsylvania Power & Light

Co. for several alleged violations  of agency guidelines at the

utility’s Susquehanna nuclear power plant in Berwick, Pa. The

alleged infractions fall into two major areas: the misalignment of

a circuit breaker for an emergency diesel generator that left in

operable, and plant operators’ repeated failure to detect this

problem; and the improper deactivation of a containment

isolation valve:

“...All told, the generator was out of service for almost

three weeks. However, in their equipment test records, the

operators incorrectly reported that the circuit breaker was inn

the appropriate position.

“Further, alarm tests that were supposed to have been done

during rounds by the non-licensed operators were listed as

having been performed when in many cases that did not occur.

The operators failed to perform the required panel tests on

approximately 157 occasions between January and June 1996.

“Given the number of individuals involved, the actual and

potential impact in equipment, the duration of the problem and

the lack of management and supervisory oversight that resulted

in the failure to detect this widespread condition, the NRC is

classifying these alleged violations in the aggregate as a Severity

Level II problem, which  constitutes a very significant

regulatory concern.  ...Continued on the following page...   “According to the NRC, “[t]his case represents particularly

poor license performance, as evidenced by 1.) the nature of the

violations associated with the Severity Level II problem,

including the inoperability of the diesel generator for almost

three weeks and the number of employees involved; 2.) the

extensiveness of the problem with inaccurate records; and 3.)

the management and supervisory failures demonstrated by these

violations.” (NRC Press Release, July 23, 1997.)

(See  June  12,  1996  and  July  30,  1996;  April  8,  2004;  and  April  12,

2005  for  other  incidents  cited  in  this  violation.)

(Please  reference  the  following  dates  for  a  list  of  chronic  electrical

problems  at  the  SSES:  June  25,  1983;  “1986”;  September,  1988;

February  6,  1990;  and,  June  8-16,  1999.)

September, 1997 - “...Reported earnings for the quarter

and year-to-date were influenced by several one time

adjustments. First, a windfall profits tax in the United Kingdom

based on PP&L Global’s equity interest in a U.K. utility reduced

earnings by about $40 million or 24 cents per share.”

(“Quarterly  Review:  PP&L  Resources,  Inc.”,  September  1997).

(Please refer to  February 4, 2000,  2002: PPL kills expansion; earnings

projections  slashed and,  April  26,  2003,  for  related  developments).

October 22, 1997 - Unit-1 and Unit-2’s suppression pools

were identified as having the potential for bypass during a lossof-coolant-accident. PP&L reported an “outside design basis”

(#33131) event. (See August, 1999, for more information.)

January 12, 1998 - “The Nuclear Regulatory Commission

staff has proposed a $55,000 fine against the operator of the

Susquehanna nuclear power plant for a violation of agency

requirements involving a misaligned emergency diesel generator

at the facility...

“In a letter to PP&L announcing the enforcement action,

NRC Region I Administrator Hubert J. Miller said that the

failure caused ‘important safety-related equipment  to be

inoperable for an indeterminate period, thus degrading the

plant’s capability to respond to accidents.

Continued on the following page...   “Further, the NRC is concerned that you failed to

implement effective controls for the alignment of the Woodward

governor controls despite the fact that multiple events involving

the functioning of the Woodward governors have been identified

in the industry between 1985 and the present,’ including three at

Susquehanna.”

Mr. Miller also noted that the “NRC is concerned that your

investigation of the event could not preclude tampering as a

cause and that the investigations revealed at least two other

recent instances of unexplained misalignment of out-of-service

EDG’s (emergency diesel generators) similar to the misalignment

of the ‘A” EDG.” (NRC Press release, January 12, 1998.) (See

July 11, 1997 for more on this incident.)

March 13, 1998 -  “Earnings for 1997 were $296 million,

or $1.80 per share of common stock, compared with $329

million, or $2.05 per share in 1996.”  (PP&L Resources, Inc., A

Common Sense Guide to Competition, 1997 Summary Annual

Report.)

April 5, 1998 - Unit-2 was shut down manually due to a

leak on the non-nuclear side of the water cooling system.

(Lancaster Sunday News, April 5, 1998.)

May 15, 1998 - The PUC gave tentative approval, by a 5-0

vote, to a plan for PP&L’s restructuring that could save rate

payers 10% on monthly bills. The Commission slashed the

amount of stranded costs PP&L may recover to $2.864 billion.

The company had sought $4.5 billion and PUC administrative

law judge [Kashi] suggested $4 billion.” (“The Patriot News”,

May 15, 1998.)

August 13, 1998 - The Pennsylvania Public Utility

Commission adopted a tentative order approving PP&L’s

restructuring case. Provisions include a 4% rate decrease for all

customers in 1999, allows PP&L to recover $2.97 billion in

“stranded expenses” over 11 years, and grants PP&L the

opportunity to “securitize up to $2.97 billion in transition costs

with 75% of the associated savings returned to rate payers.    - September 4, 1998 - “Standard & Poor’s last week assigned

its Triple B-plus rating to PP&L Inc.” (Dean Witter Reynolds Inc.

and Standard & Poors Value Line, September 4, 1998.)

- 1998 - The Company was forced by the U.S. Department of

Labor to rehire Donald Ranft, manager of the nuclear system

engineering department. PP&L paid Mr. Ranft over $100,000 in

back pay and legal fees. Mr. Ranft was forced out of his job after

safety concerns he raised were not addressed. PP&L also

pressured Mr. Ranft, a ten year veteran of the nuclear industry,

not to report his safety concerns to the NRC. (See February 9,

1996, for a similar incident.

(See  October  1,  1993,  February  9,  1996  and  1998  for  similar

patterns of h a r a s s m e n t.)

December 27, 1998 - “For the 12 months that ended Sept.

30, PP&L reported a net loss of $3.51 a share, compared to

earnings of $1.81 a share the year before.” (Patriot News from

Dean Witter Inc. and Standard & Poors Value Line.)

(See  April  1999,  for  related  development.)

February 1, 1999 - PP&L announced the arrival of dry

storage casks designed by Trans Nuclear (Vectra) for spent fuel

storage. The NRC approved the license and design of the casks

scheduled to be operational by in the summer of 1999.

Construction for this project resumed after a cessation of

activity in fall 1998. PP&L has moved the scheduled operational

date back to “late 1999.” (PP&L, May 12, 1999.)

(See   August  22,  1995  &  August  5,  2002,  for  related  events).

February 28, 1999 - The Company reported an “outside

design basis” event (#35423) relating to a valve stem in the

RHR. (See August, 1999, for more information. Refer to

September 24, 1993, for a related incident).

- Mid-March until the end of April, 1999 - Extended

refueling outage for Unit-2. However, the potential for problems

with the main transformers were not discovered. (See June 7-8,

1999.)   - April 1999 - “PP&L Resources reported a 1998 loss of

$3.46 per share, reflecting $948 million of charges to net

income related to the settlement of PP&L, Inc.’s restructuring

case before the Pennsylvania Public Utility Commission and

another other competition-related case before the Federal

Energy Regulatory Commission.” (PP&L Resources, Inc.,

Shareowner News.)

“The utility’s dividend payout ratio was 64 percent on Dec.

31, 1998, compared with 82 percent on Dec. 31, 1997.” (Patriot

News from Dean Witter Reynolds Inc. and Standard and Poors

Value Line.) (See December 27, 1998, for earlier announcement.)

March 13 to April 28, 1999 - Unit-2 was shut down for a

planned refueling outage.

May 29-June 5, 1999 - Unit-1 was manually shut down. A

change out celluloid valve in one of the steam lines was the root

cause of the problem. Unit-1 was put back on-line from June 5-6,

1999.

June 7-8, 1999 - Unit-2 tripped due to a problem with one

of the main transformers. PP&L plans to replace the troubled

unit. (See “Summer 2000.”)

June 8-16, 1999 - Unit-2 was shut down to replace “three

main electrical transformers...” (“News Release(s)”, PPL, June 8

& 16, 1999.)

(Please  reference  the  following  dates  for  a  list  of  chronic  electrical

problems  at  the  SSES:  June  25,  1983;  “1986”;  September,  1988;

February  6,  1990;  and,  July  23,  1997.)

June 28, 1999 - PP&L was assessed a $125,000 fine by the

Attorney General relating to the Company’s electric competition

advertising and bill-stuffing. (See March 16, 1995, for related

behavior).- July 1- 15, 1999 - Unit-1 was shut down automatically

after one of the four main steam valves failed.” The line carries

steam from the reactor to the turbines...” (“News Release(s),

PPL, July 1 & 15, 2000.) (Refer to July 12 to August 1, 1993, for

related problems).

August, 1999 - “If a utility has operated the reactor

outside of the safety parameters established in its operating

license, i.e., “outside design basis,” it is required to document it

in a daily event report filed with the NRC. The more event

reports filed by a nuclear reactor, the less certain that the

reactor and its safety systems will operate as deigned.” (James

Riccio, Public Citizen, August 1999, Executive Summary.) (Refer

to November 5, 1996; October 22, 1997; and, February 28,

1999.)

August 26, 1999 - Both Units were operating at 100%

power, “with the ‘B’ loop of emergency service water (ESW) out

of service for scheduled maintenance. During testing on the ESW

system, with all ESW pumps in service, it was identified that the

‘C’ and ‘D’ ESW pumps’ discharge check valves were closed. The

ESW flow surveillance was performed, and the ‘C’ and ‘D’ ESW

pumps failed to achieve the required flow and were declared

inoperable. Concurrently, the ‘B’ loop of ESW was returned to

service.

“During the time the ‘B’ ESW loop was inoperable, the ‘A’

ESW pump was the only one operable ESW pump. This

constitutes a serious degradation of the plant in that it is a

condition which is outside of a design basis and, therefore,

reportable...requiring a 1-hour notification.” (PP&L facsimile.)

September 6, 1999 - PPL “planned to initiate the first fuel

transfer to the storage location the week of September 6, 1999,

but problems developed and the transfer has been delayed for a

few weeks.” (Office of Nuclear Reactor Regulation).- December 19-24, 1999 - Unit-2 was shutdown to make

“repairs [replace] to a pipe” connected to the ”water pressure on

a recirculation water pump”. this system is part of the plant’s

primary containment structure. (News Release, PPL, December

24, 1999).

(See  August  17-25,  2000,  for  a  related  problem  at  Unit-1).

December 27, 1999 - The NRC acceded to industry

pressure to keep information about nuclear plant shutdowns and

restarts “confidential” unless the licensee “waives the right.” “In

the past, the NRC would supply information about most aspects

of nuclear licensees’ affairs, but with the move toward market

competition, it became evident that the policy was having an

effect on wholesale prices...The NRC’s Mindy Landau said, ‘We

have seen shutdown information directly affect the prices on the

spot market for electricity. ‘ “(The Energy Report, December 27,

1999.)

- Winter 1999 - 2000 - PPL unilaterally devaluated the

combined PURTA and Real Estate tax assessments for the SSES.

Prior to the Negotiated Settlement, the nuclear power generating

stations were assessed by PP&L at approximately $1 billion. PPL

is now claiming that the the SSES is only worth $74 million or

the same amount as the valuation of the Columbia Hospital. If

PPL prevails, the Berwick School District and Luzerne County

will experience revenue shock. PPL is not paying or escrowing

any moneys they owe to Luzerne County and the Berwick School

district.

(See  April  23,  2001  and   July  13,  2003,  for  related  developments).

February 4, 2000 - “PP&L Capital Funding Inc.’s new

$500 million 7 3/4% issue of medium term notes (MTN) due

April 15, 2005 is rated /BBB+’ by Fitch IBCA, Inc. PP&L Capital

is a wholly-owned subsidiary of PP&L Resources, Inc.

(Resources) and the funding conduit for Resources and its nonregulated subsidiaries, which invest in domestic and

international energy projects...Resources has investments and    Continued on the following page...

commitments to invest about $2.6 billion in distribution,

transmission and generation facilities in the US, UK,

Bolivia, Peru, Argentina, Peru, Spain, Portugal, Chile, and El

Salvador. Resources also plans to add about 8,000 megawatts

(MW) of merchant generation over the next four to five years

through acquisitions and/or new construction. The growing

exposure to emerging markets and merchant generation will

increase business risk.” (PP&L, Company Press Release,

February 4, 2000.)

(Please refer to September, 1997, 2002: PPL kills expansion; earnings

projections  slashed May 4, 2000, and March 4 &  18, September 23 &

October  24,  2001,  January  6,  2002,  and  April  26,  2003,  for  related

de v e lopment s ) .

May 4, 2000 - “One thing cushioning the blow to

stockholders is GPU’s annual dividend, raised this year to $2.18

a share. That is considerably higher than Allentown-based PPL

Corp.’s dividend, which was raised last week to a $1.06 share.

PPL stock is trading less than GPU shares.” (Patriot News,

Business, B9, May 5, 2000.)

(Please  refer  to  February  4,  2000,  and March  4  &  18,  September  23

&  October  24,  2001,  for  related  developments).

May 5, 2000 - Unit-1 returned to service after a planned

outage.

May 9, 2000 - “The Pennsylvania-New Jersey-Maryland

(PJM) power pool implemented a five percent voltage reduction

on May 9 to ease pressure on the distribution system.

(See  January  22,  1994  and  January  through  March,  2001,  for  PJM

problems  related  to  PPL. Refer to  June  14 & October  19, 2002  and  June  19,

2003 , for PPL’s manipulation of the   PJM grid).

“The action was taken to avoid emergency rolling blackouts

where power is interrupted for short durations - typically 20 to

30 minutes.” (Update, The Department of Environmental

Protection, May 12, 2000, p. 2)    - May 16, 2000 - The electric utility industry predicted a

17% difference between supply and demand this summer for

consumers stretching from Virginia Beach to Detroit.

“The all-time maximum PJM demand of 51,700 MW

occurred on July 6, 1999.” (PECO Energy Company, Form 10-

K/A, p.7). (Refer to June 14 & October 19, 2002, for PPL’s manipulation

of the  PJM grid).

June 28, 2000 - “This summer,  (residential customers) probably

have fewer choices than they did a few months ago, and the choices they do

have are more expensive than they were...Combine strong economic

growth with hot weather and the bad luck of having things like a number of

power plants being shut down at the same time because of outages, and you

certainly have problems.” (Irwin Popowsky, Consumer Advocate,

Investor’s Business Daily).

(See  July  12  to  August  1,  1993,  January  1,1994,  January  22,1994,

July  1,  1994,  April  15,  1995,  Mid-March  until  the  end  of  April,

1999,  May  29-June  5,  1999,  December  19-24,  1999,  and  August  17-

25,  2000  for  data  relating  to  SSES’s  reliability. Refer to  June  14,  2002,

and  June  19,  2003   for  PPL’s manipulation  of the  “Grid”).

August 17-25, 2000 - Unit-2 was shut down to make

repairs on a “small leak in the instrument line [inside the

primary containment area]...on a large water pump”. (“News

Release(s),” PPL, August 17 & 25, 2000.) (See December 19-24,

1999, for a related problem at Unit-1.)

October 30, 2000 - PPL petitioned the NRC to  increase

the capacity of SSES by 100 megawatts. (See April 23, 2001, for

follow-up.)   - January through March, 2001 - PPL manipulated the

Installed Capacity Market (ICAP) of the Pennsylvania-JerseyMaryland (PJM) Grid. PPL, identified as “E 1” in PJM and PUC

investigations, manipulated the ICAP market during the first quarter

of the 2001, but ICAP prices remain volatile.  PPL’s exercise of unilateral

and documented abuses of its market power in the PJM  capacity credit

market during the first quarter of 2001 dramatically and artificially

increased credit capacity markets to the economic detriment of

Pennsylvania consumers.

(Refer  to  November  30,  2001,  for  a  follow-up  investigation.Also see

June  14  &  October  19,  2002,  and  June  19,  2003,  for  PPL’s manipulation  of the

PJM grid.)

March 4, 2001 - “PPL stock was raised from ‘hold’ to “buy’

by...Argus Research Corp.” (See March 18, 2001, for a related

development). (Sunday Patriot News, March 4, 2001).

(Please refer to February 4 & May 4, 2000, and March 18,

September 23 & October 24, 2001, and January 6, 2002, for

related developments).

March 18, 2001- “PPL stock was downgraded from ‘strong

buy’ to ‘buy’ by analyst Paul Patterson at Credit Suisse First

Boston.” (See March 4, 2001, for a related development)

(Sunday Patriot News, Business, March 18, 2001).

(Please  refer to  February  4  & May  4,  2000,  September  23  &  October

24,  2001,  and  January  6,  2002,  for  related  developments).

April 23, 2001 - PPL announced it would petition the NRC

to  increase the capacity of SSES by 100 megawatts, while

decreasing the properly value of the plant. “The $120 million of

improvements at the Susquehanna plant are expected to add to

earnings as soon as they go into operation” (Reuters, April 23,

2001).(Please refer to Winter 1999 - Winter 2000, for

background information).

(Please  see  July  17,  2001,  for  follow-up  data.)   - July 17, 2001 - The NRC approved PPL’s capacity

expansion request. Unit 1 will be increased this month while the

upgrade at Unit 2 is planned for Spring, 2002, after the planned

refueling outage. (See October 30, 2000 & April 23, 2001, for

background information).

August 23, 2001 - An “unusual event” was declared “after

plant security apprehended a man inside a vehicle access area at

one of the plant’s gates.” The man was not armed, but scaled one

security fence. (PPL Susquehanna LLC, Press Release, August 23,

2001).

September 17, 2001 - TMI-Alert filed a Petition for rule making

with the NRC requiring the Agency to mandate armed security guards at

the entrance to all nuclear rower plants. A final decision is expected in

November l, 2002. The Nuclear Energy Institute, PPL’s “voice in

Washington, “recommended” that the Petition be “denied.”

September 23, 2001 - After trading resumed on September

17, 2001, PPL closed down -$5.10 at $37.00 ABN Amro rated

the stock as “hold” and the “target price range is $49 to $50. a

share.” (“Sunday Patriot News”, Business, September 23, 2001.

(Please  refer to  February  4  & May  4,  2000,  and March  4  &  18,

October  24,  2001,  and  January  6,  2002,  for  related  developments).

October 6, 2001 - After the September 11, 2001 terrorist attacks on

the World Trade Center, the Pentagon and a downed airliner in Somerset

County, Pennsylvania, the NRC has issued a “Security Advisory”, and

requited 13 “prompt actions which are “safeguarded” and “classified.”

(See  October  17,  2001,  for  a  related  incident.)   - October 17, 2001 -  Due to a ”credible threat” against Three Mile

Island, the Harrisburg and Lancaster airports were closed for four hours,

air travel was restricted in a 20-mile radius,   a fighter jets were scrambled

around TMI (See October 6, 2001, for a related event.)

Through the Freedom of Information Act, the York Daily Record

(December 21, 2003) found a “twofold” challenge when a threat against

Three Mile Island caused the Harrisburg and Lancaster airports to close for

four hours: Air travel was restricted in a 20-mile radius and fighter jets

were scrambled around TMI.

Officials struggled with whom to call first, next and last. Officials

struggled  with  notifying  state  and  local  officials.  And  officials

struggled  with  when  and  whether  to  notify  the  public...One  NRC

official  had  difficulty  reaching  senior  management  at  TMI...No

one  contacted  enforcement  officials  in  York  County  about the

threat...[PEMA]  officials  had to  push  plant  officials to  staff their

emergency  operations  facility

[in Susquehanna Township which was later  relocated to Coatesville].

October 24, 2001 - Wachovia downgraded PPL Resources

from “strong buy” to “market perform.”  (Also see March 18, &

September 23, 2001.)

(Please  refer  to  February  4  & May  4,  2000,  and March  4,  and

October  24,  2001,  and  January  6,  2002  for  related  developments).

November, 2001 - PPL filed a pre-notification letter with

the NRC announcing plans to extend Susquehanna’s operating

licensees for Units 1 & 2. To date, the NRC has approved every

license extension before the agency. A similar affirmation at the

SSES would extend the license for Unit-1 from 2022 to 2042 and

Unit-2 from 2024 to 2044.- November 2, 2001 - Governor Mark Schweiker reversed an earlier

decision, and ordered the National Guard to Pennsylvania’s nuclear power

plants. The Commonwealth joins over a dozen states with National Guard

and/or Coast Guard detachments deployed to protect nuclear facilities

against terrorist attacks (See October 6 & 17, 2001, January 30, 2002,  and

May 22, 2003 for  related incidents).

November 30, 2001 - The PUC ordered an Investigation into

PJM’s ICAP market manipulation. (See January to March, 2001,  for data

relating to ICAP market manipulation.  See December 6, 2001, for “market

response”, and PUC follow-up on June 16, 2002. Also, refer to January 6,

2002 & October 19, 2002, for plant cancellations and a revised earnings

forecast.)

December 1, 2001 - PPL stated that the collapse of Enron

may cost the Company $40 million for energy already

purchased. Enron also owns 45% of power plant in New England

operated by PPL. (Philadelphia Inquirer, Business, December 1,

2001.)

Earlier, on November 28, 2001, Exelon Power Team stated

that the collapse of Enron will cost the Company “less than $10

million. The current direct exposure (i.e., for current energy

sales from Exelon to Enron) is less than $20 million. (Exelon

Corporation, Press Release, November 28, 2001.]

(Please  refer to  February  4  & May  4,  2000,  and March  4  &  18,

September  23  &  October  24,  2001,  for  related  developments).

PPL’s stock fell by 3% due to events surrounding

PPL’s ICAP market manipulation.

(See  January  to  March,  2001,  for  data  relating  to  ICAP  market  manipulation.

Also,  please  refer  to  November  30,  2001,  January  6,   2002  and  June  19,  2003)

January 6, 2002 - “PPL lowered its 2002 earnings forecast

a second time and canceled plans for six new power plants, citing

a continuing drop in wholesale energy profit margins and fallout

form the Enron bankruptcy.” ( Sunday Patriot News, Business,

January 6, 2002).

PPL’s stock closed at $32.34 on Friday, January 4, 2002.

Its 52-week high was $62.36. (Please refer to November 30 and

December 1, 2001, for related developments.)

(Please  refer to  February  4  & May  4,  2000,  and March  4  &  18,

September  23  &  October  24,  2001,  for  related  developments).

2002: PPL kills expansion; earnings projections slashed

Citing Enron Corp.'s bankruptcy and plans to cancel construction of

six new power plants, PPL Corp. slashed its earnings forecasts for 2001 and

2002.  In a filing with the Securities and Exchange Commission, the

Allentown, Pa.-based utility said it's scaling back its generation-expansion

program as a result of continuing declines in wholesale energy prices.  PPL

previously announced plans to develop an additional 4,605 megawatts of

generating capacity. It cut projects that would have produced 2,100

megawatts of power. (One megawatt heats about 600 homes.)  Though PPL

said it still sees a need for new generating capacity, market prices and

regulatory conditions deterred it from building six new power plants, five

in Pennsylvania and one in Washington state. The cancellations of $1.3 billion worth of projects will cause PPL to

take its biggest charge in its 2001 earnings.  In addition, Houston-based

Enron's bankruptcy filing caused some PPL subsidiaries to end electricity

and gas agreements.  PPL now expects 2001 earnings per share of $3.35 to

$3.45, down from an initial projection of more than $4 per share, with flat

growth for 2001.

Market researcher Thomson Financial/First Call had released a

consensus estimate of $4.13 for 2001 and $4.16 for 2002.  PPL's earnings

estimate includes a 60-cent charge for canceling its order of  22 turbines

from General Electric Co. for the nixed power plants.  PPL's  revised

estimate also includes a 14-cent charge from the Enron-related write-off of

Western Power Distribution, its United Kingdom affiliate, and a 6-cent

charge from other Enron-related items. PPL had a 51 percent interest in

Western Power. Brazil's drought and poor economic conditions also will

hurt the earnings from PPL's Latin American operations, the company said.

In addition, a change in the accounting rules for goodwill could hurt

PPL's earnings, though the company said it can't yet quantify such an

impact, if any.

(Refer to 1996 for  a  related  development.)

January 9, 2002 - A well-armed, disgruntled former employee at the

San Onfore nuclear power plant in San Clemente was arrested for making

threats against the plant. (See October, 6, 2001, and January 30,  and

December 10, 2002, for  related incidents.)- January 29, 2002 - PPL notified the Nuclear Regulatory

Commission (NRC) that it intended to file for renewal of the operating

licenses for  SSES Units 2 and 3. If approved, Unit’ 1’s license would be

extended from 2022 and Unit 3’s from 2024 for an additional 20 year

period.

The Nuclear Regulatory Commission is expected to take two years to

review the license renewal application. The total cost of obtaining the

renewed licenses for Peach Bottom will be about $18 million, including the

NRC review, or about $8 per kilowatt hour.

January 30, 2002 - President Bush’s State of the Union Address

including a warning that nuclear power plants may be targeted for a

terrorist attack.

(See  October  6  &  17  and  November  7,  2001,   and  January  9,  2002

for related events.)

March 28, 2002  - The NRC admitted that and the the SSES and the

nation’s 102 nuclear power plants could not withstand an impact of

airplane the size of those that crashed into the Pentagon and World Trade

Center on September 11, 2001.

(March 28,   2002,   Patriot  News.) (See October 6   & October  17,   2001

and   January   9  and  30,   2002,   for  related incidents.)   - April 3, 2002 - “Two men and a male juvenile from Mexico face

possible deportation after attempting to enter an unprotected area of the

Peach Bottom Atomic Power Station. All three remained in INS custody

Wednesday.” (York Daily Record, April 4, 2002.)

(See   October  6,  2001  &  October  17,  January,  9  and  30,   2002

for  related incidents.)

April 29, 2002 -  At PPL’s annual shareholder meeting, Bill Hecht

told the audience the Company is “agile and robust” and predicted above

average earnings. Hecht noted that he was navigating PPL through the most

volatile period in the history of the electric industry.”  (Restructuring

Today, April 29, 2002.

May 5, 2002 - PPL stock was rated  ‘hold’  by UBS

Warburg. ’  (Sunday Patriot News, May 5, 2005).

May 8, 2002 - The NRC found PPL’s  emergency preparedness

plan  for the  SSES  lacked  adequate  staffing. In  2001 the  Commission

documented  under  staffing  on  several  different  occasions.  PPL

submitted  a  compliance  plan  on  May  13,  2002.  (Philadelphia

I n q u i r e r,  May  8,  2002).

May 15, 2002  -  “A foreign intelligence service recently warned

that a nuclear power plant in the Northeast could be the target of a July 4

terrorist attack...Published reports suggested that the target could be

Pennsylvania’s Three Mile Island, but a second US official with knowledge

of the information said no specific facility had been named.” (Knight

Ridder, May 15, 2002.) (See January, 2001, October 6, 2001 & October 17,

January, 9 and 30,  2002,  and March 21,  for related incidents.)

June 12, 2002 - The Bio-Terrorism  Bill signed into law on June 12,

2002 mandates KI stockpiles out to 20 miles.

June 14, 2002 - The Pennsylvania Public Utility Commission

accused PPL of gaming the capacity market in the PJM grid in early 2001,

but asked state regulators and federal authorities to investigate.

“The Pennsylvania PUC has evidence that allegedly shows PPL

withheld electricity to create an artificial power shortage in the market for

extra capacity where utilities buy credits to meet PJM reserve

requirements.

“Such  alleged  activity  drove  up  prices  when  the  capacity  price  shot  up

from  $5/mwh  to  a  $177/mwh  on  average  for  more  than  three  months.”  PPL

denies  the  charges.  (“Restructuring   Today”,  Friday  June  14,   2002.)  Refer to

January through March, 2001 background information, and further

October 19, 2002, for additional legal action. Also, see January 22, 1994,

for PJM-related problems. Refer to June 19, 2003, for results from the PA

AG’s investigation.)

June 17, 2002 - PPL traveled to Wall Street to assure

investors the Company “has long-standing policies to ensure

that, across the company, the actions of our marketing operation

are ethical and legal, John R. Biggar, CFO, (Philadelphia

Inquirer, June 18, 2002.)- June 19, 2002 - PPL cut its work force by 7%. On June 1, 2002,

“Public Utilities Fortnightly” published a list of highest paid electric CEO’s.

PPL’s William Hecht was ranked 31 at $1,197,500.  (See “From, 1985 -

1994”  and November 14, 1995, for more on job cuts.)

August 5, 2002 - The NRC issued a Severity III Violation for a

“mix- up of gases in a spent fuel storage cask at Susquehanna last summer,

and the company said it would not contest finding...”, and pay the $15,000

base civil penalty. PPL spokesman Herbert Woodeshick said: “We have

cooperated with the NRC throughout its investigation of this matter, and

we respect the commission's decision in determining that the incident

constituted a level III violation” (Nuclear Fuel, February 3, 2003).

(See also August 22, 1995  and February 1, 1999).

September 5, 2002   -- Three Mile Island Alert  filed a formal

Petition for Rulemaking with the Nuclear Regulatory Commission to

include day-care centers and nursery schools in emergency evacuation

planning. The proposed rule would affect all 103 operating  nuclear plants

in the United States.

September 9 , 2002 - Standard & Poor’s downgraded PPL’s  rating.

September 10, 2002 - The Office of Homeland Security announced

that the  “yellow” warning had been increased to a heightened state of alert

or an “orange” upgrade at 1:00 pm...  ( Exelon Public Relations.)

October 3, 2002 BERWICK, Pa. (AP) - A fire broke out early

Thursday at PPL's Susquehanna nuclear power plant and was quickly put

out, officials said.

The fire, detected at around 2:30 a.m., was confined to a startup

transformer on Unit 2, according to a company news release. An automatic

system extinguished the flames, and the transformer will be replaced with a

spare on site, PPL said.

Continued on the following page...

The fire apparently was caused by an internal failure, company

spokesman Herbert Woodeshick said. He could not give a monetary

estimate of the damage.

The incident was classified as an "unusual event," the least serious of

four federal classifications of power plant emergencies.

PPL Corp. is a global energy company based in Allentown. The plant

is in east-central Pennsylvania. ( http://www.pplweb.com)

October 19 , 2002 - Fourteen boroughs brought suit against PPL

for alleged market manipulation. The boroughs include: Blakely,

Catawissa, Duncannon, Haven, Kutztown, Landsdale, Lehighton, Mifflinburg, Olyphant, Perkasie, Quakerton, Saint Claire, Schuylkill, and

Watsontown.

(See  January  22,  1994  and  January  through  March,  2001,  for  PJM

problems  related  to  PPL. Refer to September 9 & June  14, 2002,   and June

19,  2003 for PPL’s manipulation  of the   PJM  grid).

November, 2002  - “ Governor Schweiker “directed the National

Guard to join State Police in a joint security mission at the state’s nuclear

facilities.” In December, the Governor extended the joint mission of the

National Guard and the State Police at the Commonwealth’s five nuclear

generating stations until March 4, 2002. (DEP, Update, December 6,

2002.)

(See  October  6  &  17,  2001,  January  30,  2002,   November  2,  2002

and  May  22,  2003  for   related  incidents).

December 13, 2002  -  "At 1450 EST on 12/13/2002, Susquehanna

LLC Main Control Room received a request for additional information

from the Pennsylvania Emergency  Management Agency (PEMA). PEMA

received rumors that a HAZMAT team had been  dispatched to

Susquehanna in response to a spill associated with a potential sabotage

event.

December 13, 2002 - A security challenge occurred at the SSES

nuclear facility on the Susquehanna River:

"At 1450 EST on 12/13/2002, Susquehanna LLC Main Control

Room received a request for additional information from the Pennsylvania Emergency  Management Agency (PEMA). PEMA received rumors that a

HAZMAT team had been  dispatched to Susquehanna in response to a spill

associated with a potential sabotage event.

"At 1158 EST a delivery truck at the owner controlled entrance gate

was  identified to have a saddle tank leak which resulted in a spill of

approximately 10 gallons. The diesel fuel was contained by site personnel,

and is in the process of being cleaned by site personnel. None of the oil

reached a waterway, and therefore does not meet the requirements for a

reportable spill. The delivery company contacted their contracted spill

response team, and they responded to the site. They were subsequently

released without performing any of the cleanup activities. The minor spill

was not due to sabotage. This information has been provided to PEMA.

"This report is being issued due to the involvement of other government

agencies, and reportable under 10CFR50.72(b)(2)(xi)."    (US NRC).

January 29, 2003 -An Unusual Event was declared due to an

airborne release containing Cesium-138. An hour later, monitor readings

returned to normal. (See March 4 and , 2003 for related radioactive

events.)

February 23, 2003 “PPL Corp. stock is rated “overweight/neutral”

in new coverage by Daniel F. Ford at Lehman Brothers. The target price is

$39 a share.”

February  29, 2003  - “PPL reported 2002 earnings from core

operations of $3.54 a share, compared with $4.22 a share in 2001. “Sunday Patriot News”).

Radioactivity found on two GE workers at Pa. nuke

March 4, 2003  “ Two contract employees reported to the

Susquehanna nuclear power plant in Pennsylvania with low levels of

radioactive material on their clothing, owner PPL Corp. ((PPL.N)) said on

Tuesday. Highly sensitive monitoring equipment at the plant detected the

radioactivity on Monday as the General Electric Co. ((GE.N)) contractors

were leaving an area inside a security fence, the company said in a

statement.

Continued on the following page...

“The radioactive material is believed to have originated at another

facility, and not at Susquehanna, the company said, and the level of

radioactivity was very low. This type of event is rare but not unheard of at

the nation's nuclear power reactors. But since the Sept. 11, 2001, attacks,

all incidents of possible public exposure to radioactive materials receives

increased scrutiny. PPL plant personnel began investigating and

conducting additional radiological surveys immediately, said Joe

Scopelliti, spokesman for the Susquehanna plant.

" ‘At no time was the health and safety of the contractors, other

Susquehanna workers or the general public affected because of this incident,’ " Scopelliti said in a statement. "’The level of radioactivity on the

clothing was slightly above what is seen in background radiation in the

environment.’"

The contractors' previous job was at a nuclear power plant in

Sweden, PPL said in its statement. Monday was their first day inside

Susquehanna's security fence, however neither contractor had entered the

part of the plant that contains radioactive materials, Scopelliti said.

Routine radiological surveys found the areas outside that part to be free of

radioactivity, PPL said. General Electric said it also was investigating.

Federal regulators and state environmental officials have been notified, the

company  said.  (See  January 29,   2003  and March 25,   for  other  releases.)

March 23, 2003 - “PPL is replacing all four steam turbines at its

Susquehanna nuclear plant near Berwick” (“Sunday Patriot News”, March

23, 2003).

March 25, 2003 - An “unusual event” was declared when

“contamination was taken off site” when  “a worker “tripped on lead

shielding blankets...” The event was “declared at 4:52 pm and ended at 7:

15 pm. “ (Platts Nuclear News Flashes, March 25, 2003)

(See January 29  and March 4, 2003, for  related incidents).

April 26, 2003 -  PPL defended its $314 million investment loss in a Brazilian electric distribution company, and plans to maintain its

investments in similar companies located in El Salvador in the United

Kingdom   (Please  refer to September,  1997,  February  4,  2000,  and

2002: PPL kills expansion; earnings projections slashed and for related

developments).

Despite management’s objections, shareholders approved a

resolution that “recommended”  the submittal of “poison pills ”  to

shareholders for approval. “Two other shareholder resolutions failed. One

would have set limits on bonuses for PPL executives, and the other would

have required that the accounting firm that does the annual PPL audit not

get other business from the company” (April 26, 2003).

May 16, 2003 - PPL  issued a press release indicating that they will

be filing a distribution rate case at the PUC in the Spring of 2004 with

proposed new rates to take effect on January 1, 2005.  The press release

does not specify the anticipated amount of the increase.   PPL's

transmission and distribution rate cap expires on December 31, 2004.

Company representatives previously had informally indicated that they

would file in 2004.

May 22, 2003  -- THE PENNSYLVANIA NATIONAL GUARD IS

INCREASING ITS PRESENCE  at the  state's nuclear plants, Gov. Edward Rendell (D)  announced  yesterday.  Since  shortly  after  the  Sept.  11,  2001  terrorist  attacks

until  the  end  of  last  month,  Pennsylvania  had  had  a  24-hour  Guard  presence  at

the  plants,  but  then  had  switched  to  random,  unannounced  security  patrols,

Rendell  spokesman Michael  Lukens  said. But  under  Rendell's  order,  which  went

into  effect  yesterday, the two  elements  are  being  combined,  Lukens  said. He  said

the  order  would  remain  in  effect  "indefinitely,"  and the  governor's  office  would

continue to  assess it. Rendell's  announcement  said he took the  action in  response

to the  recent  elevation  of the  national threat  level  to  orange,  but  Lukens  said the

state's  assessment  of the need for the Guard would not necessarily be tied

to future changes in that threat level  (Platts  Nuclear  News  Flashes).

(See  October  6  &  17,  2001,  January  30,  2002,   and  November  2,  2002

for related incidents).

June 19, 2003 - The Attorney General rejected the PUC’s claim that

PPL manipulated whole sale electricity prices between January and April,

2001. Although prices spikes 3o times above normal seasonal rates, the AG

“determined that that PPL did not violate antitrust in acquiring that market

power.” The Attorney General did admit held extra capacity in 2001. FERC

did not act as is satisfied with subsequent PJM rule changes will prevent

future spikes. However, as result of the price gauging several smaller

electric retailers were permanently  forced out of the market (See June 14,

2002, for background information).

June 29, 2003 - “More than 50 Montana residents have sued PPL

Corp., alleging that the Colstrip power plant PPL operates and partially owns in Montana is polluting their drinking water. PPL says there is ‘no

merit’ to the claim” (Sunday Patriot News, June 29, 2003).

July 13, 2003 - “Utilities save big as towns lose out: Tax bills on

plants of major power companies in Pennsylvania have gone from $120

million annually to $20 million ( Anthony R. Wood, Inquirer Staff

Writer)

While homeowners are paying an average of 30 percent more than

they did in 1997, Exelon, Pennsylvania Power & Light, and the other major

electric utility companies in the state are paying 85 percent less in taxes on

their plants, down from about $120 million annually to about $20 million,

an Inquirer analysis has found.

Meantime, the utilities are passing on their real estate levies to their

customers, based not on what the companies are currently taxed but on the

far higher sums of six years ago....For the previous 25 years, the power companies' property taxes

were relatively cut-and-dried. Payments were calculated by the state and

put into one important pot: the Pennsylvania Utility Realty Tax Act fund,

or PURTA. For 1997, $167.5 million was paid in, the bulk of it by the two

electric behemoths, Peco Energy Co. and Pennsylvania Power & Light.

...When the state loosened its grip on the electric industry, the

commercial power plants - 25 major ones, 55 much smaller - were

gradually released from PURTA. For the first two years, 1998 and 1999,

the utilities were allowed to appraise their plants for tax purposes; the fund

tumbled to $60 million.

Continued on the following page...

....On Jan. 1, 2000, the plants were removed from PURTA and put on

the property rolls of the locales in which they sat, to be assessed and taxed

like any hometown business.

....Susquehanna nuclear power plant. Although the facility

was built at a cost of $4 billion and assessed at $3.8 billion, PP&L

argued in its appeal that it was worth only a fraction of that. In December

2000, a Luzerne County judge agreed, fixing the assessment at $165.4

million.

PP&L now pays $3 million annually to the county, Salem Township

and the Berwick Area School District - far less than the $30 million the

plant used to add each year to the PURTA pot, according to court records.The Susquehanna appeal has been by far the biggest in the state. The

Common Pleas Court ruling, which paralleled PP&L's arguments virtually

point for point, could set the course for other cases in Pennsylvania and

around the nation, said Epstein, the consumer activist.

"[Susquehanna] was the first nuke case to come in, and it was

precedent-setting," Epstein said. Since then, he added, the strategy "of

driving school districts off a cliff without a seat belt" has been applied in

cases around the commonwealth.

Continued on the following page...

...From 2000 through 2009, PP&L is including in its customer

billings $280 million in real estate levies, according to court records. In

reality, the company pays only $3 million a year on the plant -

an estimated 10-year windfall of $250 million.

Study Finds Utility Winners During Deregulation Are

Companies That 'Stuck to Their Knitting'

August 4, 2003 - "From 1998 to 2002, U.S. utilities leapt into

deregulation and created multiple strategies to compete. Because it takes

time to determine how the strategies worked, we are just seeing results now. Winners among utility companies relied on traditional regulated

utility assets," said Coyne and Hartshorne. "They are firms that stuck to

their knitting rather than plunging into merchant power generation or

purchasing foreign power plants.

“ The top five companies in annualized shareholder return were

Exelon Corp., Southern Company, Entergy Corp., Western Gas Resources

and PPL Corp.

“ The bottom five companies in total shareholder return for the fiveyear period were Aquila Inc., Dynegy Inc., The Williams Companies, Inc.,

The AES Corp. and El Paso Corp.”

August 6, 2003 -The NRC released NUREG 1774 which

documented a 60% increase  in fuel load drop events from 1993 to 2002.

The Report found half of the incidents involved moving fuel assemblies at

spent fuel pools, and greater risks for heavy load drops were at Boiling

Water Reactors like Susquehanna (The Report #ML033060160 can be

accessed through ADAMs.)   (For related events at he SSES please refer to

December  31,  1992; September  10  and  October  1  &  28,  1993; January  1,  July  1

and  August  1994;  August  22,  1995;  and,  September  5,  1996.)

POLL: Security officers expect another blackout in  12 months

August 25, 2003 - CSO Magazine polled 382 chief security officers

(CSO) and senior security executives showed 59% blamed the electric

industry and not the government for the blackout of 2003.

CSOs showed their lack of confidence in the power industry and grid with 59% predicting another major blackout within 12 months. Over threequarters said they doubt the electric industry will be modernized in five

years. That percentage want a probe by an independent investigator

without ties to the industry.  Almost half (47%) ask that the probe's results

be classified to keep terrorists from learning about US vulnerabilities.

Those surveyed included 156 whose firms felt some direct impact of the

outage. Many want the federal government to expand oversight of the

electric industry. "Regulations are often regarded as the necessary evil in

securing the nation's infrastructure," said Lew McCreary, editor of the

Framingham, Mass, publication, but he was surprised that CSOs --

traditionally anti-regulation -- are calling for increased government control

in this industry, "having now been faced with a glaring example of so-called

market forces at work," the editor cleverly observed.

The magazine did the survey online Aug 19-21, having sent an email

invitation to the web-based survey to 12,200 subscribers.  The 382 are the

ones that met qualifications and fully completed the survey.  The sample

was chosen randomly and each subscriber had an equal probability of being

selected.  Figure a 5% margin of error, the magazine said.

Results  are  at www.csoonline.com/releases/  08220385_release.html.

(Story originally published in Restructuring  Today 8/25/03.)

August 31, 2003 - “In the first half of the year, PPL posted earnings

from core operations of $292 million, or $1.72 a share, compared with

$262 million, or $1.77 a share, during the same period in 2002” (Sunday

Patriot News, August 31, 2003).

September 11, 2003 - SUSQUEHANNA-1 WAS AT ABOUT 65%

POWER TODAY AFTER A FIRE ON A FEEDWATEpump was extinguished

last night. Joe Scopelliti, a spokesman for operatoPPL Susquehanna, said

today that plant personnel were investigating the cause of the oil fire, which

the plant fire brigade extinguished eight minutes after it started at 11:14

last night. He declined to estimate when the unit would return to full power.

(Platts Nuclear News Flashes).    - September 15, 2003 - SUSQUEHANNA-1 RETURNED TO FULL

POWER THIS MORNING following repairs to one of the three pumps that

provides water to the reactor. The repairs were necessary following a fire

on Sept. 10 that was caused by a leak in a pump lubrication system. The

unit was at 70% power following the fire. Herbert Woodeshick, spokesman

for operator PPL Susquehanna, said the investigation into the root cause of

the leak is still ongoing (Platts Nuclear News Flashes).

September 19, 2003 -  “Critics say that the high electric prices and

the subsequent failure of Montana Power were evident from the start:

Montana Power, which once provided the sixth lowest electric rates in the

country, consented to sell off its generating plants as part of the deal to

allow it to diversify into unregulated businesses. But, one buyer PP&L

came in and bought all the assets. So, instead of having a steady supply

from one, regulated in-state supplier, there is now one, unregulated out-ofstate supplier...

“Concerns that rates may rise even higher have prompted a voter

initiative in Montana to give the state the right to buy back the assets that

were sold to PP&L. That vote failed in 2002, although supporters say that

they will try again in 2004... (By Ken Silvestein , Director, Energy Industry

Analysis).              (See June 29, 2003, for  related information).     Power Reactor Event Number: 40196 Facility:  SUSQUEHANNA

Event Text:

AUTOMATIC SCRAM AT SUSQUEHANNA ON LOW WATER LEVEL

- "At 0053 hours on September 24, 2003 with Susquehanna Unit 1

operating at 100% power an automatic reactor scram occurred due to low

water level. At the time of the scram, reactor feed pump testing was in

progress and the 'C' reactor feed pump tripped. The reactor recirc pumps

runback initiated as expected when water level reached 30" with the feed

pump tripped. Level continued to drop and reached the Level 3 auto scram

setpoint. Level continued to drop and reached a low level of approximately

-48" wide range. Reactor Core Isolation Cooling and High Pressure Coolant

Injection auto started at their initiation setpoints and injected to the vessel

to recover level. All level 2 and 3 containment isolations occurred as

expected. The reactor recirc pumps tripped as expected when level 2 was

reached. Reactor Pressure was controlled with bypass valves, there were

no Safety Relief Valve lifts. There are no challenges to containment.

"Unit 1 is currently stable in Mode 3 with both reactor recirc pumps

restarted. A human performance error was the cause of the reactor feed

pump trip. Investigation is continuing into the plant response to the reactor

feed pump trip."

The NRC Resident Inspector was notified of this event.    -  NEW YORK, Sept 24 (Reuters) - PPL Corp. said on Wednesday that

a unit at its Susquehanna nuclear power plant automatically shut down

when one of three feedwater pumps that supply water to its reactor stopped

working. The loss of the feedwater pump caused the water level in the Unit

1 reactor to drop, causing a full shutdown of the unit at 12:53 a.m. The

plant is located in Luzerne County near...” (See November 13, 2003 for

follow up inforamtion.)

The goal is for nuclear power plants to have

24-hour Coast Guard patrols

By SEAN ADKINS Daily Record staff Friday,

October 10, 2003  - The U.S. Coast Guard has proposed a permanent

rule that would close off sections of the Susquehanna River adjacent to

Three Mile Island and Peach Bottom Atomic Power Station.

Following the terrorist attacks, the Coast Guard began patrolling

temporary circular security zones around the waters that both nuclear

power plants use for producing electricity.

The temporary zones act as a barrier to vessel traffic in a specific areas

and work to protect power plants from damage or terrorist attack,

according to a public notice published in the Federal Register.

The proposed rule is part of a national plan to switch the status of the

temporary zones to that of permanent, said Neil  Sheehan, spokesman for

the Nuclear Regulatory Commission. The goal of that national strategy is

for each of the country’s 68 nuclear power plants eventually to be subject

to immutable 24-hour patrols by the Coast Guard with assistance from

other federal state and local agencies, he said. “The concern here is to

protect the critical and vital areas of the plant,” Sheehan said.

Similar to the present temporary conditions, the permanent law would

prevent people and boats from entering or lingering in the security zone

without prior authorization.  Pending public comment that could alter the

rule, plans  are for the temporary zones that surround Peach Bottom

Atomic Power Station and TMI in Dauphin County to become permanent

by early next year.        The change in zone designation from temporary to  permanent will not

affect plant operations, said Dana Fallano, a spokeswoman for Exelon

Generation. The company worked with both the NRC and the Coast Guard

to establish the zone, she said. Exelon co-owns and operates both TMI and

Peach Bottom Atomic Power Station.

The security zone is not expected to disrupt charter and recreational

fishermen, since those boats will be allowed to pass safely around the area,

according to the public notice.

October 27, 2003 -NRC AGREED TO RELAX TWO

REQUIREMENTS IN AN APRIL ORDER ON SECURITY FORCE

personnel working hours. NRC Office of Nuclear Reactor Regulation

Director James Dyer Oct. 23 issued notices to all reactor licensees that the

agency would allow shift turnover time to be excluded from total group

work hours that must be tracked. The NRC staff had wanted accounting of

all hours worked for tracking overtime, which it says could lead to worker

fatigue, but now agrees with the industry that tracking the extra time does

impose some additional burden. Industry officials argued the shift change

time is usually not more than 15 minutes. The second relaxation allows

licensees to increase the work hours during force-on-force exercises from a

48- to 60-hour per week average. Dyer said the staff understands that the

simulated exercises put additional demands on the security guards but the

mock attacks extend only for a short period of time (Platts,  Nuclear News).- NUCLEAR NEWS FLASHES - Wednesday,

October 29, 2003 --OPERATING POWER REACTOR LICENSEES MUST BE IN FULL

COMPLIANCE TODAY with NRC's April 29 order imposing measures to

control the work hours for security force personnel. The industry had

asked for relief in two areas of the order, and the NRC staff recently

approved those requests. The industry will not have to track the time it

takes for guards to change shifts in the overall group work hours and will be

allowed a 60-hour limit--up from the usual 48 hours per week--in

scheduling guards during the week of a force-on- force exercise. Two other

April orders, one on security officer training and the other on changes to

the design basis threat, require full implementation by Oct. 29, 2004. A

Nuclear Energy Institute official said at a conference in Arlington, Va.

today that the industry plans to ask the NRC to rescind the three orders

after licensees adopt the requirements in their security

plans (Platts,  Nuclear News).

November 13 , 2003 -  “ Pennsylvania Power & Light’s

Susquehanna-1 was forced [to] shut down 159 hours due to low reactor

water level following an indervtent trip of a feed pump during feed pump

testing” (Nucleoniocs Week, p. 17.) (See  September 24  2003, for initiating

event.)

Nuke fund falls short of target, report says

Owners required to set aside money to dismantle plants

December 05, 2003- BY GARRY LENTON, The Patriot-News

The owners of a third of the nation's nuclear plants, including the

damaged reactor at Three Mile Island, aren't setting aside enough money to

dismantle the plants when they close, according to a new federal study. That could mean higher electric rates for some Pennsylvanians if

companies increase their annual contributions to catch up.

If the companies don't close the shortfall, the study warns, taxpayers

may face billions in cleanup costs when the plants' useful lives are ended,

most likely decades from now...

The total decommissioning bill for all existing plants is estimated to

be $33 billion.

The lifetime of a nuclear power plant is estimated to be 40-60 years.

At that age, industry experts say, facility wear and fatigue can make

continued operation unsafe. The plants are licensed by the federal Nuclear

Regulatory Commission for 40 years, with the opportunity to apply for

extensions.

Continued on the following page...

Under federal law, decommissioned plants must be dismantled and

the land returned to pristine condition.

Pennsylvania plants that are under-funded, according to the GAO

report, are Limerick 1 and 2 in Montgomery County; Peach Bottom 1 in

York County; Three Mile Island 2, and Susquehanna 1 and 2 near Berwick.

Both the GAO and the NRC projections could be wrong. No one

knows for sure how much it will cost to decommission a nuclear plant,

because it has not been done.  "Estimates are based on the volume of

materials that would have to be shipped and stored," Exelon's Nesbitt said.

"... Nobody really knows [what the cost will be.] You base it on the best

data you have available."

Eric Epstein, president of Three Mile Island Alert, and founder of the

EFMR Monitoring Fund, who has helped negotiate cost-recovery plans for

nuclear plants before the Pennsylvania Utilities Commission, estimates

that the industry is billions short of what will be needed.

Estimates are based on plans that assume that low-level nuclear waste

from Pennsylvania plants will be shipped to a dump site that doesn't exist,

Epstein said. The estimate also assumes there will be a place to store the

spent fuel rods and other high-level wastes. The federal government has

yet to build such a site.

December 22, 2003 - NATIONAL GUARD TROOPS BEGAN

PROTECTING PENNSYLVANIA'S NUCLEAR POWER PLANTS at 7 a.m.

local time today, according to Gov. Edward Rendell (D). Troops will remain

at the plants as long as the threat level remains at "orange," indicating a

high risk of a terrorist incident, Rendell said. Deployment of the state

National Guard to the nuclear plants was among the steps the state

government took to protect Pennsylvania infrastructure in response to the

raising of the Homeland Security Threat Level yesterday. The nuclear

plants in Pennsylvania are Beaver Valley, Limerick, Peach Bottom,

Susquehanna and Three Mile Island. NRC spokesman Dave McIntyre said

he was not aware of other states deploying National Guard troops to

nuclear plants in response to the increased threat level (NUCLEAR NEWS

FLASHES.)

Facility:  SUSQUEHANNA

HQ OPS Officer: GERRY WAIG  Notification  Date:  01/15/2004

Notification Time: 13:03 [ET]

Event Date: 01/14/2004 Event Time: 19:50 [EST]

Last Update Date: 01/15/2004

Emergency Class: NON EMERGENCY

1 N Y 9 4 Power Operation 9 4 Power Operation

2 N Y 1 0 0 Power Operation 1 0 0 Power Operation

Event Text

OFFSITE NOTIFICATION OF ACCIDENT INVOLVING 2 TRUCKS

CARRYING EMPTY NEW FUEL SHIPPING CONTAINERS

-  The  following  information  was  provided  by the  licensee  via  facsimile:

"On 1/14/2004 at 19:56 hours, the Shift Manager was notified by the

Clinton County, PA Emergency Management Agency of vehicle accident

involving trucks that were carrying a shipment from Susquehanna. The

trucks were carrying empty shipping boxes from a shipment of new fuel

that had previously been delivered to Susquehanna. These empty boxes

were being shipped in accordance with U.S. Department of Transportation

regulations [49CFR173.428 Empty Class 7 (Rad Mat)].

"On 1/15/2004 at 10:20 hours, additional information was provided to the control room indicating that this accident could cause increased

public interest due to the severity of the accident. The two tractor trailers

involved in the shipment were amongst the vehicles in the accident. One of

the truck drivers was seriously injured. The trucks were severely damaged.

Clinton County, PA, Emergency Management Agency was called to the

scene by initial responders as well as the Pennsylvania Department of

Environmental Protection. Both surveyed the boxes and found no

indication of radiation/contamination. The shipping boxes and vehicles are

being held by the towing company until the shipping company can provide

replacement vehicles."

The licensee has notified the NRC Resident Inspector.

(See  March  6,  2004,  for  a  similar  accident.)

Jan. 18, 2004- Power  Reactor Event  Number: 40486

Facility:  SUSQUEHANNA

Region:  1  State:  PA

Unit: [ ] [2] [ ]

RX  Type: [1]  GE-4,[2]  GE-4

NRC Notified By: GORDON ROBINSON

HQ OPS Officer: STEVE SANDIN  Notification  Date:  01/29/2004

Notification  Time:  00:05  [ET]

Event  Date: 01/28/2004

Event  Time: 20:33  [EST]

Last  Update  Date:  01/29/2004

Emergency  Class:  NON  EMERGENCY

10 CFR Section:

50.72(b)(2)(xi) -  OFFSITE  NOTIFICATION Person  (Organization):

GLENN MEYER (R1)

U n i t SCRAM Code RX CRIT Initial PWR Initial RX Mode Current

PWR Current  RX Mode

2 N Y 1 0 0 Power  Operation 1 0 0 Power  Operation

Event  Text

OFFSITE NOTIFICATION TO LOCAL LAW ENFORCEMENT DUE TO FIRE

BRIGADE ACTIVATION

"At 2018 hrs, the Control Room was notified of  smoke  coming from the Unit 2

Vital UPS  room. The Field Unit Supervisor (FUS) was dispatched to the  room to

investigate.  At  2026  hrs,  the  Fire  Brigade  was  activated.  When  the  FUS  arrived at the Vital  UPS  Panel  he  reported that there  was  smoke  coming from the  panel.

He  opened the  panel  and  observed  smoke  coming from the transformer  in the

panel.  He  did  not  observe  any  flames  at  any  time  while  dealing  with  the  event.

At  2029  hrs,  Security  was  notified  and  subsequently  notified  the  State  Police  at

2033  hrs.  At  2033  hrs,  the  transformer  was  deenergized  and  the  smoke  began  to

dissipate.  Entry  into  the  Emergency  Plan  was  evaluated  and  it  was  determined

that  no  entry  conditions  exists  at this time.

"Due to the  notification  of the  Local  Law Enforcement Agency, this  event

constitutes  an  Offsite  Notification  and  therefore  reportable  under

10CFR50.72(b)(2)(xi)  requiring  a  4  hr  ENS  notification."

When  the  transformer  was  deenergized,  all  loads  were  automatically  transferred

to the  alternate  power  supply. The  loss  of this transformer  did  not  affect  any

safety  related  equipment  and  does  not  require  entry  into  any  TS  LCO  Action

Statements.

The licensee notified  state/local  agencies  and the NRC Resident Inspector. No

press  release  is  planned.

Power Reactor Event Number: 40498

Facility: SUSQUEHANNA Region: 1 State: PA

Unit: [1] [2] [ ]

RX Type: [1] GE-4,[2] GE-4 NRC Notified By: GRANT FERNSLER

HQ OPS Officer: MIKE RIPLEY  Notification Date: 02/02/2004

Notification Time: 17:33 [ET]

February 2, 2004

Event Time: 09:01 [EST]

Emergency Class: NON EMERGENCY

Unit SCRAM Code RX CRIT Initial PWR Initial RX Mode

Current PWR Current RX Mode

1 N Y 87 Power Operation 87 Power Operation

2 N Y 1 0 0 Power Operation 1 0 0 Power Operation

Event Text

FITNESS FOR DUTY

A contractor foreman/supervisor was determined to be under the

influence of alcohol during a pre-access FFD test as part of processing for

unescorted access. The supervisor was denied unescorted access to the

protected area. Contact the HOO for additional details The licensee notified the NRC Resident Inspector.

NRC: NRC Special Inspection Starts at Susquehanna Nuclear Plant

News Release - Region I - 2004-00

U.S. NUCLEAR REGULATORY COMMISSION

Office of Public Affairs, Region I No. I-04-003

February 9, 2004

CONTACT:      Diane Screnci (610) 337-5330

Neil A. Sheehan (610) 337-5331

Several events involving loose bolts on emergency diesel generators.

The twin-reactor plant is located in Berwick, Pa., and operated by PPL

Susquehanna, LLC.

The purpose of the inspection, which got under way today, is to

determine the facts surrounding the discovery that several bolts on

emergency diesel generators at the plant were found to be not fully

tightened during the period from March 2003 through January. Among

other things, the team will independently evaluate the adequacy and

quality of PPLs response and the risk

significance of the problem.

Nuclear power plants generate and transmit electricity to the grid,

but they also receive power back for operational purposes. If the flow of

that off-site power is interrupted, emergency diesel generators are relied upon to power key safety systems and safely shut down the plant. As such,

their proper functioning is of vital importance to plant safety. The

Susquehanna plant has five emergency diesel generators.

In March 2003, a bolt on a linkage that controls the diesel fuel supply

for one of the plants emergency diesel generators fell off during routine

testing, forcing the engines shutdown. On January 25 -- again during

routine testing -- PPL found the mounting bolts for the governor, or

control, on another emergency diesel generator were not fully tightened. In

addition, workers observed oil leaking from under the control. That engine

also had to be shut down during testing due to the problems. Subsequently,

PPL on January 30 identified several bolts that were not fully tightened on

a lube oil cooler, or heat exchanger, for a third emergency diesel generator.

The three-member NRC team will document its findings in an

inspection report that will be issued no more than 45 days after the exit

meeting for the review.

Last revised Tuesday, February 10, 2004

February 28, 2004 - SSES shut down for refueling and maintenance.

Power  Reactor Event  Number: 40571 Facility:  SUSQUEHANNA

Region:  1  State:  PA Unit: [1] [2] [ ]

NRC Notified By: GRANT FERNSIER

HQ OPS Officer: RICH LAURA  Notification  Date:  03/06/2004

Notification  Time:  08:20  [ET] Event  Date:  03/06/2004

Event  Time:  05:28  [EST] Last  Update  Date:  03/06/2004

Emergency  Class:  NON  EMERGENCY

OFFSITE NOTIFICATION Person  (Organization):

MOHAMED  SHANBAKY (R1)

U n i t SCRAM Code RX CRIT Initial PWR Initial RX Mode Current

PWR Current  RX Mode

1 N N 0 Re fue l ing 0 Re fue l ing

2 N Y 1 0 0 Power  Operation 1 0 0 Power  Operation

AREVA Awarded Contract to Supply Fuel for  PPL Susquehanna

3/8/2004 Bethesda,  Md. -- AREVA`s joint  subsidiary with Siemens,

Framatome  ANP,  has  been  awarded  a  contract to  supply  six  batches  of  nuclear

fuel  for  PPL`s  Susquehanna  nuclear  power  plant.  Delivery  of the  first  reload

under  this  contract  will  be  in  early  2005.AREVA  will  supply  its ATRIUM™  10  boiling  water  reactor (BWR) fuel

assemblies  for  Susquehanna  units  1  and  2.  The  fuel  will  be  manufactured  at

AREVA`s  nuclear  fuel  manufacturing  facility  in  Richland,  Washington.  Since

1992,  more  than  2,900  ATRIUM™  10  fuel  assemblies  have  been  installed  in  17

reactors  worldwide.

"We  have  enjoyed  a  longstanding  relationship  with  PPL  Susquehanna,"

said  John Matheson, AREVA  senior  vice  president,  nuclear fuels.  "We  are  pleased

to  have  this  opportunity  to  further  support  PPL`s  generation  goals  by  providing

high-quality  fuel  that  is  capable  of  meeting  the  highest  demands  for

performance  and  reliability."  (Press  Release).

Event Text

OFFSITE NOTIFICATION AT SUSQUEHANNA INVOLVING

A TRAFFIC ACCIDENT

"On 3/06/04 at 0528 Plant Security was notified of an accident at

the entrance to the site involving an employee leaving work and a south

bound vehicle on PA Route 11. There were no reported injuries. Local law

enforcement was contacted and investigated the incident. Because of the

involvement of a LLEA and potential media or general public interest in the

event, the Pennsylvania Emergency Management Agency (PEMA) was

notified of the incident at 0812 hours. Based on the notification to a

government agency and possible public interest, this event was determined

to be reportable under 10CFR50.72(b)(2)(xi)."

The NRC Resident Inspector was notified.

(See January 14, 2004, for  a similar accident.)Power  Reactor Event  Number:  40602  Facility:  SUSQUEHANNA

Region:  1 State: PA Unit: [1] [2] [ ] RX Type: [1] GE-4,[2] GE-4

NRC Notified By: RONALD FRY HQ OPS Officer: CHAUNCEY GOULD

Notification  Date: 03/21/2004  Notification  Time: 16:03  [ET]  Event  Date:

March 24, 2004

Event  Time:  12:32  [EST]  Last  Update  Date:  03/21/2004

Emergency Class: NON EMERGENCY  10 CFR  Section:

INFORMATION ONLY Person (Organization):   HAROLD  GRAY (R1)

U n i t SCRAM Code RX CRIT Initial PWR Initial RX Mode Current

PWR Current  RX Mode

1 N N 0 Re fue l ing 0 Re fue l ing

2 N Y 1 0 0 Power  Operation 1 0 0 Power  Operation

Event  Text

THREE INJURED NONCONTAMINATED CONTRACTORS WERE TRANSPORTED

TO THE HOSPITAL.

"On 3/21/04 at 12:32 hrs a bucket truck working at the Unit 1

Cooling Tower came in contact with a 230KV transmission line causing the

loss of one off site power supply to the plant. The 500 KV offsite circuit

remained energized during the event. A contract employee at the base of

the truck was thrown due to the electrical short. A contract employee in the

bucket of the truck was able to lower the bucket to the ground. A first aid

crew was dispatched to the location and an Ambulance was requested. The

Ambulance entered the site at 12:50 and at 13:02 the individuals were transported to the local hospital. Due to the electrical transient in the plant,

a contract employee performing grinding activities lost control of the

grinder and injured his middle finger. This individual received first aid and

was transported to the local hospital by his supervisor. The individual

injured in the plant was surveyed by Health Physics prior to leaving the site

and no contamination was found. The Local Law Enforcement Agency was

notified of the Emergency vehicle being dispatched to the site. The State

Emergency Operations Center will be notified of the Emergency vehicle

entering the site."

The NRC Resident Inspector and local agencies were notified and the

state will be notified.

Power Reactor Event Number: 40605 Facility: SUSQUEHANNA

Region: 1 State: PA Unit: [1] [ ] [ ] RX Type: [1] GE-4,[2] GE-4

NRC Notified By: GRANT FERNSLER

HQ OPS Officer: STEVE SANDIN  Notification Date: 03/23/2004

Notification Time: 11:00 [ET] Event Date: 03/23/2004

Event Time: 07:46 [EST] Last Update Date: 03/23/2004

Emergency Class: NON EMERGENCY 10 CFR Section:

50.72(b)(3)(ii)(A) - DEGRADED CONDITION Person (Organization):

FRANK COSTELLO (R1)

Unit SCRAM Code RX CRIT Initial PWR Initial RX Mode

Current PWR Current RX Mode

1 N N 0 Refueling 0 Refueling

Event Text

INDICATION OF CRACK FAILURE ON RCS PRESSURE BOUNDARY

PENETRATION

"Unit 1 is currently in a refueling outage in Mode 5. During a routine

inservice inspection of the reactor vessel, an indication was discovered on

the N1B penetration. This is associated with the suction for B Loop of

Reactor Recirculation. At 0746 on 3/23/2004, the Control Room was

notified that the evaluation was completed and the indication was

determined to be unacceptable under the ASME Section XI Code. Based on

guidance provided in NUREG-1022, Rev. 2, this material defect in the primary coolant boundary constitutes a seriously degraded condition and

is reportable under 10CFR50.72(b)(3)(ii)(A). A final evaluation of the flaw

and a repair plan is being developed."

The licensee informed the NRC Resident Inspector.

PRN:  PPL's  Susquehanna  Nuclear  Power  Plant  Returns to  Normal  Operation

Small Flaw Found in Pipe at PPL Nuclear

Site in Luzerne County, Pa.

Publication: Knight Ridder/Tribune Business News

March 25 2004- By Sam Kennedy, The Morning Call, Allentown, Pa. Knight

Ridder/Tribune Business News

Mar. 25--A crack was discovered in a pipe during a routine inspection of

the Susquehanna nuclear power plant, PPL Corp. announced Wednesday.

The defect posed no immediate threat to the public, according to PPL,

which operates the plant. Risk of rupture within the Unit 1 reactor was not

significant because the crack was so small, a company spokesman said.

"This was nowhere near a break," Herb Woodeshick said. He likened the

crack, found Tuesday, to a "blemish.

April 28, 2004 - BERWICK, Pa., /PRNewswire-FirstCall/ -- PPL's

Susquehanna nuclear power plant in Luzerne County declared an end  to an

"unusual event" at 3:52 p.m. EDT on Wednesday (4/28), and  plant

operators have begun to return the Unit 2 reactor to full  power.

The plant entered the lowest of the four emergency  classifications for

nuclear power plants at 1:25 p.m. EDT Wednesday because of an electrical

failure in a power  distribution panel located in the Unit 2 reactor building.

As a result, the unit's power was reduced to about 80 percent.

"Plant equipment and personnel reacted as expected for this  type of

situation," said Herbert D. Woodeshick, special assistant to the president

for PPL Susquehanna. "Workers isolated the  electrical failure and restored

power to the affected systems through an alternate electrical supply."    The damaged distribution panel supplied power to the cooling system for

the main generator and to the system that removes certain gases from the

turbine's main condenser, without which the unit cannot operate at full

power.

"The plant was in a stable condition throughout the event, and Unit 1

remains at full power," Woodeshick said.

Unit 2 now has been operating for 374 consecutive days.

PPL notified Luzerne and Columbia county emergency management

agencies, the Pennsylvania Emergency Management Agency and the

Nuclear Regulatory Commission.

The Susquehanna plant, located about seven miles north of  Berwick, is

owned jointly by PPL Susquehanna LLC and Allegheny Electric

Cooperative Inc. and is operated by PPL Susquehanna.

PPL Susquehanna LLC is a member of the PPL Corporation family

of companies. Headquartered in Allentown, Pa., PPL Corporation.

(Please  reference  the  following  dates  for  a  list  of  chronic  electrical

problems  at  the  SSES:  “1986”;  September,  1988;  February  6,  1990;

July  23,  1997;  June  8-16,  1999;  and,  April  12,  2005.)

Power  Reactor Event  Number: 40777

Facility:  SUSQUEHANNA

Notification  Date: 05/26/2004

Event Text OFF SITE NOTIFICATION

"This  event  is  being  reported  under  10CFR50.72(b)(2)(xi)  as  an  item  of

public  interest  and  an  event  for  which  other  government  agencies  have  been

notified.   "At  1600  on  5/26/2004, the  operations  Shift Manager  was  notified  by

the  Security  Shift  Supervisor  that  an  individual  [truck  driver]  had  been

arraigned  by  a  LLEA [Local  Law  Enforcement  Agency]  judge  for  prohibited  items

(drug  paraphernalia)  which  were  discovered  during  a  routine  entrance  search  of

personnel  and  vehicles.  The  items  were  discovered  outside the  protected  area [and]  were  determined to  not  pose  a threat  or  attempted threat. The  LLEA  was

called  and  responded to the  site  access  area  and  removed the  individual to the

local  barracks,  where  he  was  subsequently  arraigned  on  a  misdemeanor.  The

individual's  name  has  been  removed  from  the  Susquehanna  LLC  visitors  list.

"The Manager  of  Nuclear  Security  briefed  NRC  Region  #1 Inspector,  Dana  Caran,

concerning  the  incident."

The licensee notified the NRC Resident Inspector.

Citizens Voice: 5 detained near Salem nuclear plant

Wednesday  30  June,  2004

by Heidi E. Ruckno   Citizens' Voice Staff Writer

Federal  and  state  authorities  reported  Tuesday that  several men   of Middle

Eastern  descent  were  driving  around  the  Berwick  and   Shickshinny  areas

Tuesday looking for the nuclear power plant in Salem Township.

The  five men,  four  from  Bangladesh  and  another  of  Pakistani  descent,

were  reportedly  seen  at the  Delaware Water  Gap  rest  area   along Interstate  80

around  8:20  a.m.  They  were  also  spotted  in   Bloomsburg,  Columbia  County.

State  police  said they  were  asking  directions to the  river  near the  plant

because  they  wanted  to  go  fishing.  Their  minivan  was  pulled  over  by  state  police

in  Shickshinny  around  11  a.m.  on  U.S.  Route  11  in  Salem  Township,  four  miles

south  of  the  Susquehanna  Steam  and  Electric  Power  Plant.

According to  federal  and  state  authorities, the  Federal  Bureau  of

Investigation  was  notified. Because  of  visa  issues, two  of the five men  were

detained  by  immigration  authorities.

"We did  stop and detain five individuals, who were believed to be   of Middle

Eastern  descent,  because  of  suspicious  activity,"  FBI   special  agent  Jerri Williams

said.  Their  van  was  searched  Tuesday    and  authorities  did  not  find  anything

i l l e g a l .

All  five  men  were  released  Tuesday  evening.  Williams  said  Tuesday

that there  was  no  cause for  alarm,  as  authorities  did  not find

any  links  to  terrorist  activity.

Both  the  Luzerne  County  Emergency  Management  Agency  and  power

plant  security  were  notified  about the  incident. When  asked  if   the  power  plant

had  taken  any  special  precautions,  EMA  operations   and  training  officer  Steve

Bekanich  said  he  couldn't  speak for the  plant.

Power plant  spokesperson Joseph Scopelliti  said he knew of no procedural changes  resulting from the  incident.  "I  know  of   nothing  different,"  Scopelliti  said.

"I've  seen  state  police  vehicles  up  and  down  the  highway,  but  that's  every  day.

We  were made  aware  by  state  police that there  was  a  concern."

According  to  Scopelliti,  security  at  the  plant  is  normally  very  tight.  He

said  that  every  employee  must  have  proper  identification  or  they  will  not  be

allowed  on the  grounds,  and that  all  unknown  people  and  vehicles  and  are

searched  and   X-rayed.

"We're  ready  24-7,"  Scopelliti  said.  "We're not  sitting  back   waiting for

something.  Everyone that  comes  up  here must  have  a  business  reason to  come

up."

©The Citizens Voice 2004

July  2,  2004:

GOVERNOR RENDELL ANNOUNCES ENHANCED

SECURITY MEASURES AT NUCLEAR POWER PLANTS

National Guard, State Police to Provide a 24-hour Presence and

Random, Unannounced Patrols During Independence Day Holiday

HARRI SBURG: Governor Edward  G.  Rendell today  said the Pennsylvania

National  Guard  and  the  Pennsylvania  State  Police  will  provide  both  a  24-hour

presence  and  random,  unannounced  security  patrols  at  the  Commonwealth’s

five  nuclear  power  plants.   The  enhanced  security  measures  will  be  provided  in  a

coordinated  fashion  with  the  plant  operators  and  their  security  teams,  and  will

remain  in  force  at  least  through  the  conclusion  of  the Independence  Day  holiday.

“My  Homeland  Security  Team  continues  to  coordinate  on  a  regular  basis

with  the  U.S.  Department  of  Homeland  Security,  the  Federal  Bureau  of

Investigation,  the  U.S.  Department  of  Defense,  and  the  Nuclear  Regulatory

Commission  in  order  to  discuss  and  share  relevant  intelligence  information  and

threat  analysis,”  Governor  Rendell  said.“Although  there  currently  exists  no  credible  threat  against  any

Pennsylvania  nuclear  power  facility,  in  an  abundance  of  caution  I  have  asked

the  National  Guard  and  State  Police  to  immediately  commence  enhanced

security  measures  at  our  nuclear  power  stations.  At  a  minimum,  we  will

maintain  this  deployment  status  through  the  holiday  weekend.”

The  state’s  nuclear  power  plants  are  Beaver  Valley  in  Shippingport

Borough,  Beaver  County;  Susquehanna  in  Salem  Township,  Luzerne  County;

Limerick  in  Limerick  Township,  Montgomery  County;  Peach  Bottom  in  Delta

Borough,  York  County;  and  Three Mile Island  in  Londonderry  Township,

Dauphin  County.

Power Reactor Event Number: 40196 Facility:  SUSQUEHANNA

September  12,  2004 -State plan to handle nuke crisis challenged

Preschools, hospitals and nursing homes are unprepared,

2  residents  say

BY GARRY LENTON Of The Patriot-News

State  and  federal  authorities  are  investigating  allegations  that

Pennsylvania  is  unprepared  to  evacuate  preschool  children  and  nursing  home

and  hospital  patients  during  a  nuclear  accident.

The  federal  government  requires  that  the  state  have  a  plan  for  moving

people  who  cannot  care  for themselves  and  live  within  10 miles  of  a  nuclear

plant.  Two  Harrisburg  area  residents  allege that the  state  has  been  out  of

compliance  with  federal  safety  requirements  for  nearly  two  decades.

Gov.  Ed  Rendell's  office  and  the  Federal  Emergency Management  Agency

took  on the  review  of the  state's  plan  after  receiving  a  letter  last  week from  Larry Christian  and  Eric  Epstein,  chairman  of  the  watchdog  group  Three Mile Island

Alert,  detailing  these  issues.  The  Nuclear  Regulatory  Commission  also  received

the  letter.

If the  accusations  are  deemed true,  it  would  call  into  question the  validity

of  the  operating  licenses  for  the  five  nuclear  power  stations  in  Pennsylvania.

Federal  law  requires the NRC to  determine that the  public  will  be  protected  in  a

radiological  emergency  before  it  grants  a  license  to  open  a  nuclear  plant.

December 21, 2004- Citing  rate  hikes  that  take  effect  Jan.  1  in  Pennsylvania,  PPL  Corp.  expects to  boost  its  2005  earnings from  current  operations  by  about  8  percent, the company  said  Monday.The  Allentown-based  utility  is  forecasting  earnings  of  $3.80  to  $4.20  per share,  up  from  a  projected  $3.65 to  $3.85  per  share this  year.The  rate  hikes,  approved  by  the  state  Public  Utility  Commission,  affect  1.3 million  electricity  customers  in  central  and  eastern  Pennsylvania.

Jan. 20, 2005-  Susquehanna set plant record by generating 18-million MWH

Susquehanna’s two units generated a record combined output of 18.03-million megawatt-hours (MWH) last year, besting 2003’s output of 18-million MWH, PPL Corp. said this week.

Susquehanna-2 also set a site generation record, producing 10.03-million MWH, said PPL spokeswoman Constance Walker. The old record for unit 2 was 9.347-million MWH in 2000, Walker said.

Unit 1 generated 8-million MWH, short of its 2001 record of 9.413-million MWH, Walker said.

PPL said one factor in the record station generation was the installation of new turbines on unit 1 during its spring refueling outage ast year. Unit 2 received a similar upgrade in 2003.

Both units are operated by PPL subsidiary PPL Susquehanna. Unit 1 is a 1,142-MW BWR; unit 2 is a 1,147-MW BWR.

—Report by Daniel Horner

Feb. 11, 2005- Nuclear plant guard rule could be year away

TMI watchdog group decries 'glacier' pace

The Harrisburg-based nuclear watchdog group Three Mile Island Alert has been waiting since Sept. 12, 2001, for the U.S. Nuclear Regulatory Commission to decide whether nuclear plant owners must post armed guards at their front gates.

TMIA will have to wait another year for its answer, according to an NRC memo released to Wednesday. The memo outlines a schedule the NRC plans to follow as it considers rule changes for security at the nation's 63 nuclear power stations.

The memo, from Luis A. Reyes, executive director for operations, anticipates that recommendations that could mandate guards at plant entrances will be presented to the commissioners next February.

If the NRC adheres to the schedule, the recommendation would come nearly five years after TMIA petitioned the agency for the change.

A statement issued by the watchdog group yesterday called the NRC's failure to act on its request irresponsible and unreasonable. "For nearly four and a half years the NRC has misled [TMIA] about its deliberations on the petition," the statement said. "When requesting status updates, the NRC perpetually stated that a decision on the petition would be made within three to six months."

TMIA asked the NRC to require plant operators to keep at least one armed guard at each plant entrance. The petition, which was drafted weeks before the terror attacks of 9/11, argued that the guards would serve as a physical and visual deterrent against attacks.

Since 9/11, the NRC has issued security requirements aimed at making the plants less vulnerable to attack. Changes include the addition of guard towers, truck barriers, deeper background checks and high-tech fencing. Most, if not all, plant owners post guards at their front gates.

For months after the terror attacks, Pennsylvania was among several states to assigned National Guard troops to the plants. NRC officials have denied allegations of foot dragging. Petitions such as TMIA's, which require rule changes, take a long time to complete, officials said.

The Nuclear Energy Institute, which represents plant owners and operators, opposes the petition.  It told the NRC that guards should be posted only when the level of security threat makes it prudent.

On July 29, 2005, the NRC a issued White Violation relating to another staffing deficiency at Three Mile Island where “approximately 50% of the emergency responders,” including “key responders”  were “overdue” for their annual training for “an approximate five month period. (Please refer to Thursday, July 14, 2005, for background material).

-Report by Garry Lenton of the Patriot-News

March 4, 2005- 'Unusual event' declared. No fire found and no one is hurt

Smoke at PPL Corp.'s Susquehanna nuclear power plant led to a

low-level emergency declaration on Friday afternoon.

Crews detected smoke in a construction area at one of the Luzerne

County facility's two nuclear units. The unit was out of service

for refueling.

As a result, an ''unusual event'' was declared for about 55

minutes.

An unusual event is the lowest of the four emergency  classifications established by the U.S. Nuclear Regulatory Commission for nuclear power plants. ''Our plant fire brigade responded and no fire was found. The

smoke has stopped,'' said Joe Scopelliti, spokesman for the  Susquehanna plant. ''There were no injuries. We are investigating  the cause. No action by the general public was required.''

Unit 2 had been shut down since Feb. 26 for a refueling and  inspection outage.

The smoke was detected at 2:57 p.m. in a construction area near a

moisture separator, which is used to ''dry'' the steam heading for the turbines.

-By Sam Kennedy of The Morning Call

March 6, 2005 -Post-accident monitoring instrument inoperable

Susquehanna Steam Electric Station informed the NRC today by fax that: "At (3 p.m.) on March 6, 2005, the Control Room declared both required divisions for three functions (Primary Containment Pressure, Primary Containment Hydrogen and Oxygen Analyzer, and Drywell Atmosphere Temperature) of Post Accident Monitoring Instrumentation (a Safety System) inoperable. The control room was notified of 'Non Quality' (non-Q) parts installed in both required divisions of a Post Accident Monitoring Instrumentation Recorder. The appropriate LCO Conditions were entered for one or more functions with two required channels inoperable. This equipment has passed all surveillance requirements and has been functional since installation," the statement said.

"Plans are being developed to replace the non-qualified parts.

"This is being reported as an event or condition that could have prevented fulfillment of a safety function required to mitigate the consequences of an accident in accordance with 10CFR50.72(b)(3)(v)(D)."

The NRC Resident Inspector was notified.

April 12, 2005 - Berwick plant shut down

“PPL Corp. officials shut down the Unit 2 reactor at Susquehanna

nuclear power plant in Luzerne County Sunday to repair a battery

charger that is part of the site's electrical system. The plant's Unit 1 reactor continued to operate at 100 percent power.”

“Allegheny Electric Cooperative and PPL Susquehanna jointly own the two-unit nuclear power plant, which has a 2,352-megawatt generating capacity.

-Report by the York Daily Record

April 14, 2005- Nuclear reactor restarted

“Operators safely restarted the Unit 2 reactor at the Susquehanna

nuclear power plant in Berwick Wednesday after completing electrical repairs to the unit's battery chargers. The battery chargers are part of the plant's electrical system and are located in a non-nuclear area of the plant.”

“On Sunday, plant workers had discovered one of the unit's four chargers was not working properly. Because crews could not repair the electrical problem and conduct a thorough investigation of the Unit 2 direct current electrical system within a specified time period, they manually shut down the unit

as called for in plant procedures.”

Susquehanna-2 was out of service this week as plant personnel repaired a battery charger and checked similar components in the 1,147-MW BWR, operator PPL Susquehanna said.

An “expert team” determined that two embrittled wires near a resistor came into contact with each other, creating a short circuit that caused three fuses in the charger to fail April 10, PPL spokesman Lou Ramos said. The charger provides a back-up power source for pump breakers, isolation valves, and other components, he said.

PPL found three similar chargers elsewhere in the reactor and now has configured them to make sure they won’t have the same problem, he said. When PPL has collected and analyzed information from the repair and inspection, the company “probably will put something out to industry,” as other plants probably have similar battery chargers, he said.

- Report from Nucleonics Week / Volume 7/ Issue 15  / April 14, 2005 and the York Daily Record

April 29, 2005 -Troubled Reactor Shutdown Again Due to Electric Problems*

On Thursday, April 28 at 7:19 a.m. , PPL shut down the Unit 2

nuclear reactor for the second time in a month due a malfunction with a

plant electrical transformer.

The main transformer is a non-nuclear component of the plant

that increases the voltage of the electricity for distribution on the electrical

transmission network.  The malfunction appears to be related to the cooling

system for the transformer.

Unit-2 was still shut down on April 29.

April 30, 2005 - PPL Susquehanna Restarts Unit 2 Reactor

Operators reported safely restarting the Unit 2 reactor at the Susquehanna nuclear power plant and reconnecting to the electrical transmission network Saturday, April 30 after repairing the cooling system on the unit's main transformer.

A worn motor for one of the transformer's cooling system fans caused the unit to be shut down Thursday morning, plant officials reported.

-Report by Marlene Lang

June 6, 2005 - Third forced closure since April 14, 2005

Unit 2 of PPL's Susquehanna nuclear power plant shut down automatically at 12:33  p.m. Monday, June 6 because of a problem with the electric transmission network.

-PRNewswire report

June 11, 2005 - Unit 2 at the Susquehanna nuclear power plant resumed generating electricity  Saturday June 11.

The unit shut down automatically five days earlier after an electrical generator component - a voltage regulator - failed. Plant crews have replaced the regulator and have completed thorough inspections to ensure that the unit's  electrical systems are operating properly.

-PRNewswire report

July 25, 2005- PPL Pa. Susquehanna 1 nuke dips to 73 pct power

PPL Corp.'s  1,140-megawatt Unit 1 reactor at the Susquehanna  nuclear power station in Pennsylvania dipped to 73 percent of  capacity by early Monday, the U.S. Nuclear Regulatory Commission  said in a report.

On Friday, the unit was operating at full power.

Power was reduced throughout the weekend to replace feed water valves. PPL began a return to full power on

-Report by Rueters

Sept. 27, 2005- GE receives contract to increase output of PPL nuclear units

A General Electric Co. subsidiary said Sept. 22 that it won a $10 million contract to increase the electric gen-erating capacity of PPL Corp.’s two-unit Susquehanna nuclear plant by about 200 MW combined. This is part of an extended power uprate for the boiling water reactor units at the nuclear plant, near Berwick,

Pa. PPL Corp. currently lists a generating capacity of 2,360

MW for the facility plant. PPL Corp.’s PPL Susquehanna unit is 90% owner of

the nuclear plant. Allegheny Electric Coop. Inc. is a 10% owner. Unit 1 began commercial operation in 1983 and unit 2 in 1985. PPL Corp. will likely file for a 20-year oper-ating license renewal for both units next year.

GE Energy, the plant’s original equipment manufac-turer, will work with PPL Corp. to prepare for the uprate, which will be implemented in phases during several refu-eling outages.

GE Energy will perform the engineering analysis and provide documentation support for the uprate as well as the generator scope of work. A combination of GE, PPL Susquehanna and other subcontractors hired by PPL Corp. will perform the balance of the plant work.

-Report by Wayne Barber

Oct. 29, 2005 	- Friction in fuel assemblies, control rods shuts down plant

One of the reactors at the Susquehanna nuclear power plant near

Berwick will shut down late Friday for maintenance and should be  generating power again within three weeks, PPL Corp. said Wednesday.

Routine testing showed that some of the control rods and fuel assemblies on the Unit 1 reactor are experiencing increased friction, slowing their response time, the company said. The Unit 2 reactor is expected to continue operating normally.

-Report by York Daily Record/Sunday News

March 14, 2006 - Proposed Spent Fuel Exemption for the Susquehanna Nuclear Generating Station Challenged

Eric. J. Epstein, chairman of Three Mile Island Alert, told the NRC why he was concerned about PPL's request to exempt fuel casks, allowing storage of spent fuel. Here is his statement to the Nuclear Regulatory Commission:

Thanks for the opportunity to offer input and share my concerns on PPL’s

spent fuel cask exemption request.

On April 16, 2003 at the Nuclear Regulatory Commission’s (NRC) annual RIC

workshop in Rockville, Bryce Shriver from PPL gave a presentation on Safety

Management: An Integrated Approach. Among the key areas he touched upon

were “Work Management,” “Operational Decision Making,” “Design and

Licensing Basis Control,” and “Business Planning and Budgeting”.  He emphasized that PPL’s processes together with their “Independent Oversight” and “Culture” would produce “Safety Performance.”

This approach seemed to make sense as PPL prepared for relicensing and power uprates:

•  The Company has contracted with GE Energy to prepare for additional uprates, i.e., Susquehanna 2 (1994) and Susquehanna 1 (1995) had 4.5% bumps. The 200 MWe uprates are scheduled to be implemented in phases during several refueling outages.

• Susquehanna Steam Electric Station, Units 1 and 2 are currently preparing for

a license extension applications estimated to be somewhere from  July- September 2006.

What went wrong?

It appears PPL has poorly managed human and technical resources to complete projects.

Background:  PPL submitted a request for an exemption that would enable the plant to begin loading Framatome 9x9-2 spent fuel into the Nuhoms 61BT storage  system.

The Company is not presently authorized to store the fuel.

Statement of concern: This “precedent” (1) would bypasses normal review and

approval processes for cask loading and penalize plants like Peach Bottom that have followed the NRC’s procedures and protocol.

In my opinion, granting the exemption would weaken the NRC’s regulatory protocol

of firm, fair and consistent oversight.

Background: Normally, the NRC  reviews exemption requests for changes the staff  has already reviewed as part of an amendment to a cask certificate of compliance (COC).

Such exemptions allow the utility to begin cask-loading before NRC completes its rulemaking process to formalize the amendment is complete.

Statement of concern: However, Transnuclear has not yet submitted the

amendment request to make the change PPL needs. Any exemption would force the NRC to prematurely approve the cask to relieve a self-imposed economic hardship.

There is a reason the Agency prides itself on a rigorous oversight process.

PENNSYLVANIA PUBLIC UTILITY COMMISSION, A-00110550F014, OPINION

AND ORDER, “Thus, PPL states that the Recommended Decision failed to address the distinction between the use of the settlement as “binding precedent” and itsadmissibility as evidence in future proceedings...”

Background:  PPL claims the exemption is necessary because the plant will

lose full-core offload capability in December, 2006 when it receives and begins

to stage new fuel for Unit 2's 2007 refueling outage. Susquehanna had originally scheduled cask-loading to begin in October, 2006.

However, because of recent fuel channel performance problems at Unit 1, PPL

expects Unit 2 will have to undergo a mid-cycle maintenance outage  to  inspect

and replace any bowed fuel channels. That would limit space  available in the pool, requiring the plant to accelerate its loading plans.

Statement of concern: An exemption would reward poor planning (2) of a

utility that owns and operates one plant vs.  AmerGen and Exelon that own and

operate three plants in the state. (3)

Reactor                     Core Size                            Lose Full Core Off load Capability

Limerick 1                    764                                       2006

Limerick 2                   764                                        2006

Oyster Creek              560                                        LOST

Peach Bottom 2         764                                        2000

Peach Bottom 3         764                                        2001

Salem 1                        183                                        2012

Salem 2                        193                                        2018

Three Mile Island        177                                       NA

Station           Dry Cask Technology          Deployment Date          Contractor

Limerick                 BD                Summer 2010         TBD

Oyster Creek          NUHOMS 52B (4)    July, 2010            None

Peach Bottom        Trans-Nuclear TN-68    June, 2000            Raytheon

I am asking the NRC deny the exemption and preserve a fair and level regulatory playing field.

____

1    Please note that PPL opposed the merger of Come Ed and PECO based on

one principal: “precedent.”

2     Poor resource planning by a Company headed by a  systems manager, i.e.,

William F. Hecht, warrants an independent NRC evaluation, e.g., Augmented

Inspection Team.

3    PENNSYLVANIA PUBLIC UTILITY COMMISSION, PECO’s Response to Eric

Epstein’s Informal I-8.

4    Holtec has been chosen by AmerGen to provide dry cask services at Oyster Creek.

Feb. 28, 2006 -NRC examing TMI security

The U.S. Nuclear Regulatory Commission plans to investigate the management of the security force at Three Mile Island, focusing on fitness-for-duty issues such as fatigue and sleeping on the job.

The probe, announced in a certified letter delivered to a Patriot-News reporter, was prompted by a story published Jan. 29.

The story reported on a memo in which John Young, head of the Wackenhut security, scolded security supervisors for failing to note that veteran officers were telling new hires safe places to sleep undetected while on duty. Wackenhut is a private security firm hired by plant owner Exelon Nuclear to guard the nuclear station.

The memo also said officers were telling new hires ways to short-cut patrol duties.

Of additional concern to the NRC were reports that security officers were being allowed to work excessive hours. The newspaper documented one person who worked more than 150 hours during a 14-day period, and averaged more than 54 hours a week for more than 10 months.

Since March 2004, AmerGen Energy, the operator of TMI, investigated and disciplined five workers for "inattentiveness to duty." The phrase is used by the industry and regulators to cover an array of conditions, including sleeping. Three of those workers were security officers.

Guards, speaking on the condition of anonymity, said fatigue from long hours and boredom were to blame for the inattentiveness.

Guards work 12-hour shifts at TMI. Federal regulations limit those hours to 16 out of 24; 26 hours out of 48; and 72 out of seven days.

The agency said it will not announce the findings of the probe.

"Due to the nature of the security-related issues ... we are not providing you with further information on this matter," wrote David J. Vito, senior allegation coordinator for the NRC.

-Report by Garry Lenton of the Patriot-News

March 1, 2006- Drop-in inspections planned by state

Prompted by reports of sleeping or inattentive employees at Three Mile Island, the state said it will conduct surprise inspections at least twice a month at Pennsylvania's five nuclear power plants.

The first round of inspections last month found no instances of inattentiveness on the part of control roomoperators or plant security, Gov. Ed Rendell said yesterday.

The state Department of Environmental Protection will continue the inspections through the end of the year. Then the DEP will decide whether to continue the practice, said Ronald Ruman, a department spokesman.

The inspections came shortly after The Patriot-News reported on five cases of inattentiveness at TMI that occurred since March 2004.

Report by Garry Lenton of the Patriot-News

March 3, 2006 - Alert Declared at nuclear power plant in Luzerne County

Pennsylvania Emergency Management Director James R. Joseph announced that an ALERT was declared Wednesday night at the Susquehanna Steam Electric Station in Salem Township, Luzerne County. This action was necessary due to the activation of the fire suppression system in the Security Control Center.  Plant operations have not been impacted and the plant fire brigade is investigating.

“No one has been injured and there was no non-routine release of radioactive material,” said Joseph. “The plant continues at normal operation, but the ALERT could last several hours overnight.”

“An Alert is the second-lowest of four emergency classifications for nuclear power plants. It is declared when an event has occurred that could reduce the plant's level of safety, but backup plant systems still work,” said Joseph.

Preparedness for commercial nuclear power plants includes a system for notifying the public if a problem occurs at a plant. The emergency classification level of the problem is defined by four categories: Unusual Event, Alert, Site Area Emergency and General Emergency. Listed in order of increasing severity.

Pennsylvania Power Light, which operates the Susquehanna Steam Electric Station declared the ALERT at 9:27 p.m.

The State’s Emergency Operations Center (EOC) in Harrisburg was partially activated to monitor the situation. Representatives from the state Departments of Agriculture, Corrections, Education, Environmental Protection, General Services, Health, Public Welfare and Transportation, the Office of Administration, the Department of Military and Veterans Affairs, the Pennsylvania Turnpike Commission, the Pennsylvania State Police, the Fish and Boat Commission, the Public Utility Commission and the American Red Cross joined staff from PEMA in the EOC. At no time during the incident was there a need to issue protective action recommendations to the public.

-Report by the Daily Item, Sunbury, Pa.

April 11, 2006 - NRC grants Susquehanna exemption for spent fuel storage

NRC's Spent Fuel Project Office (SFPO) granted an exemption April 11 to PPL Susquehanna,  allowing the utility to load a previously unapproved fuel assembly design into Transnuclear  Inc.'s Nuhoms-61BT spent fuel storage system. NRC has exempted the plant from Part  72 requirements that a licensee use systems that NRC approved for use under a general  license.

The exemption will allow Susquehanna to start loading Framatome ANP 9x9-2 spent fuel  containing 79 full fuel rods and no partial fuel rods. The certificate of compliance  (COC) for the Nuhoms-61BT system currently allows the loading of GE 9x9-2 rods or  their equivalent with 66 full rods and eight partial rods. Susquehanna has committed  to loading fuel with maximum decay heat below 210 watts per assembly, lower than  the COC's 300-watt limit. The fuel parameters are generally bounded by the existing  COC.

PPL spokesman Joe Scopelliti said the plant will begin moving the spent fuel into  dry storage next month. Susquehanna will lose full-core offload capability in December  when it begins to stage fuel for Unit 2's refueling outage next spring. The start  date for the loading campaign had to be pushed forward from October 2006 because  of a possible outage this summer to inspect fuel channels and replace any that show  signs of bowing. The spent fuel pool will be needed to store any bowed channels that  are removed and must be cleaned out before that activity begins.

But NRC staff rejected PPL's suggestion that the exemption remain in effect until  either the completion of its planned 2008 loading campaign or 60 days after NRC grants  amendment 9 to the Nuhoms-61BT system, which would add the Framatome fuel to the  system's approved contents.

Instead, NRC limited the exemption to the loading of  the five casks that PPL said were needed to preserve full-core offload capability  through summer 2007. "The staff believes that the use of exemptions in regulatory  activities should be minimized," SFPO Deputy Director William Ruland said in an April  11 letter granting the exemption. He added that normal processes for amending COCs  should be followed "whenever possible." The NRC believes TN could submit a focused  amendment in the near term to allow the Framatome fuel to be added to the approved  contents, Ruland said. The cask vendor is scheduled to submit amendment 9 to NRC  this month.

In a separate letter April 12, Ruland notified TMI-Alert Chairman Eric Epstein that  NRC did not agree with his request to deny the exemption. Epstein asserted in a March 14 teleconference that granting the exemption "would reward poor planning," something  that he said "warrants an independent NRC evaluation."

Ruland emphasized that NRC regulations permit licensees to seek exemptions in special  circumstances, so long as the exemption "is authorized by law and would not endanger  life or property or the common defense and security and is otherwise in the public  interest." He said the limitation on the number of casks loaded under the exemption  should "enable PPL to avoid the need for further exemptions" for dry storage.

May 1, 2006 - Plant shuts due to leak

PPL Corp. shut the 1,140-megawatt Unit 2 at the Susquehanna nuclear power station in Pennsylvania on April 29 to repair a water leak, the company said in a release.

“The leak is minor – significantly less than the amount that would require us to shut down for repairs according to the plant’s operating procedures -- and it does not affect our ability to operate safely,” Robert Saccone, vice president of

Nuclear Operations for PPL Susquehanna, said in the release.

“We made the proactive decision to find and fix the leak now, so that we don’t run the risk of having to shut down the unit during the summer if the leak gets worse. In the summer months, the regional power grid, consumers and PPL count on Susquehanna to provide reliable power as electricity use increases,” Mr. Saccone added.

PPL said it planned additional maintenance in other areas of the plant during this short outage that will help maintain the reliability of the unit, which was in service for 322 consecutive days before this shutdown.

The unit was operating at full power early Friday.

The 2,245 MW Susquehanna station is located in Berwick in Columbia County, about 125 miles northwest of Philadelphia.

There are two units at the station, the 1,135 MW unit 1 and the 1,140 MW unit 2.

-Report from NuclearFuel Volume 31 / Number 9 / April 24, 2006

Copyright Platts 2005 A Division of The McGraw-Hill Companies, Inc.,

All rights reserved. http://www.platts.com

June 15, 2006 - Monitoring system trips shutdown at Unit 1

At 3 a.m. on June 15, the Susquehanna Unit 1 reactor automatically "scrammed due to an apparent neutron monitoring trip while transferring Reactor Protection System power supplies," company documents stated.

A "scram" means a shutdown in nuclear industry lingo.

"All rods [fully] inserted, and both reactor recirculation pumps tripped," according to the report, which explained, reactor water level lowered to -38" causing level 3 (+13") and level 2 (-38")isolations, and was restored to normal level (+35") ... and subsequently the feedwater system. All isolations at this level occurred as expected. No steam relief valves opened. Pressure was controlled via turbine bypass valve operation. All safety systems operated as expected."

A reactor recirculation pump was restarted to re-establish forced core circulation. The reactor is currently stable in condition 3. An investigation into the cause of the shutdown is underway. Unit 2 continued power operation, according to the report.

The NRC resident inspectors were notified, the company stated.

-Report by Marlene Lang

Sept. 6, 2006- Shipment to plant had radiation reading at 4 times allowed level

A container shipped from Vermont Yankee on Aug. 31 ended up at its destination later that night with radiation readings four times higher than those allowable under federal law, according to a report filed Sept. 1 with the Nuclear Regulatory Commission (NRC).

The shipment, a box measuring 6x7x8 feet containing a machine used to configure fuel rods in the power plant's spent fuel pool, registered no more than 60 millirem per hour before it left Vermont, according to Vermont Yankee (VY) records. That level is well below the federal Department of Transportation's (DOT) 200 millirem hourly contact exposure limit.

However, when it arrived at the Susquehanna reactor in Berwick, Pa., the bottom of the container registered 820 millirem per hour, more than four times the DOT limit.

The container was shipped on a flatbed truck by a private contractor  Hittman Transport Services of Barnwell, SC. As of Tuesday the container remained closed in a controlled area at the Susquehanna plant, while inspectors made special preparations before opening it, according to NRC spokesman Neil Sheehan.

He said they planned to open the container Wednesday.

En route to its destination, the truck stopped at rest stops on the westbound side of the Massachusetts Turnpike and on southbound Interstate 87 after existing Interstate 90, according to an incident report filed by Susquehanna officials, who were required to make a report to the NRC because of the high radiation recording.

No one to the knowledge of the driver came in contact with the shipment, the report states. The truck arrived at Susquehanna at 8:45 p.m. and the driver, who was wearing a radiation detection monitor, slept in the vehicle. Sheehan said the driver's dosimeter showed readings well within acceptable levels.

A spokeswoman for the trucking company said she had no knowledge of the incident.

According to the NRC report, the shipment was formally received at the Susquehanna facility at 8:05 a.m. the next morning. The high reading was recorded at 11:15 a.m., and Susquehanna officials notified the NRC at 12:15 p.m.

According to the report, the shipment showed no signs of surface contamination, and it exceeded the dose rate limit only on the bottom of the container once it was lifted off the truck.˛"Doses under the trailer prior to lifting the shipment did not exceed the limit," the report states.

Unless someone got right up under it, the probability that someone would have received any kind of exposure from that configuration is low, said NRC Region I deputy administrator Mark Depas.

VY spokesman Rob Williams also emphasized that point: Despite the unexplained high radiation levels, the shipment represented no threat to public health and safety in transit because the radioactive side was against the bed of the truck, which provided additional protection, he said.˛

At no time during the shipment was there any additional exposure to anyone because the flatbed truck provided adequate shielding, Williams said. "In fact, the radiation level in question was detected only at the bottom of the package, and only after it was lifted off the flatbed, so this had no impact on public health and safety."

Vermont Yankee is responsible for shipments while in transit, Williams noted. Two experts from VY's radiological shipping group had left for Pennsylvania to determine what may have caused the increase, he said Tuesday.

"We've reviewed our radiological survey and confirmed that the package left here in compliance," Williams noted.

Sheehan speculated the increase might have been due to the machine shifting during transit, resulting in a part with higher contamination levels closer to the bottom of the box. Or, he said, a piece of debris from the VY spent fuel pool could still have been attached to it.

The tool is what Sheehan called a cutter-shearer machine that crushes control rods in order to ship them more easily. Control rods are used to separate spent fuel rods in a fuel pool. They are inserted between the fuel rods in crucifix form, with a centerpiece and four blades inserted between the fuel bundles to stop the fusion process, Sheehan said.

He said reactor operators periodically install new control rods during cleanup of their spent fuel pools.

Anti-nuclear activist Ray Shadis, technical advisor to the Brattleboro-based New England Coalition, speculated that the discrepancy in radiation readings could have been due to inaccurate VY detection equipment.

What is serious is the possibility that VY radiation detection was off by a whopping factor of four and/or the probability that the contents of the package leaked and/or became more exposed as shielding shifted or settled, Shadis said in an e-mail to the Vermont Guardian.

At 820 millirem/hour, a person exposed to the hottest part of the container could have, in one hour, received eight times the annual dose allowed by the NRC, or their annual allowable dose in less than eight minutes, Shadis noted.

Unlike the DOT, the NRC does not set a contact exposure ceiling, but the agency limits exposure for members of the public to 100 millirem annually.

"This is just a real sloppy performance," Shadis continued. "Let's hope it is an exception and not the standard.

-Report by Kathryn Casa of the Vermont Guardian

Sept. 6, 2006

High radiation reading receives "White" violation rating

A shipment from the Vermont Yankee nuclear plant that was giving off more than four times the allowable level of radioactivity posed a "low to moderate" safety risk to the public, federal regulators said Tuesday.

The Nuclear Regulatory Commission issued a preliminary "white" finding about the August shipment of a device designed to crush and cut reactor control rods from the plant site in Vernon to Salem Township, Pa.

The NRC uses a color-coded system to denote safety risks, with "green" indicating a very low risk, "white" low to moderate, "yellow" substantial and "red" high, said agency spokeswoman Diane Screnci.

In a letter dated Tuesday to Vermont Yankee, the NRC said its finding was preliminary and that it had not yet made a final determination of what enforcement action might be taken.

Screnci said she doubted the plant would be fined, but said it would get some stepped-up scrutiny.

- Associated Press report. All rights reserved.

Nov. 8, 2006 - Nuclear regulators slapped Vermont Yankee with a safety violation Tuesday, after determining plant owners failed to take the highest level of

precaution when they shipped radiation-exposed equipment.

Two months ago a piece of equipment was sent from Vermont Yankee

in a shielded container on a flatbed truck to a nuclear power

plant in Pennsylvania. When it arrived, the freight's radiation

level measured at four times the allowable level.

Entergy Nuclear received a "white" inspection finding from the

Nuclear Regulatory Commission, the second lowest of the four

levels of findings. That means the radioactivity posed a "low to

moderate" safety risk to the public, according to Neil Sheehan,

spokesman for the NRC.

The equipment Entergy was sending to the Susquehanna nuclear

power plant was a control rod crusher and shearer, owned by a

separate vendor. In Pennsylvania, inspectors found a "sliver of

metal" of high radioactivity and two small "hot particles" fell

from the top of the crusher to the bottom, Sheehan said. That

kind of disturbance in the equipment, when in transit, is not

uncommon, he said.

A white inspection finding from the NRC triggers an increased

oversight at Vermont Yankee. For the next four quarters, federal

inspectors will have an enhanced role in reviewing how Entergy

decontaminates and prepares freight before it leaves the Vernon

campus.

But first Entergy has 10 days to file an appeal with the NRC,

challenging the finding. For now, the NRC is still calling the

white finding "preliminary," and has not said for sure what

enforcement action will be taken.

Efforts to reach Entergy officials Tuesday were unsuccessful.

This is the first time in two years Vermont Yankee has received

a white inspection finding. The plant hasn't gotten anything

higher than a "green" inspection finding for the last two years,

the lowest finding. In 2004, the NRC gave the plant a white

finding for its distribution, or insufficient distribution, of

tone alert radios.

The NRC uses a color-coded system to denote safety risks, with

"green" indicating a very low risk, "white" low to moderate,

"yellow" substantial and "red" high.

Reporty by Kristi Ceccarossi of the Reformer, New England Newspapers

Dec. 18, 2006 - Sirens mistakenly sound at nuclear power plant

Emergency sires near PPL’s Susquehanna nuclear power

plant went off around 11 this morning, but company

officials said it was part of a test and not an actual emergency.

“We conduct silent tests of the siren system every two weeks,”

said Lou Ramos, spokesman for the plant. “During a scheduled

test this morning, the sirens mistakenly received a signal to

sound, rather than a signal for a silent test. We apologize for

any anxiety that this may have caused among area residents.”

The sirens can be sounded by PPL Susquehanna or by emergency

management agencies in Luzerne or Columbia counties.

“The sires that sounded today were part of the old siren system,

which PPL Susquehanna is in the process of replacing,” Mr. Ramos

said. “We will conduct a full-scale test of the newly installed

siren system tomorrow.”

Emergency sirens around the plant are in place to notify the

public to tune into emergency broadcast stations on television

or radio in the event of an emergency at the nuclear plant or in

the community.

-Report by The Daily Item Publishing Company

Dec. 20, 2006- NRC Finalizes White Finding for Vermont Yankee Nuclear Plant over Shipment of Radioactively Contaminated Equipment

The Vermont Yankee nuclear power plant will receive additional

oversight from the Nuclear Regulatory Commission based on a

violation involving a shipment of radioactively contaminated

equipment. The violation, which has now been finalized, stems

from a shipment that went from Vermont Yankee to a Pennsylvania

nuclear power plant last summer.

The NRC uses a color-coded system to categorize inspection

findings. They range from green, for a very low safety issue, to

red, for a highly significant safety issue. In this case, the

Vermont Yankee violation has been determined to be white, which

signifies the issue is of low to moderate safety significance.

The finding is based on an inspection the NRC carried out from

Sept. 6 through Oct. 6, 2006.

On Aug. 31, 2006, Vermont Yankee, which is located in Vernon,

Vt., and operated by Entergy, prepared and shipped a package

containing a radioactively contaminated control rod

crusher/shearer to the Susquehanna nuclear power plant, in Salem

Township, Pa. U.S. Department of Transportation (DOT)

requirements apply to such shipments. DOT requires that this

type of shipment be prepared so the radiation level on any

external surface of the package not exceed 200 millirems per

hour.

However, upon arrival at the Susquehanna plant on Sept. 1, 2006,

the radiation level at a location on the bottom exterior surface

of the package was measured at about 820 millirems per hour. It

was later determined that during transit, discrete highly

radioactive particles shifted to the bottom of the package,

resulting in the radiation levels in excess of the DOT limits.

It is important to note that no actual public radiation exposure

occurred during the shipment from Vermont to Pennsylvania

because the affected package surface was inaccessible to members

of the public.

The actual condition did not involve an exposure or hazard to

the public, but it had the potential to adversely affect

personnel who would normally receive the package or respond to

an incident involving the package since responders could have a

reasonable expectation that the package conformed with DOT

radiation limits, NRC Region I Administrator Samuel J. Collins

wrote to Entergy in a letter regarding the enforcement action.

In addition, it was fortuitous that the surface of the package

was inaccessible to the public during transport.

The company did not request a regulatory conference on this

matter but is required to respond to the violation within 30

days.

The NRC will conduct a supplemental inspection at a future date

to evaluate the companys corrective actions.

-NRC report

April 26, 2007- Work hours to be limited for some nuclear plant workers

Security workers and others in critical jobs at the nation's nuclear plants will no longer be allowed to log excessive overtime hours under new rules approved by the U.S. Nuclear Regulatory Commission.

The change in the NRC's "fitness for duty" requirements is meant to reduce fatigue among plant employees and improve safety and security.

Exelon Nuclear, owner of Three Mile Island, Peach Bottom and Limerick nuclear stations in Pennsylvania, and seven other plants nationwide, expects to increase security staffing to reduce overtime.

"Any area where you have 24/7 coverage is most likely to be impacted," said Craig Nesbit, a spokesman for the company.

The regulations, which should go into effect this year, end a policy that allowed plant operators to meet work-hour limits by averaging the hours of dozens of employees. The process allowed some employees to log hundreds of hours of overtime a month. The new rule bases hourly limits on individuals.

The work-hour limits apply to security, maintenance and operations staffers, such as control room operators.

The rule is common sense, said Dave Lochbaum, a nuclear safety expert with the Union of Concerned Scientists, a Washington, D.C.-based watchdog group.

"Groups don't get tired. People do," he said.

David Desaulniers, an NRC staffer who helped shepherd the rule change through a seven-year administrative review, said the revision will improve plant safety.

"I think that what the commission has approved will be a substantial step forward in addressing worker fatigue issues in the future," said Desaulniers, senior human factors analyst for the agency.

The shortcomings of group averaging were evident at TMI, where some security officers employed by Wackenhut Nuclear Services logged 72-hour weeks for six weeks straight last year.

In 2005, TMI officials cited three security workers for being inattentive or sleeping on the job. Each incident occurred during the night shift. Security officers contacted by The Patriot-News at the time said the incidents were not surprising given the overtime officers were being compelled to work.

The NRC rule, which must undergo review by the federal Office of Management and budget before it goes into effect, also:

• Increases the minimum break between shifts from eight hours to 10.

• Establishes training requirements for fatigue management.

• Limits the reasons plant operators may waive the hourly limits.

• Revises drug- and alcohol-testing requirements.

A veteran security officer at TMI employed by Wackenhut welcomed the changes. "It will definitely keep things from getting really bad again like they were in '02 and '03," said the officer, who spoke on the condition that he not be identified.

Another officer, also requesting anonymity, said the change would significantly reduce fatigue. But he remained skeptical of how much leeway employers would have to waive the rules under special circumstances.

Though the NRC establishes the regulations, it does not require plants to obtain agency approval before authorizing a worker to go over the limit.

Eric Epstein, chairman of the Harrisburg-based watchdog group Three Mile Island Alert, had similar concerns. "I believe the standards are contingent upon voluntary compliance," he said. "I see nothing that suggests there will be more aggressive oversight of a new fitness-for-duty program."

-Report by Garry Lenton of the Patriot-News

2007

PPL to seek license for new nuclear generator at Berwick

PPL Corp. announced on Wednesday it notified the U.S. Nuclear Regulatory Commission that it plans to apply for a license to construct and operate a third nuclear generator at its Susquehanna River plant near Berwick.

The Allentown-based company also filed a request for an interconnection study with PJM Interconnection, an organization that coordinates the movement of electricity throughout much of the mid-Atlantic region.

PPL is awaiting a license renewal for its two Salem Township nuclear generators, which supply about 25 percent of PPL’s total output, and company spokesman Dan McCarthy said a rejection of those renewals could have serious repercussions for the new license.

“If we didn’t get them, I don’t know that we would go ahead with building the third one,” he said.

The company is also considering expansions of hydro and coal plants, he said.

The letter of intent to the NRC lets the company hold a place in the processing line and retain the potential for federal production tax credits and federal loan guarantees, which expire for any application submitted after 2008, according to Jim Miller, PPL chairman, president and chief executive officer. The study request gives the new generator consideration in future regional power planning studies.

Miller said the construction would only go forward as a joint venture with another energy company, which hasn’t been chosen, according to McCarthy.

The $70-million cost of the licensing application wouldn’t be accounted for until the plant goes online, meaning the company doesn’t expect the expense, which would mostly be spent by the end of 2008, to affect earnings forecasts for current operations.

McCarthy said no specific timelines for construction or power generation exist. Studies of safety and environmental impacts have not yet been done.

Though he didn’t expect the 10-mile-radius emergency planning zone to increase with a third generator, McCarthy said there would be more nuclear material onsite.

Critics believe PPL needs to take care of its current site before moving on to new ventures.

“Rate payers are bailing PPL out for the initial boondoggle,” said Eric Epstein, chairman of TMI Alert, among membership in other organizations. “There’s just not enough water resources available to support another nuclear reactor.”

The plant already uses millions of gallons of water a day from the river, much of which evaporates through its cooling towers, he said, raising concerns that a third generator would seriously affect the downstream flows.

McCarthy said the company maintains a reservoir in New York that could be diverted into the river on low-flow days to compensate.

PPL has 30 generating sites in Pennsylvania, Connecticut, Maine, Illinois, Montana and Long Island, N.Y., but the Susquehanna site is the company’s only nuclear plant, McCarthy said. Coal plants produce about 55 percent of the company’s output, with generation from hydro, oil and natural gas producing the remaining 20 percent.

-Report by Rory Sweeney of the Times Leader

Aug. 2, 2007 - PPl reports earning jump, raises forecast

PPL Corp. reported second-quarter earnings of $345 million, a jump of more than 90 percent compared to the same period of 2006. Earnings per diluted share rose about 87 percent, to 88 cents.

Allentown-based PPL distributes and generates electricity in the midstate.

The earnings increase was driven by gains on the sale of a business in El Salvador, according to PPL. Excluding that and other special items, operating earnings rose by almost 19 percent, to 63 cents per share, according to the company.

PPL beat the average analyst estimate of 51 cents per share, according to Yahoo Finance.

PPL raised its forecast for full-year earnings from ongoing operations to $2.40 to $2.50 per share, up from $2.30 to $2.40 per share. -

-Report by David Dagan

Sept. 12, 2007- PPL fires and sues its siren installer

PPL Corp. has fired and sued the Boston company it hired to replace

the siren system around the Susquehanna nuclear power plant in Salem

Township.

PPL claims the siren vendor, Acoustic Technology, failed to deliver

on the contract because some of the 76 warning sirens it installed

in a 25-mile radius around the plant failed to sound during tests

earlier this year.

Attempts to reach Acoustic Technology were unsuccessful.

PPL's existing siren system, installed 25 years ago, continues to be

fully functional and in use until the company selects a new vendor.

The sirens are intended to alert the public to emergencies at the

plant or in the community.

- Report by David Falchek of the Citizens Voice

Sept. 19, 2007- PPL pays to settle dispute over water use at plant

Two electric utilities, PPL Corp. and Exelon Corp., have paid large sums of money to settle disputes with the Susquehanna River Basin Commission over the amount of water they use to operate their nuclear power plants.

PPL last week agreed to pay $500,000 to the commission to settle a claim that it did not get permission six years ago to increase the water it takes from the river.

Last December, Exelon Nuclear paid $640,000 to settle a similar claim related to its Peach Bottom plant in York County.

The commission controls water withdrawals within the Susquehanna River basin in Pennsylvania, New York and Maryland to ensure that adequate supplies are available to all users. Under its rules, companies like PPL and Exelon must seek the commission's approval for any change in processes that requires them to increase water usage by 100,000 gallons a day, said Susan Obleski, commission spokeswoman.

The commission contended that PPL exceeded that threshold in 2001.

PPL disagreed with the commission's finding, but it agreed to settle the dispute so it could proceed with a request to increase its water use from 47 million gallons to 66 million gallons a day, said Luis Ramos, a spokesman for the utility. The increase was approved by the commission last week.

With the increase, the company uses about six-tenths of 1 percent of the river's water supply, Ramos said.

The monetary settlements, though large by the commission's standards, are inadequate, said Eric Epstein, chairman of Three Mile Island Alert, a watchdog group that has challenged PPL's requests. The settlements fail to underscore the commission's message that water is a finite resource, he said.

"The New England Patriots paid more for stealing football signals than PPL was fined for stealing water from the river," Epstein said.

PPL will need the water if the U.S. Nuclear Regulatory Commission approves its request to increase the amount of electricity its two Susquehanna reactors produce by about 100 megawatts, Ramos said. If approved, the increase would allow the company to produce electricity sufficient to power about 60,000 additional households.

The two reactors produce enough electricity to power about 1 million homes.

As the demand for electricity increases, the commission anticipates that the demand from utilities for water will grow. PPL already has announced that it is considering adding a third nuclear reactor at its plant north of Allentown.

"Right now the basin is a hotbed for future power production," Obleski said. "We see that as a growing sector."

-Report by Garry Lenton of the Patriot-News

Jan. 24, 2008  - Refueling shipment exceeded radiation limit

A shipment to the Susquehanna nuclear plant arrived on Friday emitting radioactivity beyond the limit allowed by the federal Department of Transportation, the U.S. Nuclear Regulatory Commission announced on Tuesday.

“This did not impact the public,” NRC spokesman Neil Sheehan said. “Nevertheless, DOT sets these limits so the public is protected.”

He said it is “premature” to discuss potential enforcement actions.

The plant is jointly owned by PPL Corp. and Allegheny Electric Cooperative Inc.

The shipment, containing equipment to be used during an upcoming refueling and maintenance outage, was surveyed for radioactivity and passed before leaving North Carolina. A similar survey upon arrival found the underside of a box containing equipment used on the refueling floor emitted 350 millirems per hour, above the 200-millirems-per-hour exposure limit.

“The spot was in a place that was inaccessible to anyone,” PPL spokeswoman Nancy Bishop said. “When it left North Carolina, the measurements were below the limit. When it arrived here, the measurements were above the limit. What probably happened is that the components shifted in transit.”

The box was put into an onsite facility “designed and licensed to hold radioactive material,” she said, where it will stay until it’s needed for refueling.

The equipment was being shipped by GE Hitachi Nuclear Energy, which PPL hired to execute the refueling. The equipment can become radioactive, Bishop said, because “it can come in contact with various radioactive components when it’s on the refuel floor … during maintenance.”

- Report by Rory Sweeney of the Times Leader

Oct. 27, 2008- NRC Monitoring alert issued at Susquehanna plant

The Nuclear Regulatory Commission (NRC) is monitoring an Alert declared this afternoon at the Susquehanna 2 nuclear power plant in Salem Township (Luzerne County), Pa. An Alert is the second-lowest of four levels of emergency classification used by the NRC.

At 4:15 a.m. today, maintenance work was initiated on a water line that is part of a reactor safety system for the plant. That work involved the use of a “freeze seal” – that is, placing a device containing nitrogen over a section of piping so that the water inside the line can be frozen. Once frozen, the line can be isolated to allow maintenance to be performed on it.

PPL, the plant’s owner and operator, declared an Alert at 12:06 p.m.

-Report from Nuclear Regulatory Commission

Sept. 22, 2010 – Plant officials notify NRC of a non-emergency event. Plant says the Unit 2 high pressure coolant injection system was determined to be in operable due to a minor lube oil leak that could not be corrected immediately.

Nov. 12, 2010- The NRC issued its findings from an inspection of Units 1 and 2

for the third quarter ending Sept. 30, 2010. In its report, the NRC said it issued a

preliminary white finding (the second lowest in severity) based on a July 16,

2010, flooding event in the Unit 1 condenser bay. The flooding event also yielded

two non-cited violations. In addition, the NRC said two other non-cited violations

were found during the quarterly review.

The preliminary white violation stems from inadequate procedures in the

maintenance and operation of the main condenser water boxes and circulating

water system, the NRC said. This resulted in an internal flooding event on July

16, 2010, that resulted in 1 million gallons of water 12 feet deep in the Unit 1

main condenser bay. The flooding caused a shutdown of the reactor for about 20

days.

The cause and severity of the flooding was the improper installation of a gasket

and deficiencies that led to a delayed response in controlling the leak.

The NRC said, “It was determined that the leak initiated from the D main way

cover gasket being partially extruded under normal system operating

pressures,” the NRC said. “This was caused by an inadequate procedure to install

the main way gaskets upon completion of maintenance.”

In addition, the NRC said that D water box was mislabeled as B. “This led to

operators in the field misidentifying the water box that was leaking and the

operators in the control room selecting the wrong water box to isolate,” the NRC

report said.

Finally, the NRC said, it was determined that plant procedures “did not have

specific instructions on how to isolate a condenser water box leak. … No guidance

was provided to assist the operator in identifying the location and isolating leaks

associated with the water boxes.”

The NRC noted that plant operator PPL “did not adequately: 1) evaluate previous

circulating water system water box main way gasket leaks (April 2007 and

March 2008) to ensure that future occurrences could be prevented; and 2)

evaluate and correct a known issue in an off-normal procedure that complicated

the operator’s response to the event (November 2009.)”

The NRC said it issued a preliminary white finding of low to moderate safety

significance, and said a final determination would be announced within 90 days

of its Nov. 12, 2010, letter to the plant.

As offshoots from the July 16, 2010, incident, two non-cited violations were

issued of low safety significance.

One of them involved an inadequate procedure to transfer water from the

condenser area to a condensate storage tank berm. The NRC noted that the

procedure failed to include a maximum level at the storage tank berm that was

acceptable to limit interaction with other safety-related equipment.

The NRC said water was transferred to the berm to a level that caused water

intrusion into cable conduit and junction boxes of other equipment.

“Failure to have an adequate procedure for transferring water from the

condenser area to the berm to limit interactions with other safety-related

equipment is a performance deficiency which was reasonably within PPL’s

ability to foresee and correct,” the NRC report said. “The finding was not subject

to traditional enforcement because there were no actual consequences, it was not

willful, and did not impact the NRC’s ability to regulate.” The matter was

entered into PPL’s correction action program, and was treated as a non-cited

violation by the NRC.

Another non-cited violation ascertained after the July 16, 2010, flooding event

was the failure to accurately model the simulator for the reactor core isolation

cooling (RCIC) operation at reduced flow rates. Following the July 16, 2010,

incident, PPL identified that the RCIC system operation was unstable when

attempting to operate in automatic flow control with the flow control set below

the designed flow rate. “Simulator training conditioned the operators to expect

RCIC system operation to be stable at all selected flow rates when operated in

automatic,” the NRC said. “As a result, during an actual event, the operator

could misdiagnose the cause or means to correct unstable RCIC operation and

eliminate an injection system to the reactor pressure vessel unnecessarily.”

The NRC said PPL entered the matter into its correction action program.

Two other self-revealing non-cited violations were found. One involved an Aug.

10, 2010, incident in which operators discovered a Freon leak from the Unit 1

chiller. Because of the leak, an alert was issued, the second lowest of four

emergency classifications.

During the incident, PPL said it did not have installed or portable means to

determine Freon concentrations, the NRC said. “Without the ability to remotely

measure Freon concentrations or measure Freon concentrations using a portable

meter, PPL could not evaluate the atmospheres during a known Freon leak and

was forced to rely upon personnel showing exposure effects to declare this event,”

the NRC report said. ”Furthermore, PPL did not have the Freon measurement

capability to determine if respirators were required. Thus, PPL did not have two

of three methods for determining (what was) available to them for a known

hazard.”

PPL entered this matter into its corrective action program.

Another self-revealing non-cited violation involved simulator modeling for its

integrated control system. “Since the simulator model did not reflect actual

plant performance, the Susquehanna simulator introduced negative operator

training that affected the ability of the operator to take the appropriate and

timely actions during an actual event to prevent a plant scram (emergency

shutdown),” the NRC said. The NRC said this was of very low safety significance

and was treated as a non-cited violation because it was entered into PPL’s

corrective action program.

The NRC report also listed three violations of low safety significance.

Nov. 19, 2010 – The NRC issued a report on an inspection of Units 1 and 2 conducted from Sept. 13 to Oct. 8, 2010. The inspection centered on selected risk components and operator actions in both safety-related and non-safety related systems. The review included components such as pumps, breakers, heat exchangers, transformers, and valves.

In the report, the NRC said it found one item of very low safety significance that was treated as a non-cited violation.  The item involved the design, testing and operation of a 125-volt direct current battery charger circuit breaker.

According to the report, plant operator PPL “did not adequately evaluate the over-current trip setting test results” for a particular breaker “to ensure they were within the established acceptance limits, and subsequently placed the breaker in-service with an as-left trip setting outside of the approved acceptance band.” The breaker was returned to service on Feb. 8, 2010, the NRC said.

It added that other breakers were returned to service prior to that Feb. 8, 2010, date with setting values outside of acceptance levels. “The team identified that six of the 12 breakers reviewed had recorded as-found trip setting values outside of the acceptance range,” the report said. “PPL performed the six-year breaker preventive maintenance work only during plant outages, by replacing an installed breaker with one for which a preventive maintenance was recently completed, then placing the just-removed breaker into a spare status. Then, during the next outage, typically one to three years later, a

preventive maintenance is performed on the spare breaker and it is returned to service in a different load center location.” The NRC added that it noted that “there were several different trip setting values for the various direct current load center breakers.”

The NRC noted in its finding that a test program much be established to ensure that all testing performs satisfactorily and that test results are documented to make sure that test requirements have been satisfied. However, the NRC noted that between Jan. 16, 2008, and Oct. 8, 2010, PPL “did not adequate evaluate direct current circuit breaker test results to ensure that the test requirements had been satisfied.”

These issues were entered into PPL’s corrective action program.

On Nov. 16, 2010, the NRC issued a brief report on its evaluation of an Oct. 5, 2010, emergency preparedness exercise at the plant. No findings were identified.

May 31, 2011 – The NRC issued a determination stemming from a request originally submitted in January 2008 for information on the Berwick plant’s ability to manage gas accumulation at its facilities.

Based on the responses from PPL, the plant operator, the NRC said the licensee has “acceptably demonstrated” that gas accumulation “is maintained less than the amount that challenges operability of these systems, and that appropriate action is taken when conditions adverse to quality are identified.”

July 20, 2011 – The NRC issued a letter on the completion of its triennial (every three years) fire inspection of Units 1 and 2 at the plant.

Based on the inspection, two findings of very low safety significance were identified. The NRC said it would treat the findings as non-cited violations because they were entered into the plant’s corrective action program and they were of very low safety significance.

One of the violations involved the failure of plant operator PPL to adequately implement “a fire water supply system with two redundant 100 percent capacity fire water pumps and three sources of supply water.”

“Design flow rates could not be achieved and maintained by a single fire water pump for all required sprinkler systems,” the report said. “PPL performed an operability evaluation and determined the affected sprinkler systems were capable of performing their intended functions at lower flow rates and for a shorter duration than originally specified by plant design. In addition, the Unit 2 cooling tower basin was determined to be inoperable as a sole source of supply water for the fire water system.”

“From initial plant conduction until present,” the report added, “PPL failed to provide two redundant fire water pumps that could be supplied from any of three separate water sources.” The NRC said the issue was entered into PPL’s corrective action program.

The other finding involved the failure to implement all provisions of the approved fire protection program. “Specifically, PPL established acceptance criteria in the fire pump performance tests that were non-conservative compared to design basis requirements and the test acceptance criteria were insufficient to demonstrate that the fire pumps could provide sufficient pump pressure to satisfy required sprinkler system hydraulic needs.”

The report added, “PPL’s corrective actions program required fire protection deficiencies be identified and corrected. The team determined that PPL had not adequately implemented the required quality assurance criteria for fire pump testing, in that the combined tests did not demonstrate that pump performance conformed to design requirements or would perform satisfactorily in service.”

July 27, 2011 - The NRC staff issued a letter on its inspection of TMI for the quarter running from April through June 2011. The staff said no findings of significance were identified.

The report added that inspectors determined “that corrective actions to address configuration control performance deficiencies from the first half of 2010 and transient material control deficiencies from all of calendar year 2010 continued to be effective.” It added that the number of configuration control deficiencies identified in the first half of 2011 “were notably reduced from the first half of 2010.”

But the report noted that inspectors “identified several instances for which corrective action timelines was not commensurate with potential significance of degraded equipment conditions.” It added, “Station management acknowledged the issues, verified they were captured in the corrective action program, and initiated several significant station-wide actions to reemphasize worker performance fundamentals. The inspectors determined these correction actions were appropriate and observed improved worker fundamental performance through the end of June 2011.”

Aug.19, 2011 – The Unit 2 reactor of the nuclear power plant shut down automatically at 10:46 a.m. The unit was operating at full power at the time. The plant resumed generation of electricity on Aug. 23, 2011.

The shutdown occurred during scheduled equipment testing. A review by staff found a single-point wiring deficiency in the unit’s digital control system, the plant said.

Unit 1 was not affected by the events.

Sept. 1, 2011 –The NRC completed its mid-cycle performance of Susquehanna Units 1 and 2

The NRC determined that the performance of Unit 1 during the most recent quarter ending June 30, 2011, was within the “degraded cornerstone column” of its oversight process. This was due to one finding having low to moderate safety significance and one performance indicator having low to moderate safety significance.

The one finding related to an internal flooding event on July 16, 2010, that required a plant shutdown. The performance indicator involved unplanned shutdowns occurring in 2010 on April 22, May 14, and July 16, and on Jan. 25, 2011.

The NRC found that the performance of Unit 2 was within the licensee response column of the oversight process.

Nov. 8, 2011 – The NRC issued a severity level IV violation against the plant operator for failure to notify the NRC of the change in medical status of a licensed reactor operator. It was determined that the operator needed to wear eyeglasses as early as April 2009, but plant licensee PPL “did not inform the NRC or request an amended license” for the operator until August 2011.

“Therefore,” the NRC said, “the reactor operator performed license duties without an NRC-approved, amended license from April 2009 through August 2011, until the NRC identified the issue.”

The NRC noted that this is a “repetitive” issue. (See report dated Jan. 28, 2010, in which a senior reactor operator continued to conduct NRC-license activities after not meeting a specific medical prerequisite and there was no notification to NRC to ensure the person’s license was conditioned to require corrective lenses.) In that Jan. 28, 2010, report, the NRC noted that a civil penalty would not be proposed, but “significant violations in the future could result in a civil penalty.”

The latest NRC report does not mention any possible civil penalty for the level IV violation.

The violation was found during an examination for the third quarter from July through September 2011. In the report, the NRC also found a non-cited security level IV issue and two NRC-identified and one self-revealing finding, all of very low safety

significance. Additionally, the report said two PPL identified violations were determined to be of very low safety significance and were treated as non-cited violations.

The other level IV violation involved the recording of reactor coolant system leakage values under the performance indicators for Units 1 and 2.

“”PPL submitted inaccurate data for the affected performance indicators for Units 1 and 2 every quarter from April 2000 through its current submittal of June 2011,” the report said. “PPL’s failure to identify and correct the recurring errors over this period of time indicate the existence of a programmatic issue.”

Even though the data didn’t cross certain thresholds, “the inspectors concluded that PPL had reasonable opportunity to foresee and correct the inaccurate information prior to the information being submitted to the NRC,” the NRC report said. “The finding was not considered to be more significant since had this information been accurately reported, it would not have likely caused the NRC to reconsider a regulatory position or undertake a substantial further inquiry.”

The matter has been placed into PPL’s corrective action program.

Jan. 6, 2012 – The NRC issued a notice of violation to a senior reactor operator who failed to notify officials of the Susquehanna Steam Electric facility of a criminal violation filed against him by Indiana State Police prior to his return to work in July 2010.

The NRC said the senior operator had been issued a citation on July 10, 2010. The citation was for public indecency/indecent exposure, according to NRC records.

The senior operator did not report the legal action to his superior or any other PPL related official when he returned to work at the Berwick plant on July 18, 2010. He subsequently reported the legal action on July 21, 2010.

The senior reactor operator had unescorted access at the plant and was required by NRC regulations to promptly report legal actions issued to him by law enforcement agencies. The senior reactor operator was on vacation on July 10, 2010, and was scheduled to return to work on July 21, 2010. However, he reported back three days earlier to assist in a plant-flooding event, the NRC said.

The operator is no longer employed by PPL, the owner of the plant. He was issued a notice of violation, but no enforcement action is being taken against PPL, the NRC said.

May 2, 2012 – The NRC issued a report on the first quarter inspection of Units 1 and 2. The report listed three NRC-identified findings and one self-revealing finding of very low safety significances. Also listed were two licensee-identified violations determined to be of very low safety significance. All findings were treated as non-cited violations.

One NRC-identified issue involved plant licensee PPL’s safety-related motor operated valve program. The NRC noted that the program “lacked a procedure, qualification and prescribed acceptant criteria for actuator grease analysis and PPL improperly implemented maintenance instruction for lubricating valve stems.”

In the report, the NRC noted that “PPL did not have a procedure for qualitative motor operated valve grease analysis … there was a general lack of documentation of grease analyses associated with the grease sample work orders…(and) the current motor operated valve engineer and predecessor did not possess a qualification for grease analysis.”

The report added, “The lack of a procedure, repeatable acceptance criteria, qualification, and multiple cycles without stem lubrication could result in untimely actuator overhauls and ultimately motor operated valve degraded performance.”

The NRC also identified a problem in that “PPL did not have adequate instrumentation to assess and determine if an abnormal radiological effluent release was in progress such that the emergency action level classification process would declare an Alert accurately and in a timely manner.” The report noted that PPL had previously received two non-cited violations for inadequate instrumentation since 2008.

A third NRC identified issue involved written procedures for radiation work permits. The issue materialized when some workers attempted to transfer an 1100 Curie Cesium 137 source from a shipping cask on Dec. 5, 2011. During this project, the contractor directed the effluents technician to use additional tooling to provide more manual pressure to withdraw a shield plug. According to the report, the plug was withdrawn about three inches more than prescribed and the electronic dosimeters worn by the contractor and the effluents technician immediately went off, indicating high dose rates. The exposure rate was approximately three seconds before corrective actions took effect.

However, higher levels of PPL management was not informed of the incident until the source load operation had been successfully completed, the NRC report said. “Consequently, the required actions were not completed prior to restarting work and measures to prevent reoccurrence were not fully implemented,” the report said.

The self-revealing finding was identified “when a worker did not comply with a radiological barrier and protective measures for high radiation area entry.” On March 22, 2012, an effluents department employee was working in the Unit 1 turbine building when he tried to get a better view of a doorway for a future high-efficiency particulate air filter move, the report said. The worker leaned into a posted high radiation area during this process. The worker exited the area and it was determined the total dose was 1.5 millirem.

The PPL-identified issues involved transient combustibles being stored in a restricted area in the Unit 1 reactor building on Nov. 30, 2011, and the lack of preventative maintenance or replacement of the overspeed test controller at the electronic governor module of Unit 2’s high pressure coolant injection.

May 7, 2012 – The NRC issued a report dealing with a supplemental inspection at the Unit 1 reactor from Feb. 13 through March 2, 2012. The inspection stemmed from unplanned scrams (plant shutdowns) in 2010 and early 2011, and an internal flooding incident in the third quarter of 2010 that resulted in a white finding from the NRC of low to moderate safety significance.

In the report, the NRC said that plant licensee PPL “adequately addressed the unplanned scrams.” However, the report said the plant had not made “sufficient progress on the procedure quality upgrade project for the internal flooding event for the NRC to evaluate its effectiveness.”

The internal flooding event was previously discussed in NRC reports issued in Nov. 12, 2010, and Sept. 1, 2011. The incident occurred on July 16, 2010, resulting in 1 million gallons of water 12 feet deep in the Unit 1 main condenser bay The flooding caused a shutdown of the reactor for about 20 days. It was attributed to inadequate procedures in the maintenance and operation of the main condenser waterboxes and circulating water system.

The incident was part of the unplanned scrams affecting the plant. Others occurred on April 22 and May 14 of 2010, and Jan. 25, 2011.

The NRC report said PPL performed a comprehensive evaluation relating to the  scrams. “Two of the four unplanned scrams were caused by inadequate performance of maintenance, and the remaining two scrams occurred during the testing of a new Integrated Control System,” the report said.

In addition, the report said, PPL determined that the primary causes for the unplanned scrams were “less that adequate risk informed decision making; less than adequate problem identification and resolution, including use of the Corrective Action Process; operating experience and cause analysis; less than adequate procedure quality use and adherence; maintenance performance that was not adequate; and management oversight that provided less than adequate enforcement of standards and expectations.”

Regarding the July 16, 2010, flooding event, the NRC report noted PPL completed three root cause evaluations. “The inspectors determined that PPL failed to adequately address extent of condition and extent of cause for the white finding,” the NRC said. “The inspection team concluded that the corrective actions taken for extent of cause were narrow because torque checks of selected flanges of other plant equipment were not included … Consequently, the NRC was not able to effectively evaluate the robustness, adequacy and effectiveness of future actions to address extent of condition and extent of cause, including procedure quality improvements.”

As a result, the NRC said the white finding will remain open to verify that “the concerns of extent of condition and extent of cause of inadequate procedures used to torque gasketed flanges are appropriately assessed and that adequate corrective actions are identified and implemented; and to verify the effectiveness of the station’s procedure quality upgrade project.”

As part of the report, the NRC noted that inspectors “determined that the safety conscious work environment (at the pant) is not currently degraded. Interview comments indicated that the plant staff members are not deterred from reporting safety concerns using the condition reporting system. Plant staff members interviewed consistently express an awareness of the necessity of reporting safety concerns and frequently expressed their commitment to assuring that any reported safety concerns were clearly understood.”

June 19, 2012 – Operators at the Unit 1 reactor performed a planned shutdown to investigate the source of a minor water leak inside the containment structure.

A plant official said the leak does not affect the safety of the plant or the public. Unit 2 is continuing to operate at full power.

July 2, 2012 – Unit 1 at the Susquehanna power plant resumed generating electricity after repairs were made of a small water leak inside the containment structure surrounding the reactor.

Officials said a weld was repaired where the leak was found and they inspected similar equipment elsewhere to make sure there were no problems.

July 19, 2012 – The NRC completed a security inspection at Units 1 and 2 on June 15, 2012.

In a letter to the plant operators, the NRC said it identified two findings of very low security significance. “The deficiencies were promptly corrected or compensated for, and the plant was in compliance with applicable physical protection and security requirements within the scope of this inspection before the inspectors left the site,” the letter said.

Details of the findings were not released. The letter said the findings involved violations of NRC requirements.

Nov. 7, 2012 – Unit 1 at the Susquehanna Steam Electric Station resumed service after completing a turbine blade inspection. PPL, the plant owner, said the inspection found signs of cracking on a small number of turbines. The blades were replaced.

PPL also said it will shut down Unit 2 for a similar inspection in the near future.

Nov. 9, 2012 – Unit 2 at the Berwick area plant was shut down because a computer system controlling the reactor’s water level was not functioning properly.

Nov. 13, 2012 - The NRC issued a report on its third quarter inspection of Units 1 and 2 at the Susquehanna Steam Electric Station.

The report listed two NRC-identified findings and one self-revealing finding of very low safety significance.

The report also detailed a review conducted over the failure of an emergency diesel generator in December 2011., The NRC initiated an investigation at the start of 2012 to determine whether maintenance technicians and a quality control inspector “deliberately failed to property assemble delivery values on 15 fuel pumps.” As a result of the investigation, the inspectors determined that the diesel generator failure was the result of “improper planning and implementation of work instructions” and not due to deliberate  actions by the technicians and quality control inspector.

The NRC findings included a concern that PPL, the plant owner, “did not maintain adequate procedures to respond proactively to acts of nature.” Specifically, the NRC report said, PPL’s “adverse weather procedure did not ensure timely risk management activities for imminent adverse weather” despite advisories of a high wind watch and a tornado watch.

The National Weather Service had issued a high wind watch for Luzerne County from Sept. 17, 2012, through the evening of Sept. 18, 2012. A high wind advisory was issued on Sept. 19, 2102, and there also was a tornado watch for the county, the report said.

“The inspectors noted a number of items that could be potential missile hazards” such as “loose pieces of wood, loose wood blocks, wooden pallets, a wooden cable spool, stanchions, piping, piping flanges, a metal–frame door and pieces of sheet metal.” Despite the wind and tornado advisories, “the inspectors observed that not all of the items the inspectors had observed were noted by PPL nor were they all removed during the PPL walkdown.”

“The inspectors,” the report added, “concluded that, procedurally, PPL would not take anticipatory actions until there is a confirmed tornado and that tornado has probable impact on the station. This approach was determined to be inadequate given that the touchdown of a tornado with probable impact on the station did not allot sufficient time to take preventive measures or mitigating actions and that a proactive approach to acts of nature was warranted.”

The report said PPL entered this matter into its corrective action program.

The NRC’s second finding indicated that PPL did not implement risk management actions during maintenance as required by station procedures. This stemmed from various activities.

“During the months of July and August 2012, there were multiple instances of inadequate implementation of risk management actions while maintenance was conducted,” the report said. The NRC said the matter would be treated as a non-cited violation due to its low safety significance and because the finding was entered into PPL’s corrective action program.

The self-revealing finding involved inadequate troubleshooting measures that caused repeated inoperability of secondary containment. This stemmed from an April 13, 2012, incident in which load centers were affected. The loss of the load centers “impacted secondary containment in that both reactor building heating, ventilation and air conditioning (HVAC) Zone I equipment compartment exhaust fans tripped due to the loss of power.” This set off a cascade of events that rendered Unit 2 secondary containment inoperable and affected the Unit III supply fans.

After reviewing an evaluation of the problem, it was determined that “the troubleshooting plan was limited in scope due to the desire to limit interruption to refueling floor work and pose minimal risk to the operating unit’s Zone III HVAC,” the report said. “The troubleshooting did not identify all of the faulted heaters and PPL did not account for this by ensuring that system configuration at the time of the equipment’s restoration would not result in the subsequent loss of secondary containment or protected equipment.”

In a licensee-identified violation in the report, the NRC noted that PPL said a 10-meter wind direction instrument on its primary meteorological tower was inoperable on Sept. 27, 2011. However, the Nuclear Emergency Response Organzation was not notified of this problem. “From Sept. 27 through Sept. 30, 2011, PPL did not maintain an adequate method for accurately calculating dose projections and issuing publicly available records to offsite agencies,

The NRC said this matter was a green finding of low safety significance “since the capability for immediate dose projection existed via alternative meteorological towers.” The matter was entered into PPL’s corrective action program.

Nov. 19, 2012 – Unit 2 at the power plant resumed generating electricity after completing a turbine blade inspection and repairing a computer system that malfunctioned on Nov. 9. A previously announced turbine inspection revealed signs of cracking on a small number of blades. Those blades were replaced.

The computer system malfunction was caused by a failure of a processing unit that was replaced during the outage, PPL, the plant owner, said.

Nov. 20, 2012 - Unit 2 at the plant was shut down shortly after returning to service because of a hydraulic oil leak on a system that controls the flow of steam into the turbine, PPL said.

Nov. 29, 2012 - Unit 2 returned to service after repairs of the hydraulic system associated with the unit’s main turbine. PPL, the plant owner, said officials detected leaks in the system as part of a routine inspection during startup procedures while at very low power levels.

Dec. 14, 2012. The inspection focused on an evaluation of changes, tests or experiments, and permanent plant modifications.

No findings were identified in the inspection, the NRC said.

Dec. 14, 2012 – The NRC approved an exemption allowing the owner of the plant to postpone its biennial emergency preparedness exercise from Oct. 23, 2012, to Feb. 26,

2013.

Plant owner PPL requested the exemption due to an unplanned Unit 1 outage due to cracking experienced on some turbine blades (discussed in previous NRC reports).

Dec. 16, 2012 – Unit 2 at the nuclear power plant shut down automatically during routine testing of a valve on the unit’s main turbine system. Operators were investigating why the testing caused a shutdown.

Dec. 28, 2012 – Unit 2 at the nuclear power plant resumed generating electricity after its Dec. 16, 2012, shutdown.

Operators said an electrical connection problem caused the shutdown during a routine valve test. “An unrelated issue with the positioning of a valve on one of the unit’s main water pumps during start-up activities extended the out-of-service time,” plant owner PPL said.

Jan. 25, 2013 – The NRC issued a follow-up supplemental inspection report relating to a July 16, 2010, internal flooding incident at Unit 1 of the Susquehanna Steam Electric Station.

The NRC had issued two previous reports on the incident, one in late 2010 and another on May 7, 2012. The NRC had issued a white finding of low to moderate importance to safety.

The flooding incident, totaling 1 million gallons of water 12 feet deep in the main condenser bay, was one of four unplanned scrams (plant shutdowns) in 2010 and early 2011. In its May 2012 report, the NRC noted that plant owner PPL had not made sufficient progress stemming from the flooding incident.

NRC inspectors returned to the site in late November 2012 and “determined that PPL’s extent of condition reviews and progress on the procedure upgrade project were sufficient and appropriate to address the identified significant weakness as documented during the initial supplemental inspection report.” Because of this, the NRC determined the inspection objectives were satisfied and the white finding was closed.

“The inspectors determined there was adequate and reasonable progress accomplished on the procedure upgrade project since April 2012, especially when considering the number of potential distractions posed by planned and unplanned plant shutdowns,” the NRC report said. “Based on review of condition reports and personnel interviews, the inspectors determined PPL personnel have checked and adjusted the upgraded procedure progress based on initial implementation learnings and station personnel feedback,” the report added. “The inspectors concluded completed upgraded procedures are of good quality with positive station response.”

The flooding incident occurred when a manway gasket rolled out of position, the result of inadequate maintenance procedures. While PPL addressed the direct cause of the flooding incident, the NRC previously noted that PPL’s assessment was narrowly focused because the company “did not include a sampling of other gaskets that could have been similarly affected by inadequate maintenance procedures.” Those issues were satisfactorily addressed in the latest NRC report.

Feb. 13, 2013 – The NRC issued its report of a quarterly inspection for the last three months of 2012. In the report, the NRC observed three findings of very low safety significance and two Severity Level IV violations that were also viewed of very low safety significance and treated as non-cited violations.

In addition, the report detailed problems with timely notification and management oversight regarding medical conditions of licensee employees.

The non-Level IV violations involved a failure to timely notify some emergency agencies during a emergency preparedness drill; improper valuation of a stress fabrication factor that resulted in a weld failure in June 2012; and not properly classifying a functional failure of the Unit 2 125 Volt Direct Current system on Nov. 23, 2011.

The emergency drill occurred on Nov. 13, 2012. An unusual event was declared in the drill at 8:28 a.m. Attempts to contact the offsite response organizations - Pennsylvania Emergency Management Agency, Luzerne County Emergency Management Agency and Columbia County Emergency Management Agency - were initially unsuccessful because the “phone had no dial tone,” the NRC report said. Some connectivity was subsequently restored, but two of the three emergency response organizations were not notified within the 15 minutes as required after declaration of an unusual event. Moreover, the NRC observed the post-drill condition report made no mention that the two agencies were not notified within 15 minutes of the declared emergency or that “equipment performance or controller intervention potentially interfered with adequate observation of emergency response organization performance.”

The report added, plant licensee PPL “did not identify that timely notification was not made with two of the off-site response organizations as required by regulatory requirement and the (plant’s emergency plan). Additionally, PPL evaluated a performance indicator opportunity as a success despite drill controller action precluding satisfactory observation of emergency response organization performance.”

The NRC noted that PPL entered the drill critique deficiency into its corrective action program, and the matter was treated as a non-cited violation.

The weld failure involved a unexpected increase in the drywell leak rate and a shutdown of Unit 1 on June 19, 2012. The problem stemmed from improper stress calculations dating to 2004.

“From 2004 until June 19, 2012,” the NRC report said, “PPL failed to accurately translate design basis requirements to ensure Unit 1 reactor coolant system piping systems met American Society of Mechanical Engineers core requirement to pipe stress analysis calculations … due to using an incorrect stress intensification factor,” the report said. “The weld in question subsequently failed, resulting in pressure boundary leakage in excess of technical specification limits from June 16 to June 18, 2012.

The report said PPL acted to make repairs to the piping. The matter was treated as a non-cited violation because of its very low safety significance and because the finding was entered into PPL’s corrective action program.

The other low-level violation involved the failure of PPL staff to demonstrate that performance of the Unit 2 125 Volt Direct Current was being effectively controlled through appropriate preventive maintenance. “Specifically,” the report said, “PPL staff did not property classify a functional failure of the … system on Nov. 23, 2011, as maintenance preventable until prompted by questions from inspectors.” The issue also was treated as a non-cited violation.

Among the Security Level IV issues, NRC inspectors identified a failure of PPL to submit an event report dealing with electrical power monitoring associated with several Unit 1 reactor protection system breakers on May 8, 2012. The report is to be submitted within 60 days. The report said “PPL personnel had determined that the event was not reportable because it did not result in a loss of safety function or condition prohibited by plant technical specifications.”

But the NRC noted that plant licensees must submit an event report for “any event where a single cause or condition caused two independent training of channels to become inoperable in a single system designed to shut down the reactor within 60 days of discovering the event.” Despite this, PPL did not submit a report within the allotted time period. The NRC said it was treating the mater as a non-cited violation, and it was entered into PPL’s corrective action program.

The other Level IV violation involved a failure of PPL to notify authorities within eight hours of a valid actuation of the Unit 2 reactor protection system on Nov. 9, 2012. On that date, Unit 2 at the facility was manually scrammed (shut down) following a failure in the integrated control system and a subsequent lowering of reactor water level.

A few hours after this action, an automatic scram was generated. The NRC said PPL submitted a report within the required four hours of the original scram, but questioned whether PPL operators made a report within the required eight hours after the second scram.

The NRC said the issue was of very low safety significance, was not repetitive or willful, and was entered into PPL’s correction action program. It was treated as a non-cited violation.

The report also addressed other issues involving notification deficiencies at the plant. The report said PPL staff became an investigation in February 2012 “in response to a series of NRC findings from 2007 to present involving required NRC notifications not being made that affect license conditions of licensed operators.” As a result of the review, PPL submitted on July 20, 2012, 10 medical updates to the NRC, four of them permanent changes in medical conditions that were “not submitted in a timely manner as required.”

“Over a period of four years, a number of licensed operators developed potentially disqualifying medical conditions that were not property evaluated by PPL” in accordance with requirements, the report said. “In addition, during this same time frame, there were a number of cases (i.e., both historical and current) where PPL potentially failed to notify the NRC of a change in medical condition within 30 days” as required.

Based on the PPL review, the problems “appear to be associated with PPL’s failure to properly train and provide oversight for their medical review officer and the Berwick examining physician regarding compliance with the requirements,” the NRC report said. “The medical issues identified during this time frame appear to be related to a lack of knowledge and inadequate oversight.”

The report added, “The inspectors concluded that PPL’s failure to properly identify potentially disqualifying medical conditions resulted in failure to notify the NRC of these changes in medical conditions within 30 days, and in some cases may have affected the operator’s ability to comply with operator license conditions that should have been in effect while standing watch. This was a performance deficiency within PPL’s ability to foresee and correct and should have been prevented. The NRC has issued conditioned individual operator licensees which address the potentially disqualifying conditions for the operators.”

The NRC said this was an unresolved issue.

Feb. 25, 2013 – The NRC issued a report covering a two-week inspection completed on

March 4, 2013 - In an annual assessment letter for 2012, the NRC said it found that Unit 1 was within the regulatory response column of the NRC’s Reactor Oversight Process because of one finding having low to moderate safety significance that was related to an internal flooding event on July 16, 2010. Unit 1 began the assessment period in the Degraded Cornerstone Column due to this finding and due to unplanned shutdowns per 7,000 critical hours. On May 7, 2012, the NRC issued an interim response that closed the finding related to the unplanned scrams, or shutdowns. The other finding was closed in early 2013, moving Unit 1 to the licensee response column.

For Unit 2, the NRC determined during the most recent quarter that the plant was within the licensee response column because all inspection findings had very low safety significance.

The NRC also issued a concern over cross-cutting issues, and said this matter will remain open until PPL (the plant licensee) “has demonstrated sustainable performance improvement as evidenced by effective implementation of an appropriate corrective action plan that results in no safety significant findings and a notable reduction in the overall number of inspection findings with the same cross-cutting aspect.”

The NRC said this was the fourth consecutive assessment letter documenting “substantive” cross-cutting issues.

May 9, 2013 – Operators at the power plant disconnected Unit 1 from the regional power grid as part of a scheduled outage to install turbine modifications.

May 14, 2013 – The NRC issued a quarterly report for the first three months of 2013. In the report, the inspectors identified four findings of very low safety significance, and two severity level IV non-cited violations, one of them associated with one of the four findings.

The findings include plant licensee PPL’s incorrect implementation of the clearance process while returning the common off-gas recombiner to service after maintenance; PPL’s failure to accurately report unplanned scrams (plant shutdowns) with complications for the period of October 2012 through December 2012; storage of transient combustibles in restricted areas without evaluations by the site fire protection group; and failure of PPL to ensure that alarm response procedures for control room cooling fan train failures were adequate.

The first finding involved a Dec. 12, 2012, incident when operators incorrectly left a manual isolation valve in the closed position for the common recombiner. Discovery of this problem was made on Feb. 4-5, 2013, when plant staff observed a steam leak on the Unit 2 off-gas recombiner. Operators reduced power at Unit 2 to 64 percent due to this problem.

The second finding stemmed from a Dec. 16, 2012, reactor scram at Unit 2 during turbine control valve testing. Inspectors reviewed PPL’s reporting of the scram and determined that staff did not view the matter as “complicated” based on Nuclear Energy Institute standards. “This scram, when combined with a second complicated scram, which was accurately reported in the same quarter, caused the performance indicator to cross the green-white threshold,” the NRC said. (Green findings are the lowest, and white findings are the next lowest.) The finding also was determined to be a severity level IV violation that was treated as a non-cited violation because it was of very low safety significance, was not repetitive or willful, and was entered into PPL’s corrective action program.

The third finding involved storage of transient combustibles in restricted areas without an evaluation by site fire protection personnel. NCR inspectors found materials on Jan. 4, 2013, during a walkdown in the Unit 2 reactor building. During the walkdown, inspectors said an overhead crane and two trash cans were being stored in a restricted area. The crane and trash cans were relocated after PPL was notified. Other walkdowns uncovered improper storage of combustibles on Jan. 22, 2013 and March 14, 2013.

“PPL staff completed an apparent cause evaluation that determined there was not awareness of fire protection requirements and locations of restricted areas and that those requirements were not adequately or repeatedly stressed to plant personnel,” the NRC report said. “Based on this, inspectors determined that management and supervisory oversight was the most significant contributor to the performance issue.”

In the fourth finding, the NRC report said that “adequate instruction did not exist to align equipment in response to a tripped fan train condition and this, subsequently, resulted in the unexpected loss of both control room cooling trains during the implementation of the clearance order process,”

The other severity level IV non-cited violation involved PPL personnel making changes affecting Units 1 and 2 without obtaining a license amendment. The report said PPL approved changes to support raising the American Petroleum Institute gravity of ultra low sulfur diesel fuel oil deliveries. The NRC said such a change required a license amendment prior to implementation. “The inspectors noted the change to accept ultra low sulfur diesel with a higher specific gravity fuel oil had not yet been physically implemented because it had not been accepted for delivery prior to the inspector’s questions,’ the report said. The report added that PPL entered the matter into its corrective action program, and the issue was treated as a non-cited violation.

The report also listed two items of very low safety significance identified by PPL, the plant licensee.

June, 5, 2013 – Unit 2 at the Susquehanna nuclear power plant resumed operations following a refueling and maintenance outage.

Workers replaced about 40 percent of the Unit 2 reactor fuel during the outage, and inspected and replaced several pieces of the unit’s turbine assembly. In addition, crews replaced a 24-ton motor and pump that helps circulate coolant water through the reactor.

June 6, 2013 – The NRC issued a directive to 31 U.S. reactors to improve their systems for safely venting pressure from their containment building during potential accidents. Units 1 and 2 at the Berwick facility are affected by the directive.

June 14, 2013 – Unit 1 was returned to service after improvements were made addressing turbine issues

June 17, 2013 – The NRC issued a report on its inspection of issues relating to the proper licensing and notification procedures of some workers with medical conditions.

According to the report, the NRC said there were two apparent violations of NRC requirements. In addition, the NRC issued a green finding of very low safety significance due to failure to implement effective corrective actions.

The NRC report said one apparent violation found that four licensed operators developed disqualifying medical conditions that were not property evaluated by staff of PPL. Additionally, the report said PPL did not restrict the operators from performing licensed duties or obtain NRC approval to continue these duties by requesting conditional licenses. NRC inspectors also identified eight instances in which PPL failed to notify the NRC within 30 days after learning of changes in licensed operator medical conditions that involved performance disabilities or illness.

The second apparent violation stemmed from PPL’s “failure to provide information to the NRC regarding medical examinations of licensed operators that was complete and accurate in all material respects,” the NRC report said. “Specifically, PPL submitted three NRC licensed operator renewal applications and one initial license application, each of which certified the medical fitness of the applicants and that no restricting license conditions were necessary. However, the applicants, in fact, each had medical conditions that did not meet the minimum standards.”

The NRC report notes that since 2008, plant licensee PPL had been issued three severity level IV violations and one severity level III violation related to the medical qualifications of its licensed operators. Because of these prior violations, the NRC said PPL staff reviewed the medical records of all of its licensed operators and submitted 10 medical updates on July 20, 2012. “Four of the 10 updates involved permanent changes in medical conditions that had not been previously submitted within the required 30 days,” the NRC report said. “The other six submittals involved conditions that PPL initially stated were being provided to the NRC ‘for information only.’ However, the NRC independently identified … that three of these six ‘information only’ submittals actually involved operators with permanent changes in medical conditions. These medical conditions did not meet the minimum standards to conduct licensed activities and, therefore, the affected operators should have been removed from licensed activities, or conditions added to their licenses before being permitted to continue watch standing.”

In evaluating this problem, NRC determined that PPL had not provided adequate training for the medical review officer and examining physician at Berwick Hospital., “nor did the root cause assign corrective actions to address these issues.” The report noted that PPL staff assigned corrective actions to include training of the medical review officer and nurse. The training was completed in November 2012 for the medical review officer, and in December 2012 for the nurse.

July 21, 2013 – Operators disconnected Unit 1 at the power plant facility to repair one of four valves controlling the amount of steam going into the turbine. The unit was returned to service later the same day.

Aug. 14, 2013 – The NRC completed a quarterly inspection of Units 1 and 2 for the period ending June 30. In the report, the NRC identified three findings of very low safety significance. “Separately,” the report added, “a violation involving a failure to set secondary containment during operations with the potential to drain the reactor vessel was identified during the Unit 2 refueling outage from April 17 to May 7, 2013, and from May 10 to May 17, 2013.

One finding involved an inadequate operability determination for a synchroscope switch failure that rendered offsite power and four emergency diesel generators inoperable. This occurred early on May 7, 2013, resulting in all four emergency diesel generators and offsite power being inoperable from May 7 through May 10, 2013. The problem was placed in the plant’s corrective action program.

The second finding involved an issue with PPL, the plant owner, not adequately incorporating acceptance criteria for heatup rates during a plant startup of Unit 2 on May 28, 2013. “Heatup rate was assessed as high as 105-degrees Fahrenheit for two different periods during the plant startup,” the report said. “Approximately 15 hours later, following review of the data and technical specifications (TS) basis, PPL engineering concluded that the TS limit was exceeded.”

The NRC noted that during a plant startup in June 2012, inspectors questioned whether PPL was adequately incorporating the heatup rate limits as prescribed. PPL has placed the matter into its correction action program.

A third finding involved PPL staff allowing unacceptable preconditioning by performing corrective maintenance work on April 25, 2013, before recording time responses of the reactor protection system and other functions for the turbine control valve. “The failure to collect as-found data could result in the inability to verify the operability of (structures, systems and components),” the report said. “In this case, the test of the subject pressure switch had exhibited decreasing margin and inconsistent performance during its previous surveillance test.” The NRC report noted that procedures state that the “performance of maintenance activities prior to a surveillance test with the intent of ensuring favorable test results is unacceptable preconditioning.”

The other matter stemmed from actions from April 17 to May 17, 2013, when PPL performed operations with a potential for draining the reactor vessel without establishing a secondary containment. The NRC said it would issue no enforcement action for the violation.

Aug. 28, 2013 – The NRC decided not to impose a $70,000 fine against PPL Corp., owner of the Susquehanna nuclear power plants, despite identified violations regarding medical examinations and fitness of some workers. (See NRC report dated June 17, 2013.)

The NRC decided not to impose a fine because of corrective actions taken by PPL and because PPL had not been the subject of escalated enforcement action within the last two years.

Sept. 24, 2013 – Operators reconnected Unit 2 to the regional power grid after completing an inspection of turbines. Workers replaced a small number of turbine blades and performed other minor repairs.

Nov. 5, 2013 – The NRC updated its assessment of Unit 2 after completion of a quarterly review. The assessment related to unplanned scrams (shutdowns) at the facility.

The NRC said the third quarter review of Unit 2 “determined that the ‘unplanned scrams with complications’ performance indicator remained White” and that the unplanned scrams were greater that three per 7,000 critical hours over a four-quarter period.

The NRC noted that Unit 2 had unplanned scrams on Nov. 9, Dec. 16, and Dec. 19 in 2012, and Sept. 14, 2013.

Feb. 14, 2014 - The NRC issued a report of its quarterly inspection of Units 1 and 2 for the period October through December 2013. In the report, the NRC found three findings of very low safety significance treated as non-cited violations. There also was a licensee-identified violation determined to be of very low safety significance.

One finding involved procedures that could complicate an internal flooding event. Specifically, the NRC said procedures from PPL, the plant operator, “directed operators to enter a flooded room to assess the extent and source of the flooding,” an action that could flood adjacent rooms. PPL entered the matter into its corrective action program.

The second finding was PPL’s failure to ensure that all testing needed to demonstrate the performance of various systems was “identified and performed in accordance with written test procedures.” Specifically, the NRC noted, PPL “did not ensure that secondary containment integrity was tested in all required configurations.”

The third finding involved PPL’s failure to have “temperature indication installed in some areas of the reactor building that are required to support assessment and determination of entry conditions into the fission product barrier emergency action levels.”

The report added, “During the course of questioning, it was determined that nine of the 21 areas listed do not have installed temperature indication. Therefore, there would be no installed instrumentation to declare the appropriate emergency action level for a break that was not isolated in those rooms.” PPL entered this matter into its corrective action program.

The PPL identified violation stemmed from improper authorization of hours for some senior reactor operators and reactor operators. Such personnel must perform a minimum of seven eight-hour shifts or five 12-hour shifts per calendar quarter to retain credentials. However, the NRC report said, PPL did not ensure that eight licensed senior reactor operators and two licensed reactor operators met those standards from April 1, 2010, to Dec. 31, 2013. “Specifically,” the NRC report said, “the operators stood watch as members of a reactivity management team, which is not a credited shift crew position. These watches were incorrectly credited toward meeting their minimum required quarterly proficiency requirements.”

The operators have been re-certified, and the plant revised its procedures “to identify the shift positions that are creditable for proficiency,” the NRC report said.

The NRC said the issue matches a severity level III violation in its performance policy. “However,” the report concluded, “after review of the responsibilities of the reactivity management team positions and that none of the operators were responsible for operational errors as a result of not standing the required number of proficiency watches and there were no other factors impacting their ability to hold a shift position, NRC management has determined this issue to be more appropriately evaluated as a severity level IV.”

Feb. 12, 2014 – A secondary containment boundary door was found propped ajar at Unit 1 at 7:11 a.m. The last record of access to the area in question was about 45 minutes after midnight, so the potential duration of the door ajar was around 6.5 hours.

Feb. 14, 2014 - The NRC issued a report of its quarterly inspection of Units 1 and 2 for the period October through December 2013. In the report, the NRC found three findings of very low safety significance treated as non-cited violations. There also was a licensee-identified violation determined to be of very low safety significance.

One finding involved procedures that could complicate an internal flooding event. Specifically, the NRC said procedures from PPL, the plant operator, “directed operators to enter a flooded room to assess the extent and source of the flooding,” an action that could flood adjacent rooms. PPL entered the matter into its corrective action program.

The second finding was PPL’s failure to ensure that all testing needed to demonstrate the performance of various systems was “identified and performed in accordance with written test procedures.” Specifically, the NRC noted, PPL “did not ensure that secondary containment integrity was tested in all required configurations.”

The third finding involved PPL’s failure to have “temperature indication installed in some areas of the reactor building that are required to support assessment and determination of entry conditions into the fission product barrier emergency action levels.”

The report added, “During the course of questioning, it was determined that nine of the 21 areas listed do not have installed temperature indication. Therefore, there would be no installed instrumentation to declare the appropriate emergency action level for a break that was not isolated in those rooms.” PPL entered this matter into its corrective action program.

The PPL identified violation stemmed from improper authorization of hours for some senior reactor operators and reactor operators. Such personnel must perform a minimum of seven eight-hour shifts or five 12-hour shifts per calendar quarter to retain credentials. However, the NRC report said, PPL did not ensure that eight licensed senior reactor operators and two licensed reactor operators met those standards from April 1, 2010, to Dec. 31, 2013. “Specifically,” the NRC report said, “the operators stood watch as members of a reactivity management team, which is not a credited shift crew position. These watches were incorrectly credited toward meeting their minimum required quarterly proficiency requirements.”

The operators have been re-certified, and the plant revised its procedures “to identify the shift positions that are creditable for proficiency,” the NRC report said.

The NRC said the issue matches a severity level III violation in its performance policy. “However,” the report concluded, “after review of the responsibilities of the reactivity management team positions and that none of the operators were responsible for operational errors as a result of not standing the required number of proficiency watches and there were no other factors impacting their ability to hold a shift position, NRC management has determined this issue to be more appropriately evaluated as a severity level IV.”

March 4, 2014 – The NRC issued its annual assessment of Units 1 and 2. It determined that Unit 1 “operated in a manner that preserved public health and safety and met all cornerstone objectives.” It also determined that Unit 1 was within the “Licensee Response Column” of its oversight process.

As for Unit 2, the NRC determined that performance during the most recent quarter was within the “Degraded Cornerstone Column” of its oversight process. That’s because there were two white performance indicators existing from events of unplanned scrams (shutdowns) in the fourth quarter of 2012 that moved Unit 2 from green (least severe) to white (more severe) category in terms of safety significance. While the plant licensee was showing progress in correcting the issue, Unit 2 “had an unplanned scram on Sept. 14, 2013, that resulted in crossing the green to white threshold…This performance indicator result, in conjunction with the earlier white performance indicator, moved Susquehanna Unit 2 to the degraded cornerstone column from the regulatory response column.”

The NRC also said it planned to conduct a public meeting with the plant operator “in which we will review station performance.”

The NRC added that it issued three severity level IV traditional enforcement violations associated with willfulness in 2013. The NRC said it would conduct inspection procedures to follow up on these violations.

June 25, 2014 – Operators began shutting down Unit 2 at the Susquehanna nuclear power plant to inspect the unit’s turbine blades.

Officials said data from the extensive vibration monitoring equipment installed on the turbine indicate that a few blades may have developed small cracks.

Newly designed blades were recently installed at Unit 1 of the nuclear power facility. If an evaluation determines that those blades work efficiently, then similar blades will be installed on the Unit 2 turbine during its next scheduled refueling outage in the spring of 2015, the company said.

July 5, 2014 – Operators reconnected the Unit 2 reactor to the electrical grid after a shutdown to inspect some turbine blades.

The company said plant personnel replaced a number of blades and performed other maintenance activities while the plant was in shutdown mode

Aug. 1, 2014 – The NRC issued a report after completing an inspection at Units 1 and 2. In the report, the NRC noted “there were several continuing weaknesses associated with the implementation of certain aspects of (plant operator) PPL’s corrective action program. Specifically, the inspectors determined that PPL did not consistently prioritize and evaluate issues commensurate with the safety significance of the identified problem:”

The report issued one notice of violation for a matter of very low safety significance, and it also reported three other findings of very low safety significance that were treated as non-cited violations.

The issue under citation found that “PPL did not follow and maintain a standard emergency classification and action level scheme. Specifically, PPL did not take timely corrective actions to provide an adequate means to measure temperature in nine out of 21 areas where reactor building temperatures are considered for the fission product barrier degradation emergency action levels.” The NRC said this failure dated back to October 2003.

“The lack of installed temperatures indication had the potential to impact declaration of all four emergency classifications; however, due to the redundancy within the fission product barrier matrix, the inspectors determined that it was reasonable that a general emergency would be declared in a timely manner. The inspectors determined that the lack of installed instrumentation could result in untimely declarations of a site area emergency, alert, or unusual event.”

NRC said it is citing this violation because PPL “has failed to restore compliance or demonstrate objective evidence of plans to restore compliance at the first opportunity and in a reasonable period of time following discussion in a formal exit meeting on Jan 24, 2014, and documented” in a NRC inspection report of Feb. 14, 2014.

The three non-cited violation are as follows:

- PPL’s “failure to take adequate corrective action for a condition adverse to quality involving the emergency service water and residual heat removal service water systems.” The NRC said PPL failed to take timely corrective action to address carbon steel pipe wall thinning. “PPL did not take timely and appropriate corrective actions to assess the corrosion, address wetting conditions, and perform an appropriate operability determination that included assessing the piping degradation rate and calculate the minimum wall thickness to ensure that structural integrity requirements were maintained, “ the NRC report said. The agency noted that PPL left the matter uncorrected from November 2010 to June 2014.

- PPL’s “failure to complete and document initial operability determination in a timely manner in accordance with station procedures.” From May 24, 2013, to June 6, 2014, the NRC said, “PPL failed to accomplish activities affecting quality in accordance with prescribed procedures.” These procedures, it said, require the completion of initial operability screening within eight hours or the end of work shift, whichever comes first.

- PPL’s failure to promptly correct an issue involved with the emergency service water supply lines. “Since April 30, 2009, the NRC said, “PPL had not established measures to assure a condition adverse to quality had been corrected. Specifically, PPL had not taken measures to eliminate pipe vibration and water hammer that are causing fatigue stress in the emergency service water supply lines” to various pump motor oil coolers

Aug. 13, 2014 – The NRC issued a report of its inspection for the three-month period ending June 30, 2014. In the report, the NRC identified one non-cited violation, and noted that plant operator PPL found a violation of very low safety significance.

The NRC finding involved PPL’s failure to implement timely actions “to address the extent of a previously identified inoperable condition.”  .

The PPL finding involved a failure to control the concentration of airborne radioactive materials during weld preparation on reactor water cleanup piping on April 27, 2014. “A radiation protection technician monitoring a continuous air monitor noticed increasing airborne radioactivity and subsequently stopped the work,” the NRC report said. “This failure to use, to the extent practicable, process or engineering controls led to a worker receiving an unplanned, unintended uptake of approximately 11 millirem.” The violation was entered into PPL’s corrective action plan.

Sept. 6, 2014 – Operators at the plant disconnected Unit 2 from the power grid to inspect its turbine blades. Data showed that a few of the blades may have developed small cracks.

Sept. 15 – The Unit 2 reactor was reconnected to the electrical grid. During the shutdown (see Sept. 6, 2014), workers replaced one row of blades, although only a small number were found to have indications of cracking. PPL has already installed newly designed blades at Unit 1, and similar blades are to be installed at Unit 2 during the next scheduled refueling in the spring of 2015.

June 22, 2015- NRC Finalizes ‘White’ Inspection Finding for Susquehanna Nuclear Plant, Resulting in Additional Oversight

The Nuclear Regulatory Commission will increase its level of oversight at the Susquehanna nuclear power plant, in Salem Township (Luzerne County), Pa., as a result of the finalization of a “white” (low to moderate safety significance) inspection finding and related violation in the area of emergency preparedness. NRC inspectors, during an in-depth review of plant drill scenarios, identified a concern with how plant personnel would determine the start of a 15-minute clock for emergency assessment and declaration for a scenario involving the potential loss of primary containment. (Both of the plant’s units have primary and secondary containments to prevent the release of radioactivity to the environment following an accident.) The inspectors found that Susquehanna’s interpretation of the 15-minute assessment and classification period degraded plant personnel’s ability to make a timely “Site Area Emergency” declaration in certain cases. (A Site Area Emergency is the third tier of the four levels of emergency classification used by the NRC.)

Specifically, the plant’s owner, Susquehanna Nuclear LLC, interpreted the requirements as having the 15-minute clock begin when operator actions were, or were expected to be, unsuccessful in halting reactor coolant system leakage rather than when indications of a leak’s onset are available to plant operators, signaling that an emergency action level has been exceeded.

“It’s important during an emergency situation that state, county and local officials are provided with information in a timely manner to assess the situation and implement protective actions, if warranted,” NRC Region I Administrator Dan Dorman said. “While the probability of an event of this magnitude is extremely low, this finding points to a weakness in that area that the company will need to address.” Prior to making a final enforcement decision, the NRC offered the company the opportunity to accept the finding without any formal response or provide additional information in a Regulatory Conference or in writing. The company submitted a written response dated May 15 in which it acknowledged the finding but stated that training and programs already in place prior to the finding would have ensured the impact of the issue would have been relatively minor.

The NRC considered the information but determined the finding was appropriately characterized as “white.” The finding also involved a violation of NRC requirements regarding maintaining an emergency plan that meets federal standards. The NRC, in response to the “white” finding, will perform a supplemental inspection at the plant to ensure the company has completed a thorough root-cause evaluation of the issue and put in place effective corrective actions. Subsequent to the issuance of the preliminary “white” finding, the Susquehanna emergency action level basis was revised to correct the declaration timeliness issue

May 1, 2018 - Letter dated May 1, 2018, the Nuclear Regulatory Commission issued a letter to Senior Vice President, Bryan Hanson of Exelon Generation Company with the subject of: Susquehanna Steam Electric Station – Integrated inspection report 05000387/2018001 and 5000388/2018001

On March 31, 2018, the U.S. Nuclear Regulatory Commission (NRC) completed an inspection at Susquehanna Steam Electric Station (SSES), Units 1 and 2. On April 13, 2018, the NRC inspectors discussed the results of this inspection with Derek Jones, Plant Manager, and other members of your staff. The results of this inspection are documented in the enclosed report.

No NRC-identified or self-revealing findings were identified during this inspection. NRC inspectors documented a licensee-identified violation which was determined to be of very low safety significance in this report. The NRC is treating this violation as a non-cited violation (NCV) consistent with Section 2.3.2.a of the Enforcement Policy.

If you contest the violation or significance of the NCV, you should provide a response within
30 days of the date of this inspection report, with the basis for your denial, to the U.S. Nuclear Regulatory Commission, ATTN: Document Control Desk, Washington, DC 20555-0001; with copies to the Regional Administrator, Region I; the Director, Office of Enforcement; and the NRC Resident Inspector at Susquehanna.

Inspection Report – inspection dates January 1, 2018 to March 31, 2018

- Condition Prohibited by Technical Specifications Due to a Loose Terminal Block Associated with Primary Containment Isolation Valves

- Loss of Secondary Containment Zone 3 Due to Fan Trip

Licensee Identified Non-Cited Violation

- Violation: Susquehanna Unit 1 TS section 5.4.1 requires that “written procedures shall be implemented covering the applicable procedures recommended in Regulatory Guide 1.33, Revision 2, Appendix A, February 1978.” Susquehanna’s implementing instruction NDAP-QA- 0503, General Housekeeping, Transient Material and Internal Cleanliness, Revision 45 implements aspects of the Regulatory Guide administrative procedures requirements. NDAP- QA-0503 section 6.1.5.h requires, in part, that “transient equipment shall be located such that it will not impact safety related equipment during a seismic event. Locate all items at a distance greater than the height of the item from safety related equipment.” Additionally, TS 3.5.1 Action Statement I directs immediate entry into Limiting Condition for Operation (LCO) 3.0.3 if one core spray subsystem is inoperable with one low pressure coolant injection (LPCI) subsystem inoperable. LCO 3.0.3 requires action to be taken within 1 hour to place the unit in MODE 2 within 7 hours and MODE 3 within 13 hours.

  - Contrary to the above, from December 1, 2017 to December 3, 2017, Susquehanna staged a 540 pound, ten foot long replacement pipe on 34 inch high stands within 34 inches of the safety related Unit 1, “B” Core Spray room cooler. Susquehanna concluded that the room cooler was inoperable because the pipe could have reasonably contacted and damaged the flexible conduit for the power cable to the room cooler during a seismic event. Additionally, from 7:48 a.m. on December 2, 2017 to 1:35 p.m. on December 3, 2017, maintenance was performed on the Unit 1, division 2 LPCI swing bus motor generator which rendered the division 2 LPCI system inoperable. During this time, Susquehanna did not perform the required actions of LCO 3.0.3 and remained in MODE 1.

  - Significance/Severity Level: This violation is of very low safety significance (Green), since this finding did not represent a loss of system, a loss of function of at least a single train for greater than its TS allowed outage time, or a loss of a non-TS train.

  - Corrective Action Reference(s): CR-2017-20227; CR-2018-01717; CR-2018-02250

May 15, 2018 - Letter dated May 15, 2018, the Nuclear Regulatory Commission issued a letter to Senior Vice President, Bryan Hanson of Exelon Generation Company with the subject of: Susquehanna Steam Electric Station, Units 1 and 2 information request for the cyber-security inspection notification to perform inspection 05000387/2018403 and 05000388/2018403

On October 15, 2018, the U.S. Nuclear Regulatory Commission (NRC) will begin a team inspection in accordance with Inspection Procedure (IP) 71130.10P “Cyber-Security,” issued May 15, 2017 at your Susquehanna Steam Electric Station, Units 1 and 2 (Susquehanna). The inspection will be performed to evaluate and verify your ability to meet full implementation requirements of the NRC’s Cyber-Security Rule, Title 10, Code of Federal Regulations (CFR), Part 73, Section 54, “Protection of Digital Computer and Communication Systems and Networks.” The onsite portion of the inspection will take place during the weeks of

October 15-19, 2018, and October 29 – November 2, 2018. Experience has shown that team inspections are extremely resource intensive, both for the NRC inspectors and the licensee staff. In order to minimize the inspection impact on the site and to ensure a productive inspection for both parties, we have enclosed a request for documents needed for the inspection. These documents have been divided into four groups.

The first group specifies information necessary to assist the inspection team in choosing the focus areas (i.e., “sample set”) to be inspected by the cyber security Inspection Procedure. This information should be made available via compact disc and delivered to the regional office no later than July 23, 2018. The inspection team will review this information and, by
August 20, 2018, will request the specific items that should be provided for review.

The second group of additional requested documents will assist the inspection team in the evaluation of the critical systems and critical digital assets (CSs/CDAs), defensive architecture, and the areas of your plant’s Cyber Security Program selected for the cyber security inspection. This information will be requested for review in the regional office prior to the inspection by September 17, 2018.

The third group of requested documents consists of those items that the inspection team will review, or need access to, during the inspection. Please have this information available by the first day of the onsite inspection, October 15, 2018.

The fourth group of information is necessary to aid the inspection team in tracking issues identified as a result of the inspection. It is requested that this information be provided to the lead inspector as the information is generated during the inspection. It is important that all of these documents are up to date and complete in order to minimize the number of additional documents requested during the preparation and/or the onsite portions of the inspection.

The lead inspector for this inspection is Jigar Patel. We understand that our regulatory contact for this inspection is Mr. Charlie Manges of your organization.

November 19, 2018 - Letter dated November 19, 2018, the Nuclear Regulatory Commission issued a letter to Senior Vice President, Bryan Hanson of Exelon Generation Company with the subject of: Susquehanna Steam Electric Station – Evaluated emergency preparedness exercise inspection report 05000387/2018501 and 05000388/2018501

On October 19, 2018, the U.S. Nuclear Regulatory Commission (NRC) completed an inspection at Susquehanna Steam Electric Station (SSES), Units 1 and 2. The NRC inspectors discussed the results of this inspection with you and members of your staff on October 30, 2018. The results of this inspection are documented in the enclosed report.

No NRC-identified or self-revealing findings were identified during this inspection. NRC inspectors documented one licensee-identified violation which was determined to be of very low safety significance in this report. The NRC is treating this violation as a non-cited violation (NCV) consistent with Section 2.3.2.a of the Enforcement Policy.

If you contest the violation or significance of the NCV, you should provide a response within
30 days of the date of this inspection report, with the basis for your denial, to the U.S. Nuclear Regulatory Commission, ATTN: Document Control Desk, Washington, DC 20555-0001; with copies to the Regional Administrator, Region I; the Director, Office of Enforcement; and the NRC Resident Inspector at SSES.

Inspection results – licensee identified non-cited violation

- Violation: 10 CFR 50.54(q)(2) requires, in part, that a licensee shall follow and maintain the effectiveness of an emergency plan that meets the requirements in Appendix E to this Part and, for nuclear power reactor licensees, the planning standards of §50.47(b). 10 CFR 50.47(b)(4) requires, in part, that a standard emergency classification and action level (EAL) scheme is in use by the licensee.

  - Contrary to the above, from December 2016 to the present, Susquehanna did not have sufficient guidance contained in procedures to assess the availability of the main condenser to support the containment barrier such that a site area emergency would be consistently declared in a timely manner upon loss of two fission product barriers.

  - Significance/Severity Level: The inspectors assessed the significance of the finding using Inspection Manual Chapter 0609, Appendix B. The inspectors determined that this finding was similar to the example in Table 5.4-1, Significance Examples §50.47(b)(4), which states “[a]n EAL has been rendered ineffective such that any Site Area Emergency would not be declared for a particular off-normal event, but because of other EALs, an appropriate declaration could be made in a degraded manner (e.g., delayed).” Thus, the inspectors determined that the finding was of very low safety significance (Green).

  - Corrective Action Reference: CR-2018-14650

January 3, 2019 - Letter dated January 3, 2019, the Nuclear Regulatory Commission issued a letter to Senior Vice President, Bryan Hanson of Exelon Generation Company with the subject of: Susquehanna Steam Electric Station, Units 1 and 2 – safety evaluation regarding implementation of hardened containment vents capable of operation under severe accident conditions related to order EA-13-109 (CAC Nos. MF4364 and MF4365; EPID No. L-2014-JLD-0055)

On June 6, 2013 (Agencywide Documents Access and Management System (ADAMS) Accession No. ML13143A334), the U.S. Nuclear Regulatory Commission (NRC) issued Order EA-13-109, "Order to Modify Licenses with Regard to Reliable Hardened Containment Vents Capable of Operation Under Severe Accident Conditions," to all Boiling Water Reactor licensees with Mark I and Mark II primary containments. The order requirements are provided in Attachment 2 to the order and are divided into two parts to allow for a phased approach to implementation. The order required each licensee to submit an Overall Integrated Plan (OIP) for review that describes how compliance with the requirements for both phases of Order EA- 13-109 would be achieved.

By letter dated June 26, 2014 (ADAMS Package Accession No. ML14178A619), Susquehanna Nuclear, LLC (the licensee) submitted its Phase 1 OIP for Susquehanna Steam Electric Station, Units 1 and 2 (SSES, Susquehanna) in response to Order EA-13-109. At 6-month intervals following the submittal of the Phase 1 OIP. the licensee submitted status reports on its progress in complying with Order EA-13-109 at Susquehanna, including the combined Phase 1 and Phase 2 OIP in its letter dated December 23, 2015 (ADAMS Accession No. ML15362A528). These status reports were required by the order, and are listed in the enclosed safety evaluation. By letters dated May 27, 2014 (ADAMS Accession No. ML14126A545), and August 10, 2017 (ADAMS Accession No. ML17220A328), the NRC notified all Boiling Water Reactor Mark I and Mark II licensees that the staff will be conducting audits of their implementation of Order EA-13-109 in accordance with NRC Office of Nuclear Reactor Regulation (NRR) Office Instruction LIC-111, "Regulatory Audits" (ADAMS Accession No. ML082900195). By letters dated April 1, 2015 (Phase 1) (ADAMS Accession No. ML15090A300), August 25, 2016 (Phase 2) (ADAMS Accession No. ML16231A509), and October 5, 2017 (ADAMS Accession No. ML17272A733), the NRC issued Interim Staff Evaluations (ISEs) and an audit report, respectively, on the licensee's progress. By letter dated June 26, 2018 (ADAMS Accession No. ML18179A221), the licensee reported that Susquehanna, Units 1 and 2 are in full compliance with the requirements of Order EA-13-109 and submitted a Final Integrated Plan (FIP) for Susquehanna, which was supplemented by letter dated November 27, 2018 (ADAMS Accession No. ML18332A263).

The enclosed safety evaluation provides the results of the NRC staff's review of Susquehanna's hardened containment vent design and water management strategy for Susquehanna. The intent of the safety evaluation is to inform Susquehanna on whether or not its integrated plans, if implemented as described, appear to adequately address the requirements of Order EA-13-109. The staff will evaluate implementation of the plans through inspection, using Temporary Instruction 2515-193, "Inspection of the Implementation of EA-13-109: Order Modifying Licenses with Regard to Reliable Hardened Containment Vents Capable of Operation Under Severe Accident Conditions" (ADAMS Accession No. ML17249A105). This inspection will be conducted in accordance with the NRC's inspection schedule for the plant.

Safety Evaluation Introduction

The earthquake and tsunami at the Fukushima Dai-ichi nuclear power plant in March 2011 highlighted the possibility that extreme natural phenomena could challenge the prevention, mitigation and emergency preparedness defense-in-depth layers already in place in nuclear power plants in the United States. At Fukushima, limitations in time and unpredictable conditions associated with the accident significantly challenged attempts by the responders to preclude core damage and containment failure. During the events at Fukushima, the challenges faced by the operators were beyond any faced previously at a commercial nuclear reactor and beyond the anticipated design basis of the plants. The U.S. Nuclear Regulatory Commission (NRC) determined that additional requirements needed to be imposed at U.S. commercial power reactors to mitigate such beyond-design-basis external events (BDBEEs) during applicable severe accident conditions.

On June 6, 2013 [Reference 1], the NRC issued Order EA-13-109, "Order Modifying Licenses with Regard to Reliable Hardened Containment Vents Capable of Operation under Severe Accident Conditions". This order requires licensees to implement its requirements in two phases. In Phase 1, licensees of boiling-water reactors (BWRs) with Mark I and Mark II containments shall design and install a venting system that provides venting capability from the wetwell during severe accident conditions. In Phase 2, licensees of BWRs with Mark I and Mark II containments shall design and install a venting system that provides venting capability from the drywall under severe accident conditions, or, alternatively, those licensees shall develop and implement a reliable containment venting strategy that makes it unlikely that a licensee would need to vent from the containment drywall during severe accident conditions.

By letter dated June 26, 2014 [Reference 2], Susquehanna Nuclear, LLC (the licensee) submitted a Phase 1 Overall Integrated Plan (OIP) for Susquehanna Steam Electric Station, Units 1 and 2 (SSES, Susquehanna) in response to Order EA-13-109. By letters dated December 23, 2014 [Reference 3], June 23, 2015 [Reference 4], December 23, 2015 (which included the combined Phase 1 and Phase 2 OIP) [Reference 5], June 29, 2016 [Reference 6], December 19, 2016 [Reference 7], June 15, 2017 [Reference 8], and December 12, 2017 [Reference 9], the licensee submitted 6-month updates to its OIP. By letters dated May 27, 2014 [Reference 10], and August 10, 2017 [Reference 11], the NRC notified all BWR Mark I and Mark II licensees that the staff will be conducting audits of their implementation of Order EA-13-109 in accordance with NRG Office of Nuclear Reactor Regulation (NRR) Office Instruction LIC- 111, "Regulatory Audits" [Reference 12]. By letters dated April 1, 2015 (Phase 1) [Reference 13], August 25, 2016 (Phase 2) [Reference 14], and October 5, 2017 [Reference 15], the NRG issued Interim Staff Evaluations (ISEs) and an audit report, respectively, on the licensee's progress. By letter dated June 26, 2018 [Reference 16], the licensee reported that full compliance with the requirements of Order EA-13-109 was achieved and submitted its Final Integrated Plan (FIP), which was supplemented by letter dated November 27, 2018 [Reference 17].

Safety Evaluation Conclusion

In June 2014, the NRC staff started audits of the licensee's progress in complying with Order EA-13-109. The staff issued an ISE for implementation of Phase 1 requirements on April 1, 2015 [Reference 13], an ISE for implementation of Phase 2 requirements on August 25, 2016 [Reference 14], and an audit report on the licensee's responses to the ISE open items on October 5, 2017 [Reference 15]. The licensee reached its final compliance date on April 30, 2018 and has declared in letter dated June 26, 2018 [Reference 16] that Susquehanna Steam Electric Station, Units 1 and 2 are in compliance with the order.

Based on the evaluations above, the NRC staff concludes that the licensee has developed guidance that includes the safe operation of the HCVS design and a water management strategy that, if implemented appropriately, should adequately address the requirements of Order EA-13-1 09.

February 8, 2019 - Email dated February 8, 2019 from Jennifer Tobin, Project Manager, Office of Nuclear Reactor Regulation, US Nuclear Regulatory Commisson to Kevin Cimorelli with the subject of: Acceptance Review: Susquehanna Units 1 and 2 License Amendment Request for Emergency Service Water

Subject of Letter: SUSQUEHANNA STEAM ELECTRIC STATION, UNITS 1 AND 2 – ACCEPTANCE OF REQUESTED LICENSING ACTION RE: LICENSE AMENDMENT REQUEST TO REVISE EMERGENCY SERVICE WATER PIPING TECHNICAL SPECIFICATIONS DURING REPLACEMENT (EPID: L-2019-LLA-0004)

By letter dated January 9, 2019 (Agencywide Documents Access and Management System (ADAMS) Accession No. ML19009A431), Susquehanna Nuclear, LLC (the licensee) submitted a license amendment request (LAR) for Susquehanna Steam Electric Station (SSES), Units 1 and 2. The proposed LAR would allow temporary changes to TS 3. 7.1, "Residual Heat Removal Service Water (RHRSW) System and the Ultimate Heat Sink (UHS)," and TS 3.7.2,

"Emergency Service Water (ESW) System." Additionally, Susquehanna is proposing an administrative change to the TS Table of Contents (TOC). The proposed amendment would permit one division of the ESW and RHRSW systems to be inoperable for a total of 14 days to address piping degradation. The proposed amendment would also remove the TOC from the TS and place it under licensee control.

The purpose of this e-mail is to provide the results of the U.S. Nuclear Regulatory Commission (NRC) staff’s acceptance review of this amendment request. The acceptance review was performed to determine if there is sufficient technical information in scope and depth to allow the NRC staff to complete its detailed technical review. The acceptance review is also intended to identify whether the application has any readily apparent information insufficiencies in its characterization of the regulatory requirements or the licensing basis of the plant.

Consistent with Section 50.90 of Title 10 of the Code of Federal Regulations (10 CFR), an amendment to the license (including the TSs) must fully describe the changes requested, and following as far as applicable, the form prescribed for original applications. Section 50.34 of 10 CFR addresses the content of technical information required. This section stipulates that the submittal address the design and operating characteristics, unusual or novel design features, and principal safety considerations.

The NRC staff has reviewed your application and concluded that it does provide technical information in sufficient detail to enable the NRC staff to complete its detailed technical review and make an independent assessment regarding the acceptability of the proposed amendment request in terms of regulatory requirements and the protection of public health and safety and the environment. Given the lesser scope and depth of the acceptance review as compared to the detailed technical review, there may be instances in which issues that impact the NRC staff’s ability to complete the detailed technical review are identified despite completion of an adequate acceptance review. You will be advised of any further information needed to support the NRC staff’s detailed technical review by separate correspondence.

Based on the information provided in your submittal, the NRC staff has estimated that this

licensing request will take approximately 424 hours to complete. The NRC staff expects to complete this review in approximately 9 months, which is October 2019. If there are emergent complexities or challenges in our review that would cause changes to the initial forecasted completion date or significant changes in the forecasted hours, the reasons for the changes, along with the new estimates, will be communicated during the routine interactions with the assigned project manager.

These estimates are based on the NRC staff’s initial review of the application and they could change, due to several factors including requests for additional information, unanticipated addition of scope to the review, and review by NRC advisory committees or hearing-related activities.

March 4, 2019 – Letter dated March 4, 2019 from Jonathan E. Greives, Chief Reactor Projects Branch 4 Division of Reactor Projects to Brad Berryman President and Chief Nuclear Officer Susquehanna Nuclear with a subject of ANNUAL ASSESSMENT LETTER FOR SUSQUEHANNA STEAM ELECTRIC STATION, UNITS 1 AND 2 (REPORTS 05000387/2018006 AND 05000388/2018006)

The U.S. Nuclear Regulatory Commission (NRC) has completed its end-of-cycle performance assessment of Susquehanna Steam Electric Station (Susquehanna), Units 1 and 2, reviewing performance indicators (PIs), inspection results, and enforcement actions from January 1, 2018, through December 31, 2018. This letter informs you of the NRC’s assessment of your facility during this period and its plans for future inspections at your facility. The NRC concluded that overall performance at your facility preserved public health and safety.

The NRC determined the performance at Susquehanna, Units 1 and 2 during the most recent quarter was within the Licensee Response Column (Column 1) of the NRC’s Reactor Oversight Process (ROP) Action Matrix in Inspection Manual Chapter 0305, “Operating Reactor Assessment Program,” because all inspection findings had very low safety significance (i.e., Green), and all PIs were within the expected range (i.e., Green). Therefore, the NRC plans to conduct ROP baseline inspections at your facility.

The enclosed inspection plan lists the inspections scheduled through December 31, 2020. This updated inspection plan now includes planned security inspections which were formerly transmitted under separate correspondence. The NRC provides the inspection plan to allow for the resolution of any scheduling conflicts and personnel availability issues. Routine inspections performed by resident inspectors are not included in the inspection plan. You should be aware that the agency is pursuing potential changes to the ROP, including changes to engineering inspections (SECY-18-0113, “Recommendations for Modifying the Reactor Oversight Process Engineering Inspections”). Should these changes to the ROP be implemented, the engineering and other region-based inspections are subject to change in scope, as well as schedule, beginning in January 2020. Furthermore, all the inspections listed during the last twelve months of the inspection plan are tentative and may be revised. The NRC will contact you as soon as possible to discuss changes to the inspection plan should circumstances warrant any changes.

In addition to baseline inspections, the NRC will conduct Temporary Instruction 2515/191, “Inspection of Licensee’s Responses to Order EA-12-049, EA-12-051, and Emergency Preparedness Info Request,” in June 2019; Inspection Procedure 60855.1, “Operation of an ISFSI at Operating Plant,” in September 2019; and Inspection Procedure 71003, “Post Approval Site Inspection for License Renewal,” (Unit 1) in April 2020.

In accordance with Title 10 of the Code of Federal Regulations (10 CFR) 2.390 of the NRC’s “Rules of Practice,” a copy of this letter will be available electronically for public inspection in the NRC’s Public Document Room or from the Publicly Available Records (PARS) component of NRC's document system (ADAMS). ADAMS is accessible from the NRC’s Website at http://www.nrc.gov/reading-rm/adams.html (the Public Electronic Reading Room).

IP 22 Inspection Activity Plan Report

| Unit | Start | End | Activity | CAC | Title | Staff Count |
| --- | --- | --- | --- | --- | --- | --- |
| 4th Quarter Site Support 10 |  |  |  |  |  |  |
| 1, 2 10/01/2018 02/12/2019 IP 71152 000748 Problem Identification and Resolution |  |  |  |  |  |  |
| 1, 2 10/01/2018 02/12/2019 IP 71153 000749 Followup of Events and Notices of Enforcement Discretion |  |  |  |  |  |  |
| ACCESS CONTROL, EQUIP PERF, TRAINING 3 |  |  |  |  |  |  |
| 1, 2 02/11/2019 02/15/2019 IP 71130.02 000734 Access Control |  |  |  |  |  |  |
| 1, 2 02/11/2019 02/15/2019 IP 71130.04 000736 Equipment Performance, Testing, and Maintenance |  |  |  |  |  |  |
| 1, 2 02/11/2019 02/15/2019 IP 71130.07 000739 Security Training |  |  |  |  |  |  |
| 1, 2 02/11/2019 02/15/2019 IP 71151 001338 Performance Indicator Verification |  |  |  |  |  |  |
| HP 1 |  |  |  |  |  |  |
| 1, 2 02/25/2019 03/01/2019 IP 71124.01 000725 Radiological Hazard Assessment and Exposure Controls |  |  |  |  |  |  |
| 1, 2 02/25/2019 03/01/2019 IP 71124.02 000726 Occupational ALARA Planning and Controls |  |  |  |  |  |  |
| INSERVICE INSPECTION - UNIT 2 1 |  |  |  |  |  |  |
| 2 03/31/2019 03/31/2019 IP 71111.08G 000701 Inservice Inspection Activities (BWR) |  |  |  |  |  |  |
| HP 1 |  |  |  |  |  |  |
| 1, 2 04/08/2019 04/12/2019 IP 71124.01 000725 Radiological Hazard Assessment and Exposure Controls |  |  |  |  |  |  |
| 1, 2 04/08/2019 04/12/2019 IP 71124.02 000726 Occupational ALARA Planning and Controls |  |  |  |  |  |  |
| REMP 1 |  |  |  |  |  |  |
| 1, 2 05/20/2019 05/24/2019 IP 71124.07 000731 Radiological Environmental Monitoring Program |  |  |  |  |  |  |
| TI-191 FUKUSHIMA LESSONS-LEARNED 3 |  |  |  |  |  |  |
| 1, 2 06/24/2019 06/28/2019 TI 2515/191 000509 Inspection of Licensee's Responses to Order EA-12-049, EA-12-051 & EP Info Request March 12, 2012 |  |  |  |  |  |  |
| SUSQUEHANNA INITIAL OL EXAM 4 |  |  |  |  |  |  |
| 1, 2 07/28/2019 08/02/2019 OV 000956 VALIDATION OF INITIAL LICENSE EXAMINATION (OV) |  |  |  |  |  |  |
| 1, 2 08/25/2019 09/06/2019 EXAD 000500 LICENSE EXAM ADMINISTRATION (EXAD) |  |  |  |  |  |  |
| ISFSI OPERATIONAL INSPECTION 2 |  |  |  |  |  |  |
| 1, 2 09/09/2019 09/13/2019 IP 60855.1 000590 Operation of an Independent Spent Fuel Storage Installation at Operating Plants |  |  |  |  |  |  |
| DESIGN BASES ASSURANCE INSP - TEAMS 6 |  |  |  |  |  |  |
| 1, 2 09/15/2019 09/21/2019 IP 71111.21M 000713 Design Bases Assurance Inspection (Teams) |  |  |  |  |  |  |

This report does not include INPO and OUTAGE activities.
This report shows only on-site and announced inspection procedures.

Page 1 of 3

2/13/2019 2:18:26 PM

Enclosure

Susquehanna

01/01/2019 - 12/31/2020

IP 22 Inspection Activity Plan Report

| Unit | Start | End | Activity | CAC | Title | Staff Count |
| --- | --- | --- | --- | --- | --- | --- |
| DESIGN BASES ASSURANCE INSP - TEAMS 6 |  |  |  |  |  |  |
| 1, 2 09/29/2019 10/05/2019 IP 71111.21M 000713 Design Bases Assurance Inspection (Teams) |  |  |  |  |  |  |
| EP PROGRAM INSPECTION 2 |  |  |  |  |  |  |
| 1, 2 10/21/2019 10/25/2019 IP 71114.02 000717 Alert and Notification System Testing |  |  |  |  |  |  |
| 1, 2 10/21/2019 10/25/2019 IP 71114.03 000718 Emergency Response Organization Staffing and Augmentation System |  |  |  |  |  |  |
| 1, 2 10/21/2019 10/25/2019 IP 71114.05 000720 Maintenance of Emergency Preparedness |  |  |  |  |  |  |
| 1, 2 10/21/2019 10/25/2019 IP 71151 001397 Performance Indicator Verification |  |  |  |  |  |  |
| HP 1 |  |  |  |  |  |  |
| 1, 2 11/04/2019 11/08/2019 IP 71124.01 000725 Radiological Hazard Assessment and Exposure Controls |  |  |  |  |  |  |
| 1, 2 11/04/2019 11/08/2019 IP 71124.02 000726 Occupational ALARA Planning and Controls |  |  |  |  |  |  |
| 1, 2 11/04/2019 11/08/2019 IP 71124.03 000727 In-Plant Airborne Radioactivity Control and Mitigation |  |  |  |  |  |  |
| 1, 2 11/04/2019 11/08/2019 IP 71124.04 000728 Occupational Dose Assessment |  |  |  |  |  |  |
| 1, 2 11/04/2019 11/08/2019 IP 71124.05 000729 Radiation Monitoring Instrumentation |  |  |  |  |  |  |
| 1, 2 11/04/2019 11/08/2019 IP 71151 000746 Performance Indicator Verification |  |  |  |  |  |  |
| SQ REQUAL INSP WITH P/F RESULTS 2 |  |  |  |  |  |  |
| 1, 2 11/17/2019 11/22/2019 IP 71111.11A 000703 Licensed Operator Requalification Program and Licensed Operator Performance (Annual) |  |  |  |  |  |  |
| 1, 2 11/17/2019 11/22/2019 IP 71111.11B 000704 Licensed Operator Requalification Program and Licensed Operator Performance (Biennial) |  |  |  |  |  |  |
| Radwaste 1 |  |  |  |  |  |  |
| 1, 2 03/09/2020 03/13/2020 IP 71124.08 000732 Radioactive Solid Waste Processing and Radioactive Material Handling, Storage, and Transportation |  |  |  |  |  |  |
| License Renewal Phase 1 - Unit 1 1 |  |  |  |  |  |  |
| 1 04/05/2020 04/11/2020 IP 71003 000687 Post-Approval Site Inspection for License Renewal |  |  |  |  |  |  |
| ISI - UNIT 1 1 |  |  |  |  |  |  |
| 1 04/05/2020 04/11/2020 IP 71111.08G 000701 Inservice Inspection Activities (BWR) |  |  |  |  |  |  |
| HP 1 |  |  |  |  |  |  |
| 1, 2 04/13/2020 04/17/2020 IP 71124.01 000725 Radiological Hazard Assessment and Exposure Controls |  |  |  |  |  |  |
| 1, 2 04/13/2020 04/17/2020 IP 71124.02 000726 Occupational ALARA Planning and Controls |  |  |  |  |  |  |

This report does not include INPO and OUTAGE activities.
This report shows only on-site and announced inspection procedures.

Page 2 of 3 2/13/2019 2:18:26 PM

Susquehanna

01/01/2019 - 12/31/2020

IP 22 Inspection Activity Plan Report

| Unit | Start | End | Activity | CAC | Title | Staff Count |
| --- | --- | --- | --- | --- | --- | --- |
| Access Control, Protective Strategy, TSR 4 |  |  |  |  |  |  |
| 1, 2 06/15/2020 06/19/2020 IP 71130.02 000734 Access Control |  |  |  |  |  |  |
| 1, 2 06/15/2020 06/19/2020 IP 71130.05 000737 Protective Strategy Evaluation |  |  |  |  |  |  |
| 1, 2 06/15/2020 06/19/2020 IP 71130.14 000743 Review of Power Reactor Target Sets |  |  |  |  |  |  |
| 1, 2 06/15/2020 06/19/2020 IP 71151 001338 Performance Indicator Verification |  |  |  |  |  |  |
| HP 1 |  |  |  |  |  |  |
| 1, 2 07/06/2020 07/10/2020 IP 71124.01 000725 Radiological Hazard Assessment and Exposure Controls |  |  |  |  |  |  |
| 1, 2 07/06/2020 07/10/2020 IP 71124.02 000726 Occupational ALARA Planning and Controls |  |  |  |  |  |  |
| 1, 2 07/06/2020 07/10/2020 IP 71124.03 000727 In-Plant Airborne Radioactivity Control and Mitigation |  |  |  |  |  |  |
| 1, 2 07/06/2020 07/10/2020 IP 71124.04 000728 Occupational Dose Assessment |  |  |  |  |  |  |
| 1, 2 07/06/2020 07/10/2020 IP 71124.05 000729 Radiation Monitoring Instrumentation |  |  |  |  |  |  |
| PI&R Biennial Team Inspection 4 |  |  |  |  |  |  |
| 1, 2 07/13/2020 07/17/2020 IP 71152B 000747 Problem Identification and Resolution |  |  |  |  |  |  |
| 1, 2 07/27/2020 07/31/2020 IP 71152B 000747 Problem Identification and Resolution |  |  |  |  |  |  |
| TRIENNIAL FIRE PROTECTION 4 |  |  |  |  |  |  |
| 1, 2 09/21/2020 09/25/2020 IP 71111.05T 000696 Fire Protection (Triennial) |  |  |  |  |  |  |
| 1, 2 10/05/2020 10/09/2020 IP 71111.05T 000696 Fire Protection (Triennial) |  |  |  |  |  |  |
| RETS 1 |  |  |  |  |  |  |
| 1, 2 10/05/2020 10/09/2020 IP 71124.06 000730 Radioactive Gaseous and Liquid Effluent Treatment |  |  |  |  |  |  |
| SUSQUEHANNA EP EXERCISE INSPECTION 5 |  |  |  |  |  |  |
| 1, 2 10/19/2020 10/23/2020 IP 71114.01 000716 Exercise Evaluation |  |  |  |  |  |  |
| 1, 2 10/19/2020 10/23/2020 IP 71151 001397 Performance Indicator Verification |  |  |  |  |  |  |
| HP 1 |  |  |  |  |  |  |
| 1, 2 12/14/2020 12/18/2020 IP 71124.01 000725 Radiological Hazard Assessment and Exposure Controls |  |  |  |  |  |  |
| 1, 2 12/14/2020 12/18/2020 IP 71124.02 000726 Occupational ALARA Planning and Controls |  |  |  |  |  |  |
| 1, 2 12/14/2020 12/18/2020 IP 71124.03 000727 In-Plant Airborne Radioactivity Control and Mitigation |  |  |  |  |  |  |
| 1, 2 12/14/2020 12/18/2020 IP 71124.04 000728 Occupational Dose Assessment |  |  |  |  |  |  |
| 1, 2 12/14/2020 12/18/2020 IP 71124.05 000729 Radiation Monitoring Instrumentation |  |  |  |  |  |  |

This report does not include INPO and OUTAGE activities.
This report shows only on-site and announced inspection procedures.

Page 3 of 3 2/13/2019 2:18:26 PM

March 5, 2019 – Letter dated March 5, 2019 from Jennifer C. Tobin, Project Manager Plant Licensing Branch I Division of Operating Reactor Licensing Office of Nuclear Reactor Regulation to Kevin Cimorelli Site Vice President Susquehanna Nuclear with a subject of SUSQUEHANNA STEAM ELECTRIC STATION, UNITS 1 AND 2 - CORRECTION TO TECHNICAL SPECIFICATIONS PAGE 3.3-45 (UNIT 1) AND PAGE 3.6-11 (UNIT 2) FOR ADMINISTRATIVE ERRORS INTRODUCED IN THE ISSUANCE OF AMENDMENT NOS. 271 AND 253

On September 26, 2018 (Agencywide Documents Access and Management System Package Accession No. ML18222A203), the U.S. Nuclear Regulatory Commission (NRC) issued Amendment Nos. 271 and 253 to Renewed Facility Operating License Nos. NPF-14 and NPF-22 for the Susquehanna Steam Electric Station (Susquehanna), Units 1 and 2, respectively. The amendments revised the Susquehanna Technical Specifications (TSs) to adopt the NRG-approved Technical Specifications Task Force Traveler (TSTF)-542, Revision 2, "Reactor Pressure Vessel Water Inventory Control."

Subsequent to the issuance of these amendments, the licensee notified the NRC by telephone on February 13, 2019, that administrative errors were made on Susquehanna, Unit 1, TS
page 3.3-45, and Unit 2, TS page 3.6-11, as follows:

- For Unit 1, TS page 3.3-45, Amendment No. 254 was added to the bottom right of the page in the list of stricken amendment numbers. Number 254 should not have been added and is now removed in the attached corrected page.

- For Unit 2, TS page 3.6-11, a separating line between paragraphs D. and E. was omitted and is now added in the attached corrected page.

The NRC staff has determined that these errors were made inadvertently. The corrections do not change any of the conclusions associated with the issuance of Amendment Nos. 271 and 253, and do not affect the associated notice to the public. The inadvertent changes were neither addressed in the notice for the amendments nor reviewed as part of the license amendment request.

April 16, 2019 – Email dated April 16, 2019 from Jennifer Tobin to Kevin Cimorelli of Talen Energy cc Melisa Krick, Jason Jennings, Shane Jurek and Tanya Hood with a subject of Acceptance Review: Susquehanna Units 1 and 2 License Amendment Request for TSTF-439 (EPID: L-2019-LLA- 0066)

SUSQUEHANNA STEAM ELECTRIC STATION, UNITS 1 AND 2 – ACCEPTANCE OF REQUESTED LICENSING ACTION RE: LICENSE AMENDMENT REQUEST TO ADOPT TSTF-439, “ELIMINATE SECOND COMPLETION TIMES LIMITING TIME FROM DISCOVERY OF FAILURE TO MEET AN LCO" (EPID: L-2019-LLA-0066)

By letter dated March 28, 2019 (Agencywide Documents Access and Management System (ADAMS) Accession No. ML19087A208), Susquehanna Nuclear, LLC (the licensee) submitted a license amendment request (LAR) for Susquehanna Steam Electric Station (SSES), Units 1 and 2. The proposed LAR would eliminate second Completion Times limiting time from discovery of failure to meet a Limiting Condition for Operation (LCO). The proposed amendment is consistent with previously NRC-approved TS Task Force (TSTF) Traveler TSTF-439, Revision 2, "Eliminate Second Completion Times Limiting Time from Discovery of Failure to Meet an LCO."

The purpose of this e-mail is to provide the results of the U.S. Nuclear Regulatory Commission (NRC) staff’s acceptance review of this amendment request. The acceptance review was performed to determine if there is sufficient technical information in scope and depth to allow the NRC staff to complete its detailed technical review. The acceptance review is also intended to identify whether the application has any readily apparent information insufficiencies in its characterization of the regulatory requirements or the licensing basis of the plant.

Consistent with Section 50.90 of Title 10 of the Code of Federal Regulations (10 CFR), an amendment to the license (including the TSs) must fully describe the changes requested, and following as far as applicable, the form prescribed for original applications. Section 50.34 of 10 CFR addresses the content of technical information required. This section stipulates that the submittal address the design and operating characteristics, unusual or novel design features, and principal safety considerations.

The NRC staff has reviewed your application and concluded that it does provide technical information in sufficient detail to enable the NRC staff to complete its detailed technical review and make an independent assessment regarding the acceptability of the proposed amendment request in terms of regulatory requirements and the protection of public health and safety and the environment. Given the lesser scope and depth of the acceptance review as compared to the detailed technical review, there may be instances in which issues that impact the NRC staff’s ability to complete the detailed technical review are identified despite completion of an adequate acceptance review. You will be advised of any further information needed to support the NRC staff’s detailed technical review by separate correspondence.

Based on the information provided in your submittal, the NRC staff has estimated that this licensing request will take approximately 200 hours to complete. The NRC staff expects to complete this review within the normal 12 months, which is April 2020. If there are

emergent complexities or challenges in our review that would cause changes to the initial forecasted completion date or significant changes in the forecasted hours, the reasons for the changes, along with the new estimates, will be communicated during the routine interactions with the assigned project manager.

These estimates are based on the NRC staff’s initial review of the application and they could change, due to several factors including requests for additional information, unanticipated addition of scope to the review, and review by NRC advisory committees or hearing-related activities.

May 21, 2019 – Letter dated May 21, 2019 from Jennifer Tobin, Project Manager Plant Licensing Branch I Division of Operating Reactor Licensing Office of Nuclear Reactor Regulation to Susquehanna Nuclear, LLC with a subject of SUMMARY OF MAY 7, 2018, PRE-SUBMITTAL MEETING WITH SUSQUEHANNA NUCLEAR, LLC TO DISCUSS A POTENTIAL LICENSE AMENDMENT REQUEST RE: USE OF ATRIUM 11 FUEL
(EPID L-2019-LRM-0022)

On May 7, 2019, a pre-submittal meeting was held between the U.S. Nuclear Regulatory Commission (NRC) staff and representatives of Susquehanna Nuclear, LLC (Susquehanna or the licensee) at NRC Headquarters, One White Flint North, 11555 Rockville Pike, Rockville, Maryland. The purpose of the meeting was to discuss a proposed license amendment request to allow the use of Atrium 11 fuel for the Susquehanna Steam Electric Station, Units 1 and 2.

The licensee's presentation material can be found in the Agencywide Documents Access and Management System at Accession No. ML19099A016.

During the meeting, the licensee presented information regarding the schedule to submit, review, and approve the license amendment request. Specifically, Susquehanna plans to submit a license amendment request to revise the list of approved methodologies in Technical Specification 5.6.5, "Reporting Requirements - Core Operating Limits Report (COLR)," to reference Advanced Framatome Methodologies in order to support loading of Framatome Atrium 11 fuel in 2021 and 2022, respectively. Staff focused discussion on the transition to advanced Framatome methodologies, including adopting Technical Specifications Task Force (TSTF) Traveler TSTF-535, "Revise Shutdown Margin Definition to Address Advanced Fuel Designs," and removal of two analysis penalties that are no longer applicable.

Questions from the U.S. Nuclear Regulatory Commission (NRC) staff concentrated on:

- Differences between the Atrium 10 fuel currently in use at Susquehanna and the
Atrium 11 fuel the licensee plans to use going forward. The questions specifically concentrated on debris protection features and thermal hydraulic properties of the new fuel compared to the existing fuel.

- How Susquehanna and Framatome intend to model the cores. The analyses prepared for the amendment will use an equilibrium cycle of only Atrium 11 fuel. The reload specific analyses, which will be submitted to the NRC for information during the application process as they become available, will document the behavior of the mixed cores (i.e., fresh Atrium 11 and once- or twice-burned Atrium 10).

- Changes to the fuel property models used in the stability method currently employed by Susquehanna and their comparison to the fuel property models used in the application for advanced Framatome methodologies the NRC currently has under review (Brunswick Steam Electric Plant).

- Impacts on accident analyses, specifically, dose consequences thereof.

No regulatory decisions were made during the meeting.

July 16, 2019 – Letter dated July 16, 2019 from Jennifer Tobin, Project Manager Plant Licensing Branch I Division of Operating Reactor Licensing Office of Nuclear Reactor Regulation to Kevin Cimorelli Site Vice President Susquehanna Nuclear with a subject of SUSQUEHANNA STEAM ELECTRIC STATION, UNITS 1 AND 2 - ISSUANCE OF AMENDMENT NOS. 273 AND 255 RE: ADOPT TSTF-439, REVISION 2, "ELIMINATE SECOND COMPLETION TIMES LIMITING TIME FROM DISCOVERY OF FAILURE TO MEET AN LCO" (EPID L-2019-LLA-0066)

The U.S. Nuclear Regulatory Commission (the Commission) has issued the enclosed Amendment No. 273 to Renewed Facility Operating License No. NPF-14 and Amendment No. 255 to Renewed Facility Operating License No. NPF-22 for the Susquehanna Steam Electric Station (Susquehanna), Units 1 and 2, respectively. The amendments consist of changes to the Technical Specifications (TSs) in response to your application dated March 28, 2019.

The changes revise TS Section 1.3 to alter the discussion contained in Example 1.3-3 to eliminate second completion times. Consistent with these changes, the second completion times associated with TS 3.8.1, "AC [Alternating Current] Sources - Operating," Required Actions A.3 and 8.4, and TS 3.8.7, "Distribution Systems - Operating," Required Actions A.1 and 8.1, are deleted. The changes are consistent with Technical Specifications Task Force (TSTF} Traveler TSTF-439, Revision 2, "Eliminate Second Completion Times Limiting Time from Discovery of Failure to Meet an LCO [Limiting Condition for Operation]," dated June 20, 2005.

A copy of the related safety evaluation is also enclosed. Notice of Issuance will be included in the Commission's Biweekly Federal Register Notice.

SUSQUEHANNA NUCLEAR, LLC
ALLEGHENY ELECTRIC COOPERATIVE, INC. DOCKET NO. 50-387
SUSQUEHANNA STEAM ELECTRIC STATION, UNIT 1 AMENDMENT TO RENEWED FACILITY OPERATING LICENSE

Amendment No. 273 Renewed License No. NPF-14

1. The U.S. Nuclear Regulatory Commission (NRC or the Commission) has found that:

- The application for the amendment filed by Susquehanna Nuclear, LLC, dated March 28, 2019, complies with the standards and requirements of the Atomic Energy Act of 1954, as amended (the Act), and the Commission's regulations set forth in 10 CFR Chapter I;

- The facility will operate in conformity with the application, the provisions of the Act, and the regulations of the Commission;

- There is reasonable assurance: (i) that the activities authorized by this amendment can be conducted without endangering the health and safety of the public, and (ii) that such activities will be conducted in compliance with the Commission's regulations;

- The issuance of this amendment will not be inimical to the common defense and security or to the health and safety of the public; and

- The issuance of this amendment is in accordance with 10 CFR Part 51 of the Commission's regulations and all applicable requirements have been satisfied.

- Accordingly, the license is amended by changes to the Technical Specifications as indicated in the attachment to this license amendment and paragraph 2.C.(2) of Renewed Facility Operating License No. NPF-14 is hereby amended to read as follows:

(2) Technical Specifications and Environmental Protection Plan

The Technical Specifications contained in Appendix A, as revised through Amendment No. 273, and the Environmental Protection Plan contained in Appendix 8 are hereby incorporated in the license. Susquehanna Nuclear, LLC shall operate the facility in accordance with the Technical Specifications and the Environmental Protection Plan.

3. This license amendment is effective as of its date of issuance and shall be implemented within 90 days.

August 9, 2019 – Letter dated August 9, 2019 from Jonathan E. Greives, Chief Reactor Projects Branch 4 Division of Reactor Projects to Brad Berryman President and Chief Nuclear Officer Susquehanna Nuclear with a subject of Susquehanna Steam Electric Station, Units 1 and 2 – integrated inspection report 05000387/2019002 and 05000388/2019002

On June 30, 2019, the U.S. Nuclear Regulatory Commission (NRC) completed an inspection at Susquehanna Steam Electric Station, Units 1 and 2. On July 11, 2019, the NRC inspectors discussed the results of this inspection with you and other members of your staff. The results of this inspection are documented in the enclosed report.

The NRC inspectors did not identify any finding or violation of more than minor significance.

This letter, its enclosure, and your response (if any) will be made available for public inspection and copying at http://www.nrc.gov/reading-rm/adams.html and at the NRC Public Document Room in accordance with 10 CFR 2.390, “Public Inspections, Exemptions, Requests for Withholding.”

Inspection Report Summary

The U.S. Nuclear Regulatory Commission (NRC) continued monitoring the licensee’s performance by conducting an integrated inspection at Susquehanna Steam Electric Station, Units 1 and 2 in accordance with the Reactor Oversight Process. The Reactor Oversight Process is the NRC’s program for overseeing the safe operation of commercial nuclear power reactors. Refer to https://www.nrc.gov/reactors/operating/oversight.html for more information.

List of Findings and Violations

No findings or violations of more than minor significance were identified.

August 19, 2019 – email dated August 19, 2019 from Tanya Hood to Kevin Cimorelli (Talen Energy) cc Melisa Krick and Shane Jurek with a subject of Acceptance Review: Susquehanna Units 1 and 2 License Amendment Request for TSTF-535 with a subject of SUSQUEHANNA STEAM ELECTRIC STATION, UNITS 1 AND 2 – ACCEPTANCE OF REQUESTED LICENSING ACTION RE: LICENSE AMENDMENT REQUEST TO REVISE TECHNICAL SPECIFICATIONS TO ADOPT TSTF-535, REVISION 0, “REVISE SHUTDOWN MARGIN DEFINITION TO ADDRESS ADVANCED FUEL DESIGNS.” (EPID: L-2019- LLA-0154)

By letter dated July 15, 2019 (Agencywide Documents Access and Management System (ADAMS) Accession No. ML19196A270), Susquehanna Nuclear, LLC (the licensee) submitted a license amendment request (LAR) for Susquehanna Steam Electric Station (SSES), Units 1 and 2. The proposed LAR would revise the Technical Specification definition of “Shutdown Margin” (SDM) to require calculation of the SDM at a reactor moderator temperature of 68°F or a higher temperature that represents the most reactive state throughout the operating cycle. The proposed changes are based on Technical Specification Task Force (TSTF) Traveler TSTF-535, Revision 0, “Revise Shutdown Margin Definition to Address Advanced Fuel Designs.”

The purpose of this e-mail is to provide the results of the U.S. Nuclear Regulatory Commission (NRC) staff’s acceptance review of this amendment request. The acceptance review was performed to determine if there is sufficient technical information in scope and depth to allow the NRC staff to complete its detailed technical review. The acceptance review is also intended to identify whether the application has any readily apparent information insufficiencies in its characterization of the regulatory requirements or the licensing basis of the plant.

Consistent with Section 50.90 of Title 10 of the Code of Federal Regulations (10 CFR), an amendment to the license (including the TSs) must fully describe the changes requested, and following as far as applicable, the form prescribed for original applications. Section 50.34 of 10 CFR addresses the content of technical information required. This section stipulates that the submittal address the design and operating characteristics, unusual or novel design features, and principal safety considerations.

The NRC staff has reviewed your application and concluded that it does provide technical information in sufficient detail to enable the NRC staff to complete its detailed technical review and make an independent assessment regarding the acceptability of the proposed amendment request in terms of regulatory requirements and the protection of public health and safety and the environment. Given the lesser scope and depth of the acceptance review as compared to the detailed technical review, there may be instances in which issues that impact the NRC staff’s ability to complete the detailed technical review are identified despite completion of an adequate acceptance review. You will be advised of any further information needed to support the NRC staff’s detailed technical review by separate correspondence.

Based on the information provided in your submittal, the NRC staff has estimated that this licensing request will take approximately 176 hours to complete. The NRC staff expects to complete this review in approximately 6 months, which is February 29, 2020. If there are emergent complexities or challenges in our review that would cause changes to the initial forecasted completion date or significant changes in the forecasted hours, the reasons for the changes, along with the new estimates, will be communicated during the routine interactions with the assigned project manager.

These estimates are based on the NRC staff’s initial review of the application and they could change, due to several factors including requests for additional information, unanticipated addition of scope to the review, and review by NRC advisory committees or hearing-related activities.

November 12, 2019 – Letter dated November 12, 2019 from Mel Gray, Chief Engineering Branch 1 Division of Reactor Safety to Brad Berryman President and Chief Nuclear Officer Susquehanna Nuclear with the subject of Susquehanna Steam Electric units 1 and 2 – design basis assurance inspection (teams) inspection report 050 On

October 10, 2019, the U.S. Nuclear Regulatory Commission (NRC) completed an inspection at Susquehanna Steam Electric Station, Units 1 and 2 and discussed the results of this inspection with Mr. Kevin Cimorelli, Site Vice President and other members of your staff. The results of this inspection are documented in the enclosed report.

The NRC inspectors did not identify any finding or violation of more than minor significance.

This letter, its enclosure, and your response (if any) will be made available for public inspection and copying at http://www.nrc.gov/reading-rm/adams.html and at the NRC Public Document Room in accordance with 10 CFR 2.390, “Public Inspections, Exemptions, Requests for Withholding.”

Inspection Report Summary

The U.S. Nuclear Regulatory Commission (NRC) continued monitoring the licensee’s performance by conducting a design basis assurance inspection (teams) inspection at Susquehanna Steam Electric Station, Units 1 and 2 in accordance with the Reactor Oversight Process. The Reactor Oversight Process is the NRC’s program for overseeing the safe operation of commercial nuclear power reactors. Refer to https://www.nrc.gov/reactors/operating/oversight.html for more information.

List of Findings and Violations

No findings or violations of more than minor significance were identified.

November 18, 2019 – Letter dated November 18, 2019 from Sujata Goetz, Project Manager, Plant licensing Branch 1, Division of Operating Reactor Licensing Office of Nuclear Reactor Regulation to Talen Energy with subject line of: Summary of the October 29, 2019 meeting with Talen Energy regarding a future license amendment request related to revising the dose consequence analysis for a loss of coolant accident at Susquehanna Steam Electric Station, Units 1 and 2 (EPID L-2019-LRM-0069).

On October 29, 2019, a Category 1 public teleconference meeting was held between the
U.S. Nuclear Regulatory Commission (NRC) staff and the representatives of Talen Energy (the licensee) at NRC Headquarters, One White Flint North, 11555 Rockville Pike, Rockville, Maryland. The purpose of the meeting was to discuss a future license amendment request to revise the dose consequence analysis for a loss-of-coolant accident for Susquehanna Steam Electric Station (Susquehanna), Units 1 and 2. The meeting notice and agenda, dated October 7, 2019, are available in the Agencywide Documents Access and Management System (ADAMS) at Accession No. ML19282A701. A list of attendees is provided as an enclosure.

The licensee’s presentation materials can be found at ADAMS Accession No. ML19298A955.

The licensee’s staff expects to submit the proposed license amendment request (LAR) for Susquehanna, Units 1 and 2 by the end of December 2019.

The licensee discussed a number of planned changes to the dose consequence analysis for a loss-of-coolant accident (LOCA). The changes being considered include:

- Upgrade to ORIGEN-ARP for source term.

- Reduce assumed engineered safety feature leakage to align with Regulatory

- Guide 1.183.

- Increase assumed Secondary Containment inleakage.

- Increase assumed Control Room Habitability Envelope inleakage.

- Eliminate Control Room Habitability Envelope continuous occupancy areas to align with Regulatory Guide 1.183.

- Upgrade to RADTRAD Version 3.10.

The NRC staff’s discussion included:

- The future LAR will not be related to the Atrium 11 LAR that the licensee has already submitted to the NRC staff. The licensee clarified that the planned LAR and Atrium 11 LAR are two separate licensing actions and each is independent of the other.

- The licensee plans to submit the LAR by the end of December 2019 and would need this amendment prior to the next outage in 2021.

- The LAR will not include modification to primary system piping.

- The LAR does not involve an update to the neutron fluence calculation method or

- the neutron fluence estimates.

- The licensee was advised by the NRC staff that it should address how Title 10 of the Code of Federal Regulations (10 CFR) Section 50.36 is still being met for the proposed changes to its technical specifications (TSs). If the licensee is proposing a change to the administrative controls section of its TSs, then the licensee should explain how the proposed change continues to assure operation of the facility in a safe manner in accordance with 10 CFR 50.36(c)(5).

- The licensee is updating its current licensing basis accident source term to reflect the conversion from ATRIUM 10 to ATRIUM 11 fuel. The current licensing basis accident source term utilized the computer code SAS2H/ORIGEN-S to compute the reactor core isotopic inventory. With the conversion to ATRIUM 11, the licensee has chosen to compute the reactor core isotopic inventory utilizing the OrigenArp computer code and considers this a method change.

- With respect to analyses which assume continuous occupancy in rooms not required by Regulatory Guide 1.183, the NRC staff indicated a need for the licensee to describe why continuous occupancy has been assumed for these rooms and to provide a justification as to why continuous occupancy no longer applies. The NRC staff indicated that a justification for the change simply based on Regulatory Guide 1.183 not requiring continuous occupancy assumption is not acceptable. The staff also requested that a clear and detailed basis be included for the proposed increase in secondary containment and control room envelope inleakage values.

- In order to improve the efficiency of the NRC staff's review, it is important for licensees to explicitly identify the areas that are - and are not – affected by the license amendment request with respect to the design-basis accident loss-of-coolant accident dose analysis. The licensee should consider providing a matrix that includes information for each input parameter; the current licensing basis vale, the proposed value, justification for the proposed value, and reference to the applicable updated final safety analysis report section and/or TS.

- In order to accomodate the NRC staff's review, the various RadTrad 3.10 input files would be preferred to improve the efficiency to confirm the licensees analysis. Otherwise, the RadTrad output file would be sufficient for confirmatory analyses.

Members of the public were not in attendance. Public meeting feedback forms were not received.

Please direct any inquiries to me at 301-415-8004 or Sujata.Goetz@nrc.gov.

January 7, 2020 – Letter dated January 7, 2020 from Daniel S. Collins, Director Division of Reactor Projects to Brad Berryman, President and Chief Nuclear Officer Susquehanna Nuclear with a subject of Susquehanna Steam Electric Station – NRC Investigation Report Number 1-2018-011 and Notice of Violation.

This letter refers to an investigation conducted by the U.S. Nuclear Regulatory Commission (NRC) Office of Investigations (01) at the Susquehanna Nuclear, LLC (Susquehanna Nuclear) Susquehanna Steam Electric Station (SSES). The investigation, which was completed on
April 19, 2019, was conducted to evaluate potential violations of NRC fitness for duty (FFD) requirements by contract workers. Based on the evidence gathered during the 01 investigation, the NRC determined that one Severity Level IV (SL IV) violation of NRC requirements occurred. Specifically, the NRC identified that a contract ironworker who worked at SSES through BHI Energy provided inaccurate information that was material to the NRC about past and current substance abuse on applications for unescorted access authorization, thereby creating a false record. As a result, Susquehanna Nuclear granted unescorted access to the ironworker based, in part, on the inaccurate information and without having the opportunity to review and resolve the potentially disqualifying FFD information. The NRC notes that Susquehanna Nuclear terminated the contract ironworker's employment due to separate FFD concerns and that this issue did not result in any actual safety or security impacts at the site.

After considering the factors set forth in Section 2.3.2.a of the Enforcement Policy, this violation is being cited in the enclosed Notice of Violation (Notice). Namely, the violation was identified by the NRC. You are required to respond to this letter and should follow the instructions specified in the enclosed Notice when preparing your response. If you have additional information that you believe the NRC should consider, you may provide it in your response to the Notice. The NRC review of your response to the Notice will also determine whether further enforcement action is necessary to ensure compliance with regulatory requirements. In accordance with Title 10 of the Code of Federal Regulations (10 CFR) Part 2.390 of the NRC's "Rules of Practice," a copy of this letter, its enclosure, and your response will be made available electronically for public inspection in the NRC Public Document Room and from the NRC's Agency-wide Documents Access and Management System (ADAMS), accessible from the NRC Web site at http://www.nrc.gov/reading-rm/adams.html. To the extent possible, your response should not include any personal privacy or proprietary information so that it can be made available to the Public without redaction.

Please note that final NRC investigation documents, such as the 01 report described above, may be made available to the public under the Freedom of Information Act (FOIA}, subject to redaction of information appropriate under the FOIA. Requests under the FOIA should be made in accordance with 10 CFR 9.23, "Requests for Records." Additional information is available on the NRC website at http://www.nrc.gov/readinq-rm/foia/foia-privacy.html.

This enforcement action will be administratively tracked under NRC Inspection Report No. 05000387; 05000388/2019090. Should you have any questions regarding this letter, please contact Mr. Jon Greives at 610-337-5337.

Notice of Violation:

During an NRC investigation conducted between April 20, 2018 and April 19, 2019, a violation of NRC requirements was identified. In accordance with the NRC Enforcement Policy, the violation is listed below.

10 CFR 50.9(a) requires that information required by the Commission's regulations to be maintained by the licensee shall be complete and accurate in all material respects.

10 CFR 26.713(a)(1) requires, in part, that licensees retain records of self-disclosures that are required under 10 CFR 26.59, that result in the granting of authorization, for at least 5 years after the licensee terminates or denies an individual's authorization.

10 CFR 26.59(a)(1) requires that, in order to grant authorization to an individual whose authorization has been interrupted for a period of more than 30 days but no more than 365 days and whose last period of authorization was terminated favorably, the licensee shall ensure that a self-disclosure has been obtained and reviewed under the applicable requirements of 10 CFR 26.61.

10 CFR 26.61 requires, in part, that before granting authorization, the licensee shall ensure that a written self-disclosure has been obtained from the individual who is applying for authorization. The written self-disclosure must state whether the individual has used, sold, or possessed illegal drugs; and whether the individual has abused legal drugs or alcohol. 10 CFR 26.5, in part, defines potentially disqualifying FFD information as information demonstrating that an individual has used, sold, or possessed illegal drugs or has abused legal drugs.·

Contrary to the above, from January 14, 2017, through April 19, 2018, Susquehanna Nuclear, LLC maintained information that was required by the Commission's regulations to be maintained that was not complete and accurate in all material respects. Specifically, on January 14, 2017, and January 31, 2018, an individual applying for access authorization submitted written self-disclosures on which the individual stated that he had not used, sold, or possessed illegal drugs and had not abused legal drugs or alcohol. However, the individual had used and possessed illegal drugs and had abused legal drugs. The information was material to the NRC because the inaccuracies involved potentially disqualifying fitness for duty information and based in part on this inaccurate information, the licensee granted unescorted access authorization to the individual until April 19, 2018.

This is a Severity Level IV violation (Enforcement Policy Sections 2.2.4 and 6.9).

Pursuant to the provisions of 10 CFR 2.201, Susquehanna Nuclear, LLC is hereby required to submit a written statement or explanation to the U.S. Nuclear Regulatory Commission, ATTN: Document Control Desk, Washington, DC 20555-0001 with a copy to the Regional Administrator, Region I, 2100 Renaissance Blvd., Suite 100, King of Prussia, PA 19406, within 30 days of the date of the letter transmitting this Notice of Violation (Notice). This reply should be clearly marked as "Reply to a Notice of Violation; EA-19-050," and should include: (1) the

eason for the violation, or, if contested, the basis the basis for disputing the violation or severity level, (2) the corrective steps that have been taken and the results achieved, (3) the corrective steps that will be taken, and (4) the date when full compliance will be achieved. In particular, the NRC requests that your response include discussion of the actions being taken to evaluate employee standards related to procedural adherence.

Your response may reference or include previous docketed correspondence, if the correspondence adequately addresses the required response. If an adequate reply is not received within the time specified in this Notice, an order or a Demand for Information may be issued as to why the license should not be modified, suspended, or revoked, or why such other action as may be proper should not be taken. Where good cause is shown, consideration will be given to extending the response time.

If you contest this enforcement action, you should also provide a copy of your response, with the basis for your denial, to the Director, Office of Enforcement, United States Nuclear Regulatory Commission, Washington, D.C., 20555-0001.

January 9, 2020 – Letter dated January 9, 2020 from Sujata Goetz, Project Manager, Susquehanna Steam Electric Station to Shane Jurek of Talen Energy

By letter dated July 15, 2019, Talen Energy submitted a license amendment request (LAR} for Susquehanna Steam Electric Station, Units 1 and 2 (Susquehanna) to allow application of the Framatome analysis methodologies necessary to support a planned transition to ATRIUM 11 fuel under the currently licensed Maximum Extended Load Line Limit Analysis (MELLLA) operating domain (Agencywide Documents Access and Management System (ADAMS) Accession No. ML19196A270).

The Nuclear Regulatory Commission's (NRC) staff has reviewed your LAR and has determined that additional information is needed to complete its review. The specific questions are in the attachment to this letter.

Your response to these questions is due by February 6, except for question 2, which is due to the NRC by March 6, 2020.

Request for additional information for Susquehanna Steam Electric Station, Units 1 and 2, to support review of the license amendment request regarding application of framatome methodologies to support transition to atrium 11 fuel.

- Containment

  - Describe the analysis done to justify (redacted)

  - Provide quantitative results for the containment pressure and suppression pool temperature response changes due to the change in fuel type.  Describe the analysis performed to confirm the ATRIUM-10 analysis bounds the ATRIUM 11 fuel transition.

- Anticipated operational occurences (AOOS) and ATWS

  - Regulatory Basis -10 CFR 50, GDCs 10, 13, 15, 20, 25, 26, and ATWS acceptance criteria

2.1 	ANP-3753P and ANP-3783P provide a subset of the events analyzed in the Susquehanna Chapter 15 Updated Final Safety Analysis Report (UFSAR) and covered by the AURORA-B AOO/ATWS methodology. To ensure the methodology is implemented appropriately for the events not covered in ANP-3753P and ANP-3783P, provide the following:

  - Describe how each Chapter 15 UFSAR event (that is covered by the AURORA-B AOO/ATWS methodology) will be analyzed in the AURORA-B AOO methodology framework (e.g., a table identifying UFSAR Section/Event Name/Disposition)

  - Describe how the methodology is implemented (including steps prior to the execution of the uncertainty analysis) to ensure nuclear power plant - specific options are covered in the analyses.

  - Void quality correlation uncertainties are discussed in Section 6.1 of ANP-3753P. Provide information about which parameters are sampled and which parameters are biased. How is a conservative approach ensured regarding the sampled and biased parameters?

2.2 To ensure there is appropriate coverage of the parameters used in the uncertainty analysis and to ensure there is no significant trends with respect to the uncertainty parameters in the results such that the Susquehanna implementation of the AURORA-B methodology is sufficient, provide the following for the load rejection no bypass/turbine trip without bypass event at 100% power/ 108% flow, main steam isolation valve closure ATWS event at 100% power and 99% flow, and high pressure coolant injection event at 100% power / 108% flow:

  - The sampled values of the uncertainty parameters for all cases executed in the set

  - The figure of merit results for all cases executed in the set

2.3  Please provide the schedule for Reload Safety Analysis Report (RSAR) submittal. Discuss how the information in the RSAR is used to confirm the AURORA-B limitations and conditions in ANP-2637P, "Boiling Water Reactor Licensing Methodology Compendium, Rev. 8", are appropriately applied.

2.4  Section 5.4 of ANP-3753P describes the safety limit minimum critical power ratio methodology at SUSQUEHANN. This methodology is used to determine that 99.9% of the fuel rods are expected to avoid boiling transition during normal reactor operation and anticipated operation occurrences. The analysis provided by the licensee shows that (redacted)  Please provide the approach used to confirm the bounds will be checked in the appropriate assemblies of the core for future reloads. What process is applied if (redacted)

2.5 In the AOO event analysis in ANP-3753P, the load rejection no bypass event is combined with the turbine trip without bypass event even though plant systems may respond differently for each event. Justify that one event bounds the other without doing explicit analysis for both events. Confirm that the bounding analysis can be determined by combining these two events.

3. Fuel: Introduction of atrium 11 fuel to Susqeuhanna

REGULATORY BASIS-10 CFR 50, GDCS 10, 13, 15, 20, 25, 26, AND ATWS ACCEPTANCE CRITERIA

GDC 10 requires that specified acceptable fuel design limits are not exceeded during normal operation including the effects of AOOs. Oxidation and hydriding are two specified acceptable fuel design limits that ensure components maintain strength and ductility. Section 3.5.1 of ANP-3762P mentions that water chemistry is controlled to reduce oxidation in the fuel channel. Please describe what process is used to control the water chemistry and what are the key figures-of-merit monitored to ensure satisfactory performance of ATRIUM 11 fuel and the 248 water channel.

4. Loss of Coolant Accident (LOCA)

REGULATORY BASIS-10 CFR 50, GDCS 10, 13, 15, 20, 25, 26, AND ATWS ACCEPTANCE CRITERIA

The regulatory bases for the following LOCA related requests for additional information are the requirements contained in 10 CFR 50.46, "Acceptance Criteria for Emergency Core Cooling Systems for Light-Water Nuclear Power Reactors," insofar as they establish the requirements and acceptance criteria for emergency core cooling system (ECCS) design, and for the evaluation models used to evaluate ECCS performance during a hypothetical LOCA. Specific considerations include:

- 10 CFR 50.46(a)(1 )(i) requires the use of an acceptable evaluation models to evaluate ECCS performance under the conditions of a hypothetical LOCA, and 10 CFR 50.46(a)(1 )(ii) allows for the development of an evaluation models that conforms to the required and acceptable features specified in Appendix K to 10 CFR 50.

- 10 CFR 50.46(a}(1 )(i) also requires ECCS cooling performance to be calculated for a number of postulated LOCAs of different sizes, locations, and other properties sufficient to provide assurance that the most severe hypothetical LOCAs are calculated.

- Acceptance criteria set forth in paragraph (b) of 10 CFR 50.46, and the results of the ECCS evaluation must show that the acceptance criteria are met. Among others, these include requirements related to peak cladding temperature (PCT), maximum cladding oxidation, and maximum hydrogen generation.

For licensed operating domain and equipment-out-of-service, please provide justification to assure that the LOCA analysis has been performed conservatively to cover Susquehanna licensed operating domain and equipment out-of-service conditions.:.

For, limiting PCT: Explain why the limiting PCT of (redacted) of exposure-dependent LOCA analysis.

For local Cladding Oxidation (Table 9.1 of ANP-3784P): Explain why the change of local cladding oxidation from the assembly average planar exposure of (redacted)

Linear heat generation rate (LHGR) and maximum average planar LGHR (MAPLHGR) Data Used in Exposure-Dependent Analysis

  - What is the process for determining the LHGR used, for both U02 and Gd203-U02 pellets during exposure-dependent analysis, in the AURORA-B LOCA analysis? Specifically, are the LHGR limit curves presented in Figures 2.2 and 2.3 shown in ANP-3784P, "Susquehanna ATRIUM 11 Introduction - Exposure-Dependent LOCA Analysis," (redacted)

  - Please demonstrate the analysis margin for the MAPLHGR limit in Figure 2.1 of ANP-3784P, (redacted)

Please address how the implementation of Atrium 11 fuel affects the aging degradation on the reactor vessel pressure and reactor pressure internal components.

REGULATORY BASIS-10 CFR 50, GDCS 10, 13, 15, 20, 25, 26, AND ATWS ACCEPTANCE CRITERIA

If the neutron fluence values associated with Atrium 11 are higher than the Atrium 10 fuel, the licensee should provide a technical explanation how it intends to manage the aging degradation related to irradiation embrittlement, irradiation-assisted stress corrosion cracking, and, irradiation stress relaxation at Susquehanna units in the current licensing period.

January 13, 2020 – Letter dated January 13, 2020 from Sujata Goetz, Project Manager Plant Licensing Branch 1, Division of Operating Reactor Licensing Office of Nuclear Reactor Regulation to Kevin Cimorelli, Site Vice President Susquehanna Nuclear, LLC with subject line of: Susquehanna steam electric station,, units 1 and 2 – issuance of amendment nos 274 and 256 to adopt technical specifications task force traveler, TSTF-535, revision 0, revise shutdown margin definition to address advanced fuel designs )EPID L-2019-LLA-0154).

The U.S. Nuclear Regulatory Commission (the Commission) has issued the enclosed Amendment No. 274 to Renewed Facility Operating License No. NPF-14 and Amendment No. 256 to Renewed Facility Operating License No. NPF-22 for the Susquehanna Steam Electric Station, Units 1 and 2, respectively. These amendments consist of changes to the technical specifications (TSs) in response to your application dated July 15, 2019.

The license amendment requests proposed changes to adopt Technical Specifications Task Force (TSTF) Traveler TSTF-535, Revision 0, "Revise Shutdown Margin Definition to Address Advanced Fuel Designs," and revise TS 5.6.5b to allow application of Advanced Framatome methodologies for loading Framatome fuel type ATRIUM 11 The enclosed amendments are for the TSTF-535 portion of the application. If approved, the adoption of Framatome fuel type ATRIUM 11 will be addressed in separate amendments and issued later.

The enclosed amendments revise the TS definition of "shutdown margin" to require its calculation at a reactor moderator temperature of 68 degrees Fahrenheit or a higher temperature that represents the most reactive state throughout the operating cycle.

A copy of the related safety evaluation is also enclosed. Notice of Issuance will be included in the Commission's Biweekly Federal Register Notice.

Findings:

1. The U.S. Nuclear Regulatory Commission (NRC or the Commission) has found that:

- The application for the amendment filed by Susquehanna Nuclear, LLC, dated July 15, 2019, complies with the standards and requirements of the Atomic Energy Act of 1954, as amended (the Act), and the Commission's regulations set forth in 10 CFR Chapter I;

- The facility will operate in conformity with the application, the provisions of the Act, and the regulations of the Commission;

- There is reasonable assurance: (i) that the activities authorized by this amendment can be conducted without endangering the health and safety of the public, and (ii) that such activities will be conducted in compliance with the Commission's regulations;

- The issuance of this amendment will not be inimical to the common defense and security or to the health and safety of the public; and

- The issuance of this amendment is in accordance with 10 CFR Part 51 of the Commission's regulations and all applicable requirements have been satisfied.

2. Accordingly, the license is amended by changes to the Technical Specifications as indicated in the attachment to this license amendment and paragraph 2.C.(2) of Renewed Facility Operating License No. NPF-14 is hereby amended to read as follows:

(2) Technical Specifications and Environmental Protection Plan

The Technical Specifications contained in Appendix A, as revised through Amendment No. 274, and the Environmental Protection Plan contained in Appendix B are hereby incorporated in the license. Susquehanna Nuclear, LLC shall operate the facility in accordance with the Technical Specifications and the Environmental Protection Plan.

3. This license amendment is effective as of its date of issuance. Once approved, Amendment No. 274 for Unit 1 will be implemented prior to loading ATRIUM 11 fuel into the core during the spring 2022 refueling outage.

February 13, 2020 – Letter dated February 13, 2020 from Jonathan E. Greives, Chief Reactor Projects Branch 4 Division of Reactor Projects with the subject of: Susquehanna Steam Electric Station, Units 1 and 2 – Integrated Inspection Report  05000387/2019004 and 05000388/2019004

On December 31, 2019, the U.S. Nuclear Regulatory Commission (NRC) completed an inspection at Susquehanna Steam Electric Station, Units 1 and 2. Two findings of very low safety significance (Green) are documented in this report. Both of these findings involved violations of NRC requirements.

List of Findings and Violations

- Untimely Identification and Correction of Breaker Stab Misalignment Results In Subsequent Safety Bus Fault

  - The inspectors identified a Green NCV of 10 CFR Part 50, Appendix B, Criterion XVI, “Corrective Action." Specifically, Susquehanna failed to identify and correct a condition adverse to quality, associated with misalignment of Class 1E breaker 0B136-044 to safety- related electrical bus 0B136, that resulted in a repeat electrical bus (0B136) fault.

- Inadequate procedural adherence for 'C' Emergency Service Water (ESW) pump flow surveillance

  - The inspectors documented a self-revealing Green finding and associated NCV of 10 CFR Part 50, Appendix B, Criterion V, "Instructions, Procedures, and Drawings," when the licensee failed to accomplish an activity affecting quality in accordance with procedures and a violation of Technical Specification 3.7.2, Condition C, for exceeding the allowed outage time.